EXAMPLE OF A TECHNICAL

SYSTEMS AUDIT CHECKLIST

FOR A LABORATORY MEASUREMENT SYSTEM

Audited Project:

Auditee:

Audit Location:

Auditors:

Audit Dates:

Brief Project Description:

| AUDIT QUESTIONS | RESPONSE |  |  | COMMENT |
| --- | --- | --- | --- | --- |
|  | Y | N | NA |  |
| A. QUALITY SYSTEM DOCUMENTATION |  |  |  |  |
| 1. Is there an approved QA Project Plan for the overall project and has it been reviewed by all appropriate personnel? |  |  |  |  |
| 2. Is a copy of the current approved QA Project Plan maintained at the site? If not, briefly describe how and where quality assurance (QA) and quality control (QC) requirements and procedures are documented at the site. |  |  |  |  |
| 3. Is the implementation of the project in accordance with the QA Project Plan? |  |  |  |  |
| 4. Are there deviations from the QA Project Plan? Explain. |  |  |  |  |
| 5. Do any deviations from the QA Project Plan affect data quality? |  |  |  |  |
| 6. Are written and approved current standard operating procedures (SOPs) used in the project? If so, list them and note whether they are available at the field site. If not, briefly describe how and where the project procedures are documented. |  |  |  |  |
| 7. Is the anticipated use of the data known and documented in the QA Project Plan? |  |  |  |  |
| 8. What are the critical measurements? (List under Comments) |  |  |  |  |
| 9. Have performance goals for each critical measurement been documented clearly and explicitly in the QA Project Plan? |  |  |  |  |
| 10. Do the above performance goals appear to be based on documented performance criteria or on actual QC data compiled for the measured parameter? |  |  |  |  |
| 11. Are there established procedures for corrective or response actions when performance goals (e.g., out-of-control calibration data) are not met? If yes, briefly describe them. |  |  |  |  |
| 12. Are corrective action procedures consistent with the QA Project Plan? |  |  |  |  |
| 13. Have any such corrective actions been taken during the project? |  |  |  |  |
| 14. Has the performance of each of the critical measurements been assessed and documented during the project? |  |  |  |  |
| 15. For each critical measurement, does the QA Project Plan specify the frequency of calibration, the acceptance criteria for the calibration, and the process for calibration data reduction and review? |  |  |  |  |
| 16. Briefly describe how calibration and other QC data are documented. |  |  |  |  |
| 17. Does the calibration documentation show that calibrations are being performed at the required frequency and in the required manner? |  |  |  |  |
| 18. Are there standard paper or electronic forms to record QC data and operational data? |  |  |  |  |
| 19. Are the standard forms dated? |  |  |  |  |
| 20. Is the person who recorded the data identified on the form? |  |  |  |  |
| 21. Are paper records written in indelible ink? |  |  |  |  |
| 22. Are the QC data reviewed by another qualified person such as the QA manager or the project manager? Who is this individual? |  |  |  |  |
| 23. Is the project team adhering to the planned schedule? If not, explain the new schedule. Verify that all schedule changes have been authorized. |  |  |  |  |
| Additional Questions or Comments: |  |  |  |  |
| B. ORGANIZATION AND RESPONSIBILITIES Identify the following personnel and determine whether they have the listed responsibilities. |  |  |  |  |
| 1. Project Manager: (name) $ Responsible for overall performance of the project, and $ Communicates with EPA. |  |  |  |  |
| 2. Project Quality Assurance Manager (QAM): (name) $ Reviews instrumentation and QC data, and $ Performs QC activities. |  |  |  |  |
| 3. EPA QA Representative: (name) $ Assists with and will be responsible for review and monitoring of all QA and QC activities. |  |  |  |  |
| 4. Project Manager at Site: (name) $ Coordinates with project manager, and $ Plans and schedules the project. |  |  |  |  |
| 5. Analytical Instrumentation Operator(s): (name) (name) $ Operate the instrumentation, $ Calibrate the instrumentation, and $ Record operational parameters. |  |  |  |  |
| 6. Who is authorized to halt the project in the event of a health or safety hazard? |  |  |  |  |
| 7. Does the project maintain descriptions of the project organization and personnel responsibilities? |  |  |  |  |
| Additional Questions or Comments: |  |  |  |  |
| C. TRAINING AND SAFETY |  |  |  |  |
| 1. Do the instrument operators have special training or experience for the operation of the instruments? |  |  |  |  |
| 2. Do the project files contain current summaries of the training and qualifications of project personnel? |  |  |  |  |
| 3. Is there special safety equipment required to ensure the health and safety of project personnel? |  |  |  |  |
| 4. Is each project team member appropriately outfitted with safety gear? |  |  |  |  |
| 5. Are project personnel adequately trained for their safety during the performance of the project? |  |  |  |  |
| - Is there evidence of conditions that present a clear danger to the health and safety of project personnel? If so, take appropriate steps to stop work or to inform the appropriate responsible parties of the danger. |  |  |  |  |
| Additional Questions or Comments: |  |  |  |  |
| D. ANALYTICAL INSTRUMENTATION |  |  |  |  |
| 1. Describe the analytical instrumentation. List the brand, model number, serial number, and range for each instrument. Do the instruments use EPA standard methods? |  |  |  |  |
| 2. Describe the sampling probe for the instrumentation. |  |  |  |  |
| 3. Describe the sampling lines for the instrumentation. |  |  |  |  |
| 4. Does the sample probe have a calibration valve assembly for sampling system bias tests? |  |  |  |  |
| 5. Is the sampling system maintained according to the prescribed schedule? |  |  |  |  |
| 6. Describe the sampling system filter. Is the filter changed according to the prescribed schedule? |  |  |  |  |
| 7. Describe the sample pump. |  |  |  |  |
| 8. Describe the sample flow rate control system. List the sample flow rate. |  |  |  |  |
| 9. Describe the sample distribution manifold. |  |  |  |  |
| 10. How are data recorded (e.g., the data acquisition system)? Briefly describe the system, giving its brand, model, and serial number. |  |  |  |  |
| 11. Does the data recording system have a provision for documenting changes in operating parameters? If not, are changes in operating parameters documented in some other manner? |  |  |  |  |
| 12. Is there a hardcopy backup for the data recording system? |  |  |  |  |
| 13. Can data be recovered from the hardcopy backup? |  |  |  |  |
| 14. Is there a schedule for preventive maintenance for the instrumentation? |  |  |  |  |
| 15. Are calibration and maintenance logs kept for the instrumentation? |  |  |  |  |
| 16. Review the maintenance and operational records for the instrumentation. Based on your findings, do all instruments appear to be in good operating condition? |  |  |  |  |
| 17. Are the manufacturer=s operating manuals readily available to the instrumentation operators? |  |  |  |  |
| 18. Describe the routine calibration procedure. |  |  |  |  |
| 19. Does the calibration documentation show that the calibration procedures are being followed? |  |  |  |  |
| 20. Do the calibration standards have the appropriate levels? |  |  |  |  |
| 21. Are the calibration standards traceable to standards from the National Institute of Standards and Technology (NIST) or to other accepted standards organizations? |  |  |  |  |
| 22. What is the instrumentation calibration error according to the calibration documentation? |  |  |  |  |
| 23. What is the instrumentation linearity error according to the calibration documentation? |  |  |  |  |
| 24. What are the instrumentation zero and calibration drifts according to the calibration documentation? |  |  |  |  |
| 25. What is the sampling system bias according to the calibration documentation? |  |  |  |  |
| 26. Do the instruments have any interferences? How are the data corrected for interferences? |  |  |  |  |
| 27. Are the calibration standards and delivery system properly maintained? |  |  |  |  |
| Additional Questions or Comments: |  |  |  |  |