Revised Public Notification Handbook

3rd Revision, March 2023

Tier 3 Public Notification Instructions and Templates

The pages that follow contain instructions and templates for issuing Tier 3 public notification. Along with each template are instructions, including the required method of delivery and suggestions for completing individual sections of the notice. These instructions are designed to supplement Chapter 9, so you may see much of the information repeated here. The following templates are included:

- Monitoring Violations Annual Notice – Template 3-1A

- Monitoring Violations Annual Notice – Template 3-1B

- Monitoring Violations Annual Notice – Template 3-1C

- Failure to Develop a Profile and/or Calculate a Benchmarking Notice – Template 3-2

- Failure to Comply with a Testing Procedure Notice – Template 3-3

- Operating Under a Variance or Exemption Notice – Template 3-4

- RTCR Failure to Report E. coli-positive Sampling Events to the State – Template 3-5

- RTCR Failure to Report Monitoring Events to the State that are Not Related to E. coli-positive Sample Results – Template 3-6

- RCTR Failure to Provide the State a Certificate that Confirms Seasonal System Start-up Procedures have been Completed – Template 3-7

- RCTR Failure to do Recordkeeping – Template 3-8

- Special Notice Template: Availability of Unregulated Contaminant Monitoring Data – Template 3-9

- Special Notice Template: Fluoride SMCL Notice – Template 3-10

Mandatory language on unknown risks for monitoring violations [40 CFR 141.205(d)], which must be included as written with blanks filled in, is presented in italics in each notice. All the language in the fluoride SMCL template (except the language discussed below) is mandatory (40 CFR 141.208).

You must also include the following italicized language in all notices, where applicable [40 CFR 141.205(d)]. Use of this language does not relieve you of your obligation to take steps reasonably calculated to notify all persons served:

Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.

This page intentionally left blank.

Instructions for Monitoring Violations Annual – Template 3-1A

Template on Reverse

If you are required to provide Tier 3 notification, you must provide public notice to persons served within one year after you learn of the violation [40 CFR 141.204(b)]. Multiple monitoring violations can be serious, and your state may have more stringent requirements. Check with your state to make sure you meet its requirements.

CWSs must use one of the following methods [40 CFR 141.204(c)(1)]:

- Hand or direct delivery

- Mail, as a separate notice or included with the bill

- Another method approved in writing by the state

NCWSs must use one of the following methods [40 CFR 141.204(c)(2)]:

- Posting in conspicuous locations

- Hand delivery

- Mail

- Another method approved in writing by the state

In addition, both CWSs and NCWSs must use another method reasonably calculated to reach others if they would not be reached by the first method [40 CFR 141.203(c)]. Such methods could include newspapers, e-mail, or delivery to community organizations. If you post the notice, it must remain posted until the violation is resolved. If the violation has already been resolved, you must post the notice for at least seven days [40 CFR 141.204(b)]. If you mail, post, or hand deliver, print your notice on your system’s letterhead, if available.

The notice on the reverse is appropriate for insertion in an annual notice or the Consumer Confidence Report (CCR) (CWSs only), as long as public notification timing and delivery requirements are met [40 CFR 141.204(d)]. You may need to modify the template for a notice for individual monitoring violations. This example presents violations in a table; however, you may write out an explanation for each violation if you wish. For any monitoring violation for volatile organic compounds (VOCs) or other groups, you may list the group name in the table, but you must provide the name of every chemical in the group on the notice, e.g., in a footnote.

You may need to modify the notice if you had any monitoring violations for which monitoring later showed a maximum contaminant level (MCL) or other violation. In such cases, you should refer to the public notice you issued at that time. If you do modify the notice, you must still include all required public notice elements from 40 CFR 141.205(a)and leave the mandatory language unchanged (see below).

Mandatory Language

Mandatory language on health effects (from Appendix B to 40 CFR 141 Subpart Q) must be included as written and is presented in this notice in italics with an asterisk on either end. You will need to update the information presented in brackets with the appropriate information.

You must also include standard language to encourage the distribution of the public notice to all persons served, where applicable [40 CFR 141.205(d)]. This language is also presented in this notice in italics with an asterisk on either end.

Corrective Action

In your notice, describe corrective actions you took, or are taking. Listed below are some steps commonly taken by water systems with monitoring violations. You can use the following language, if appropriate, or develop your own:

- We have since taken the required samples, as described in the last column of the table above. The samples showed we are meeting drinking water standards.

- We have since taken the required samples, as described in the last column of the table above. The sample for [contaminant] exceeded the limit. [Describe corrective action; use information from public notice prepared for violating the limit.]

- We plan to take the required samples soon, as described in the last column of the table above.

After Issuing the Notice

Make sure to send a copy of each type of notice and a certification that you have met all the public notification requirements to your state within 10 days after the original or any repeat notice(s) [40 CFR 141.31(d)].

Monitoring Violations Annual Notice – Template 3-1A

IMPORTANT INFORMATION ABOUT YOUR DRINKING WATER

Monitoring Requirements Not Met for [Water System Name]

Our water system violated drinking water requirements over the past year. Even though these were not emergencies, as our customers, you have a right to know what happened and what we are doing (did) to correct these situations.

*We are required to monitor your drinking water for specific contaminants on a regular basis. Results of regular monitoring are an indicator of whether or not our drinking water meets health standards. During [compliance period] we [‘did not monitor or test’ or ‘did not complete all monitoring or testing’] for [contaminant(s)] and therefore cannot be sure of the quality of your drinking water during that time.*

What should I do?

There is nothing you need to do at this time.

The table below lists the contaminant(s) we did not properly test for during the last year, how often we are supposed to sample for [this contaminant/these contaminants], how many samples we are supposed to take, how many samples we took, when samples should have been taken, and the date on which follow-up samples were (or will be) taken.

| Contaminant | Required sampling frequency | Number of samples taken | When samples should have been taken | When samples were taken |
| --- | --- | --- | --- | --- |
| VOCs (example) | 1 sample every three years | 0 | 2009-2011 | February 2012 |

What is being done?

[Describe corrective action.]

For more information, please contact [name of contact] at [phone number] or [mailing address].

*Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.*

This notice is being sent to you by [water system name]. State Water System ID#: ___________.Date distributed: ______.

Instructions for Monitoring Violations Annual – Template 3-1B

Template on Reverse

The template on the reverse is another example of a monitoring violation. The example in this template is for bromate under the DBPR. All of the instructions of Template 3-1A apply.

Monitoring Violations Annual Notice – Template 3-1B

IMPORTANT INFORMATION ABOUT YOUR DRINKING WATER

Monitoring Requirements Not Met for [Water System Name]

On [give date] we became aware that our system recently failed to collect the correct number of drinking water samples. Although this incident was not an emergency, as our customers, you have a right to know what happened and what we did (are doing) to correct this situation.

*We are required to monitor your drinking water for specific contaminants on a regular basis. Results of regular monitoring are an indicator of whether or not our drinking water meets health standards. During [compliance period] we [‘did not monitor or test’ OR ‘did not complete all monitoring or testing’] for bromate and therefore cannot be sure of the quality of your drinking water during that time.*

We were allowed to take 1 sample per quarter rather than 1 sample per month. In [give date], we no longer qualified for reduced quarterly bromate monitoring. Beginning in [give date], we failed to begin monitoring monthly for bromate.

What should I do?

There is nothing you need to do at this time. You may continue to drink the water. If a situation arises where the water is no longer safe to drink, you will be notified within 24 hours.

What is being done?

[Describe corrective action.] We began monitoring monthly for bromate on [give date] and will continue to monitor on this schedule [until/unless] we qualify for reduced monitoring.

For more information, please contact [name of contact] at [phone number] or [mailing address].

*Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.*

This notice is being sent to you by [water system name]. State Water System ID#: ___________.

Date distributed: ______.

Instructions for Monitoring Violations Annual – Template 3-1C

Template on Reverse

The template on the reverse is another example of a monitoring violation. The example in this template is for Cryptosporidium monitoring under LT2ESWTR. If a system fails to conduct Cryptosporidium monitoring of its source water for one or two months, they are required to issue Tier 3 public notification. (Note: failure to conduct required Cryptosporidium monitoring for any three months or more requires Tier 2 public notification and special notice. See Template 2-25.) All the instructions of Template 3-1A apply.

Monitoring Violations Annual Notice – Template 3-1C

IMPORTANT INFORMATION ABOUT YOUR DRINKING WATER

Monitoring Requirements Not Met for [Water System Name]

Our water system violated a drinking water requirement over the past year. Even though this was not an emergency, as our customers, you have a right to know what happened and what we did to correct the situation.

*We are required to monitor your drinking water for specific contaminants on a regular basis. Results of regular monitoring are an indicator of whether or not our drinking water meets health standards. During [compliance period] we [‘did not monitor or test’ or ‘did not complete all monitoring or testing’] for Cryptosporidium and therefore cannot be sure of the quality of your drinking water during that time.*

Cryptosporidium is a disease-causing microorganism that may be present in our raw water source.

What should I do?

There is nothing you need to do at this time. You may continue to drink the water. If a situation arises where the water is no longer safe to drink, you will be notified within 24 hours.

What is being done?

[Describe corrective action.] We began collecting our monthly samples for Cryptosporidium on [give date] and will continue to follow our required monitoring schedule.

For more information, please contact [name of contact] at [phone number] or [mailing address].

*Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.*

This notice is being sent to you by [water system name]. State Water System ID#: ___________.

Date distributed: ______.

Instructions for Failure to Develop a Profile and/or Calculate a Benchmark – Template 3-2

Template on Reverse

Failure to develop a disinfection profile for Giardia lamblia and viruses (a profile for viruses may be applicable under LT1ESWTR and is required under LT2ESWTR) or calculate a benchmark prior to making a significant change to your disinfection practice, requires Tier 3 notification. You must provide public notice to persons served within 12 months after you learn of the violation [40 CFR 141.204(b)]. Failure to develop a profile or calculate a benchmark can be serious and your state may have more stringent requirements. Check with your state to make sure you meet all requirements.

CWSs must use one of the following methods [40 CFR 141.204(c)(1)]:

- Hand or direct delivery

- Mail, as a separate notice or included with the bill

- Another method approved in writing by the state

NCWSs must use one of the following methods [40 CFR 141.204(c)(2)]:

- Posting in conspicuous locations

- Hand delivery

- Mail

- Another method approved in writing by the state

In addition, both CWSs and NCWSs must use another method reasonably calculated to reach others if they would not be reached by the first method [40 CFR 141.203(c)]. Such methods could include newspapers, e-mail, or delivery to community organizations. If you post the notice, it must remain posted until the violation is resolved. If the violation has already been resolved, you must post the notice for at least seven days [40 CFR 141.204(b)]. If you mail, post, or hand deliver, print your notice on your system’s letterhead, if available.

The notice on the reverse is appropriate for insertion in an annual notice or the Consumer Confidence Report (CCR) (CWSs only), as long as public notification timing and delivery requirements are met [40 CFR 141.204(d)]. If you do modify the notice, you must still include all required public notice elements from 40 CFR 141.205(a)and leave the mandatory language unchanged (see below).

Mandatory Language

Mandatory language on health effects (from Appendix B to 40 CFR 141 Subpart Q) must be included as written and is presented in this notice in italics with an asterisk on either end. You will need to update the information presented in brackets with the appropriate information.

You must also include standard language to encourage the distribution of the public notice to all persons served, where applicable [40 CFR 141.205(d)]. This language is also presented in this notice in italics with an asterisk on either end.

Corrective Actions

In your notice, describe corrective actions you took, or are taking. Listed below is a step commonly taken by water systems with a profiling and benchmarking violation. You can use the following language, if appropriate, or develop your own that is specific to your violation:

- We are in the process of developing our disinfection profile and will calculate a benchmark as soon as the profile is complete.

After Issuing the Notice

Make sure to send a copy of each type of notice and a certification that you have met all the public notification requirements to your state within 10 days after the original or any repeat notice(s) [40 CFR 141.31(d)].

Failure to Develop a Profile and/or Calculate a Benchmark Notice – Template 3-2

IMPORTANT INFORMATION ABOUT YOUR DRINKING WATER

Monitoring Requirements Not Met for [Water System Name]

We violated a drinking water requirement. [Prior to making any change to our disinfection practices, we are required to develop a year-long profile of our disinfection system to determine our inactivation levels for certain pathogenic organisms. Development of a profile requires monitoring disinfection parameters. We did not meet this requirement.] AND/OR

[Since we [are making/made] a change to our disinfection practice, we [are/were] required to calculate a benchmark to determine our lowest monthly inactivation level over the year. We did not calculate a benchmark.]

*We are required to monitor your drinking water for specific contaminants on a regular basis. Results of regular monitoring are an indicator of whether or not our drinking water meets health standards. During [compliance period] we did not complete all monitoring or testing for the profile parameters and therefore cannot be sure of the quality of our drinking water during that time.*

What should I do?

There is nothing you need to do at this time. You may continue to drink the water. If a situation arises where the water is no longer safe to drink, you will be notified within 24 hours.

What is being done?

We [collected /will collect] all required samples on [give date]. [Describe corrective action.]

For more information, please contact [name of contact] at [phone number] or [mailing address].

*Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses).  You can do this by posting this notice in a public place or distributing copies by hand or mail.*

This notice is being sent to you by [water system name]. State Water System ID# _______.

Date distributed: _______

Instructions for Failure to Comply with a Testing Procedure – Template 3-3

Template on Reverse

Failure to comply with a testing procedure requires Tier 3 notification. You must provide public notice to persons served within 12 months after you learn of the violation [40 CFR 141.204(b)]. Multiple testing violations can be serious, and your state may have more stringent requirements. Check with your state to make sure you meet its requirements.

CWSs must use one of the following methods [40 CFR 141.204(c)(1)]:

- Hand or direct delivery

- Mail, as a separate notice or included with the bill

- Another method approved in writing by the state

NCWSs must use one of the following methods [40 CFR 141.204(c)(2)]:

- Posting in conspicuous locations

- Hand delivery

- Mail

- Another method approved in writing by the state

In addition, both CWSs and NCWSs must use another method reasonably calculated to reach others if they would not be reached by the first method [40 CFR 141.203(c)]. Such methods could include newspapers, e-mail, or delivery to community organizations. If you post the notice, it must remain posted until the violation is resolved. If the violation has already been resolved, you must post the notice for at least seven days [40 CFR 141.204(b)]. If you mail, post, or hand deliver, print your notice on your system’s letterhead, if available.

The notice on the reverse is appropriate for insertion in an annual notice or the Consumer Confidence Report (CCR) (CWSs only), as long as public notification timing and delivery requirements are met [40 CFR 141.204(d)]. If you do modify the notice, you must still include all required public notice elements from 40 CFR 141.205(a) and leave the mandatory language unchanged (see below).

Mandatory Language

Mandatory language on health effects (from Appendix B to 40 CFR 141 Subpart Q) must be included as written and is presented in this notice in italics with an asterisk on either end. You will need to update the information presented in brackets with the appropriate information.

You must also include standard language to encourage the distribution of the public notice to all persons served, where applicable [40 CFR 141.205(d)]. This language is also presented in this notice in italics with an asterisk on either end.

Corrective Actions

In your notice, describe corrective actions you took, or are taking. Listed below is a step commonly taken by water systems with a holding time violation. You can use the following language, if appropriate, or develop your own that is specific to your testing violation:

- On [give date] we [collected/will collect] a new sample of our finished water in order to have it analyzed for [contaminant]. We [sent/will send] the sample to the certified laboratory via courier to ensure that the sample arrived within the allowed holding time.

After Issuing the Notice

Make sure to send a copy of each type of notice and a certification that you have met all the public notification requirements to your state within 10 days after the original or any repeat notice(s) [40 CFR 141.31(d)].

Failure to Comply with a Testing Procedure Notice – Template 3-3

IMPORTANT INFORMATION ABOUT YOUR DRINKING WATER

[Water System Name] Failed to Comply With a Testing Procedure

Our water system [Water System Name] recently failed to comply with a required testing procedure. Even though this was not an emergency, as our customers, you have a right to know what happened and what we did to correct the situation.

*We are required to monitor your drinking water for specific contaminants on a regular basis. Results of regular monitoring are an indicator of whether or not our drinking water meets health standards. During [compliance period], we did not complete all monitoring or testing for [contaminant(s)], and therefore cannot be sure of the quality of your drinking water during that time.*

Any sample we collect must be sent to and analyzed by a certified laboratory within a specified amount of time. We collected the sample on [give date], but did not get our sample to the laboratory within the allowed holding time.

What should I do?

There is nothing you need to do at this time. You may continue to drink the water. If a situation arises where the water is no longer safe to drink, you will be notified within 24 hours.

What is being done?

On [give date] we [collected/will collect] a new sample of our finished water in order to have it analyzed for [contaminant]. We [sent/will send] the sample to the certified lab via courier to ensure that the sample [arrived/arrives] within the allowed holding time. The sample was analyzed and [contaminant] was not found at detectable levels.

For more information, please contact [name of contact] at [phone number] or [mailing address].

*Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.*

This notice is being sent to you by [water system name]. State Water System ID#: ___________.

Date distributed: ______.

Instructions for Operating Under a Variance or Exemption – Template 3-4

Template on Reverse

If you are operating under a variance or exemption, you are required to provide Tier 3 notification. You must provide public notice to persons served within one year after you begin operating under a variance or exemption [40 CFR 141.204(b)]. Systems operating under a variance or exemption are required to include the following information in their notice [40 CFR 141.205(b)]:

- An explanation for the reasons for the variance or exemption;

- The date on which the variance or exemption was issued;

- A brief status report on the steps the system is taking to install treatment, find alternative sources of water, or otherwise comply with the terms and schedules of the variance or exemption; and

- A notice of any opportunity for public input in the review of the variance or exemption.

Your state may require additional information. Check with your state to make sure you meet its requirements. Failure to comply with a variance or exemption is a violation that requires Tier 2 public notification. Use Template 2-18 for this type of violation.

CWSs must use one of the following methods [40 CFR 141.203(c)]:

- Hand or direct delivery

- Mail, as a separate notice or included with the bill

- Another method approved in writing by the state

NCWSs must use one of the following methods [40 CFR 141.203(c)]:

- Posting in conspicuous locations

- Hand delivery

- Mail

- Another method approved in writing by the state

In addition, both CWSs and NCWSs must use another method reasonably calculated to reach others if they would not be reached by the first method [40 CFR 141.203(c)]. Such methods could include newspapers, e-mail, or delivery to community organizations. If you post the notice, it must remain posted until the violation is resolved. If the violation has already been resolved, you must post the notice for at least seven days [40 CFR 141.204(b)]. If you mail, post, or hand deliver, print your notice on your system’s letterhead, if available.

The notice on the reverse is appropriate for insertion in an annual notice or the Consumer Confidence Report (CCR) (CWSs only), as long as public notification timing and delivery requirements are met [40 CFR 141.204(d)]. If you do modify the notice, you must still include all required public notice elements from 40 CFR 141.205(a) and leave the mandatory language unchanged (see below).

Mandatory Language

Mandatory language on health effects (from Appendix B to 40 CFR 141 Subpart Q) must be included as written and is presented in this notice in italics with an asterisk on either end. You will need to update the information presented in brackets with the appropriate information.

You must also include standard language to encourage the distribution of the public notice to all persons served, where applicable [40 CFR 141.205(d)]. This language is also presented in this notice in italics with an asterisk on either end.

Corrective Actions

In your notice, describe corrective actions you took, or are taking. Listed below is one action commonly taken by water systems that have been granted an exemption. You can use the following language, if appropriate, or develop your own:

- We have begun the process to secure the necessary funding for a new treatment process. We have [explain steps taken thus far] and anticipate having funding secured by [give date]. At that time we will [explain your next steps, such as purchase and begin installation of the selected treatment technology].

After Issuing the Notice

Make sure to send a copy of each type of notice and a certification that you have met all the public notification requirements to your state within 10 days after the original or any repeat notice(s) [40 CFR 141.31(d)].

Operating Under a Variance or Exemption Notice – Template 3-4

IMPORTANT INFORMATION ABOUT YOUR DRINKING WATER

[Water System Name] is Operating Under an Exemption

Our water system has been granted an exemption from [state] for [contaminant] on [give date]. An exemption allows eligible systems additional time to comply with a drinking water standard. [Water System Name] was granted an exemption for (contaminant) so that we could raise funds for a new treatment process to remove [contaminant] from our drinking water.

What should I do?

[Provide information about any actions customers or you are required to take as a condition of the exemption. For example if you are required to provide bottled water explain where, when and how customers will receive bottled water. If you are not required to provide bottled water or there are no corrective actions customers should take, you may state that here].

What does this mean?

This is not an emergency. If it had been, you would have been informed within 24 hours.

[Consider including health effects language from 40 CFR Appendix B to 40 CFR 141 Subpart Q specific to the contaminant for which the exemption applies].

What is being done?

We have begun the process to secure the necessary funding for a new treatment process. We have [explain steps taken thus far] and anticipate having funding secured by [give date]. At that time we will [explain your next steps, such as purchase and begin installation of the selected treatment technology].

Our exemption will be reviewed by [state] on [date]. As our customer you have the opportunity to provide input if you wish.

For more information, please contact [name of contact] at [phone number] or [mailing address].

*Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.*

This notice is being sent to you by [water system name]. State Water System ID#: ___________.

Date distributed: ______.

Instructions for Failure to Report E. coli-positive Sampling Events to the State – Template 3-5

Template on Reverse

Description of Violation or Situation

Failure to notify the state of events that are related to E. coli-positive sample results are reporting violations that require Tier 3 public notification. The reporting violations addressed by this Tier 3 template require similar public notification content and include:

- Failure to notify the state within 24 hours of an E. coli MCL violation.

- Failure to notify the state within 24 hours of an E. coli-positive sample result.

You must provide public notice to persons served within one year after you learn of the violation [40 CFR 141.204(b)]. Check with your state to make sure you meet all requirements.

CWSs must use all of the following methods to deliver the notice to consumers [40 CFR 141.204(c)]:

- Mail or hand delivery (public notice delivery may be provided by CCR if the one year requirement is met), and

- Another method as needed to reach consumers not likely to receive a notice from methods noted above and approved in writing by the state. Such methods could include newspapers, e-mail, or delivery to community organizations.

The notice on the reverse is appropriate for insertion in an annual notice or the Consumer Confidence Report (CCR) (CWSs only), as long as public notification content, timing and delivery requirements are met [40 CFR 141.204(d)]. If you do modify the notice, you must still include all 10 required public notice elements from 40 CFR 141.205(a) and leave the mandatory language unchanged (see below).

NCWSs must use all of the following methods to deliver the notice to consumers [40 CFR 141.204(c)]:

- Posting in a conspicuous place throughout the system, or by hand delivery or mail, and

- Another method as needed to reach consumers not likely to receive a notice from methods noted above and approved in writing by the state. Such methods could include newspapers, e-mail, or delivery to community organizations.

If you:

- Post the notice, it must remain posted until the violation is resolved.

- Post the notice and the violation has already been resolved, you must still post the notice for at least seven days [40 CFR 141.204(b)].

- Mail, post, or hand deliver, EPA recommends printing your notice on your system’s letterhead, if available.

Repeat notice(s) are required annually if the violation or situation persists, unless otherwise directed by the state.

Mandatory Language

You must also include standard language to encourage the distribution of the public notice to all persons served, where applicable [40 CFR 141.205(d)]. This language is also presented in this notice in italics with an asterisk on each end.

Corrective Actions

In your notice, you must describe corrective actions you took, or are taking [40 CFR 141.205(a)(7)] and when you expect to return to compliance or resolve the situation [40 CFR 141.205(a)(8)]. You can use the following language, if appropriate, or develop your own:

- We have provided the missing reports to the state and have revised our procedures to ensure we comply with reporting requirements in the future. We are no longer in violation.

After Issuing the Notice

Make sure to send a copy of each type of notice and a certification that you have met all the public notification requirements to your state within 10 days after the original or any repeat notice(s) [40 CFR 141.31(d)].

Failure to Report E. coli-positive Sampling Events to the State Notice – Template 3-5

IMPORTANT INFORMATION ABOUT YOUR DRINKING WATER

Reporting Requirement(s) Not Met for [Water System Name]

Our system failed to notify the state drinking water program that we [enter either “detected E. coli bacteria in a water sample” or “have incurred an MCL violation for E. coli bacteria”]. We are required to notify the state of this information within 24 hours of when we learned of the situation but we failed to do so.

[If applicable, enter, “We notified you of the E. coli MCL violation on [enter date] and resolved the contamination problem on [enter date]”].

Although this situation does not create a risk to public health, as our customers you have a right to know what happened and what we did to correct the situation.

What should I do?

There is nothing you need to do at this time. If a situation arises where the water is no longer safe to drink, you will be notified within 24 hours. We will announce any emergencies on [media source].

What is being done?

[Describe your corrective actions including when your water system expects to return to compliance or resolve the violation].

For more information, please contact [name of contact] at [phone number] or [mailing address].

*Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.*

This notice is being sent to you by [water system name]. State Water System ID# _______.

Date distributed: _______.

Instructions for Failure to Report Monitoring Events to the State that are Not Related to E. coli-positive Sample Results – Template 3-6

Template Below

Description of Violation or Situation

Failure to notify the state of RTCR events that are not related to E. coli-positive sample results are reporting violations that require Tier 3 public notification. The reporting violations addressed by this Tier 3 template require similar public notification content and include:

- Failure to provide total coliform-positive or total coliform-negative sample results to the state in a timely manner.

- Failure to notify the state that an RTCR monitoring violation occurred with 10 days of when the violation occurred.

- Failure to notify the state within 24 hours of a Treatment Technique (TT) violation resulting from failure to perform assessments or corrective actions.

- Failure to submit the completed assessment form or monitoring report within 30 days of triggering the assessment.

- Failure to notify the state when each scheduled corrective action is completed based on the state-approved timeframe.

You must provide Tier 3 public notice to persons served within one year after you learn of the violation [40 CFR 141.204(b)]. Check with your state to make sure you meet all requirements.

CWSs must use all of the following methods to deliver the notice to consumers [40 CFR 141.204(c)]:

- Mail or hand delivery (public notice delivery may be provided by CCR if the one year requirement is met), and

- Another method as needed to reach consumers not likely to receive a notice from methods noted above and approved in writing by the state. Such methods could include newspapers, e-mail, or delivery to community organizations.

The notice on the reverse is appropriate for insertion in an annual notice or the Consumer Confidence Report (CCR) (CWSs only), as long as public notification content, timing, and delivery requirements are met [40 CFR 141.204(d)].

NCWSs must use all of the following methods to deliver the notice to consumers [40 CFR 141.204(c)]:

- Posting in a conspicuous place throughout the system, or by hand delivery or mail, and

- Another method as needed to reach consumers not likely to receive a notice from methods noted above and approved in writing by the state. Such methods could include newspapers, e-mail, or delivery to community organizations.

If you:

- Post the notice, it must remain posted until the violation is resolved.

- Post the notice and the violation has already been resolved, you must still post the notice for at least seven days [40 CFR 141.204(b)].

- Mail, post, or hand deliver, EPA recommends printing your notice on your system’s letterhead, if available.

- Modify the notice, you must still include all required public notice elements from 40 CFR 141.205(a) and leave the mandatory language unchanged (see below).

Repeat notice(s) are required annually if the violation or situation persists, unless otherwise directed by the state.

Mandatory Language

You must also include standard language to encourage the distribution of the public notice to all persons served, where applicable [40 CFR 141.205(d)]. This language is also presented in this notice in italics with an asterisk on each end.

Corrective Actions

In your notice, you must describe corrective actions you took, or are taking [40 CFR 141.205(a)(7)] including when your water system expects to return to compliance or resolve the violation [40 CFR 141.205(a)(8)]. You can use the following language, if appropriate, or develop your own:

- We have provided the missing reports to the state and have revised our procedures to ensure we comply with reporting requirements in the future. We are no longer in violation.

After Issuing the Notice

Make sure to send a copy of each type of notice and a certification that you have met all the public notification requirements to your state within 10 days after the original or any repeat notice(s) [40 CFR 141.31(d)].

Failure to Report Monitoring Events to the State that are Not Related to E. coli-positive Sample Results – Template 3-6

IMPORTANT INFORMATION ABOUT YOUR DRINKING WATER

Reporting Requirement(s) Not Met for [Water System Name]

We are required to report [describe the information not reported, such as “the results of monitoring of your drinking water for specific contaminants on a regular basis” or “the results of our water system’s assessment by [enter date]]. Results of [enter applicable text, such as “regular monitoring” or “the assessment”, as applicable] are an indicator of whether or not your drinking water meets health standards. During [compliance period], we did not [describe what you did not report, such as “report the results of monitoring or of the assessment] for [contaminant(s)]”].

Our system failed to notify the state drinking water program as required by [enter date]. Although public health was not impacted, as our customers, you have a right to know what happened and what we did to correct the situation.

What should I do?

There is nothing you need to do at this time. You do not need to boil your water or take other actions.

What is being done?

While we did not notify the state as quickly as we should have, we have [enter your corrective action] on [enter date]. We are no longer in violation.

For more information, please contact [name of contact] at [phone number] or [mailing address].

*Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.*

This notice is being sent to you by [water system name]. State Water System ID# _______.

Date distributed: _______.

This page intentionally left blank.

Instructions for Failure to Provide the State a Certificate that Confirms Seasonal System Start-up Procedures have been Completed – Template 3-7

Template on Reverse

Description of Violation or Situation

Failure of a seasonal NCWS to certify to the state that they have completed all state-approved start up procedures before serving water to the public is a reporting violation that requires Tier 3 public notification.

You must provide public notice to persons served within one year after you learn of the reporting violation [40 CFR 141.204(b)]. Check with your state to make sure you meet all requirements.

NCWSs must use all of the following methods to deliver the notice to consumers [40 CFR 141.204(c)]:

- Posting in a conspicuous place throughout the system, or by hand delivery or mail, and

- Another method as needed to reach consumers not likely to receive a notice from methods noted above and approved in writing by the state. Such methods could include newspapers, e-mail, or delivery to community organizations.

If you:

- Post the notice, it must remain posted until the violation is resolved.

- Post the notice and the violation has already been resolved, you must still post the notice for at least seven days [40 CFR 141.204(b)].

- Mail, post, or hand deliver, EPA recommends printing your notice on your system’s letterhead, if available.

- Modify the notice, you must still include all required public notice elements from 40 CFR 141.205(a) and leave the mandatory language unchanged (see below).

Repeat notice(s) are required annually if the violation or situation persists, unless otherwise directed by the state.

Mandatory Language

You must also include standard language to encourage the distribution of the public notice to all persons served, where applicable [40 CFR 141.205(d)]. This language is also presented in this notice in italics with an asterisk on each end.

Corrective Actions

In your notice, you must describe corrective actions you took, or are taking [40 CFR 141.205(a)(7)] including when your water system expects to return to compliance or resolve the violation [40 CFR 141.205(a)(8)]. You can use the following language, if appropriate, or develop your own:

- We have provided the missing certification to the state and have revised our procedures to ensure we comply with reporting requirements in the future. We are no longer in violation.

After Issuing the Notice

Make sure to send a copy of each type of notice and a certification that you have met all the public notification requirements to your state within 10 days after the original or any repeat notice(s) [40 CFR 141.31(d)].

Failure to Provide the State a Certificate that Confirms Seasonal System Start-up Procedures have been Completed – Template 3-7

IMPORTANT INFORMATION ABOUT YOUR DRINKING WATER

Reporting Requirement(s) Not Met for [Water System Name]

[Water System Name] failed to notify the state drinking water program that we completed the steps required to start-up our water system after we’d been shut down for the off-season. We are required to notify the state that we completed the required steps before we served water to the public.

Although this situation does not create a health risk, as our customers you have a right to know what happened and what we did to correct the situation.

What should I do?

There is nothing you need to do at this time. If a situation arises where the water is no longer safe to drink, you will be notified within 24 hours.

What is being done?

[Describe your corrective actions including when your water system expects to return to compliance or resolve the violation].

For more information, please contact [name of contact] at [phone number] or [mailing address].

*Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.*

This notice is being sent to you by [water system name]. State Water System ID# _______.

Date distributed: _______.

Instructions for Revised Total Coliform Rule (RTCR) Failure to do Recordkeeping – Template 3-8

Template on Reverse

Description of Violation or Situation

Failure to keep records of any assessment forms completed by you or a third-party, documentation of corrective actions, or summary reports of sanitary defects, as well as records of repeat samples taken that meet the criteria of an extension for the 24-hours of collecting repeat samples are recordkeeping violations that require Tier 3 public notification [40 CFR 141.204(a)(6)].

You must provide public notice to persons served within one year after you learn of the recordkeeping violation [40 CFR 141.204(b)]. Check with your state to make sure you meet all requirements.

CWSs must use all of the following methods to deliver the notice to consumers [40 CFR 141.203(c)]:

- Mail or hand delivery (public notice delivery may be provided by CCR if the one year requirement is met), and

- Another method as needed to reach consumers not likely to receive a notice from methods noted above and approved in writing by the state. Such methods could include newspapers, e-mail, or delivery to community organizations.

The notice on the reverse is appropriate for insertion in an annual notice or the Consumer Confidence Report (CCR) (CWSs only), as long as public notification content, timing and delivery requirements are met [40 CFR 141.204(d)].

NCWSs must use all of the following methods to deliver the notice to consumers [40 CFR 141.203(c)]:

- Posting in a conspicuous place throughout the system, or by hand delivery or mail, and

- Another method as needed to reach consumers not likely to receive a notice from methods noted above and approved in writing by the state. Such methods could include newspapers, e-mail, or delivery to community organizations.

If you:

- Post the notice, it must remain posted until the violation is resolved.

- Post the notice and the violation has already been resolved, you must still post the notice for at least seven days [40 CFR 141.204(b)].

- Mail, post, or hand deliver, EPA recommends printing your notice on your system’s letterhead, if available.

- Modify the notice, you must still include all required public notice elements from 40 CFR 141.205(a) and leave the mandatory language unchanged (see below).

Repeated notices are required annually if the violation or situation persists, unless otherwise directed by the state.

Mandatory Language

You must also include standard language to encourage the distribution of the public notice to all persons served, where applicable [40 CFR 141.205(d)]. This language is also presented in this notice in italics with an asterisk on each end.

Corrective Actions

In your notice, you must describe corrective actions you took, or are taking [40 CFR 141.205(a)(7)] including when your water system expects to return to compliance or resolve the violation [40 CFR 141.205(a)(8)]. You can use the following language, if appropriate, or develop your own:

- We have contacted the laboratories that performed the water testing and requested copies of the missing reports. We are no longer in violation.

- We have revised our procedures to ensure we comply with the recordkeeping requirements in the future. We are no longer in violation.

After Issuing the Notice

Make sure to send a copy of each type of notice and a certification that you have met all the public notification requirements to your state within 10 days after the original or any repeat notice(s) [40 CFR 141.31(d)].

Revised Total Coliform Rule (RTCR) Failure to do Recordkeeping – Template 3-8

IMPORTANT INFORMATION ABOUT YOUR DRINKING WATER

Recordkeeping Requirement(s) Not Met for [Water System Name]

[Water system name] failed to keep records of [describe the information not kept, such as “our water system’s assessment conducted on [enter date]” or “monitoring following a sample with coliform bacteria in which we received an extension to collect the sample from the state”]. We realize the importance of keeping complete records to document the quality of the water we provide and the efforts we take to ensure the water is safe to drink.

Although this situation does not create a risk to public health, as our customers you have a right to know what happened and what we did to correct the situation.

What should I do?

There is nothing you need to do at this time. If a situation arises where the water is no longer safe to drink, you will be notified within 24 hours. We will announce any emergencies on [media source].

What is being done?

[Describe your corrective actions including when your water system expects to return to compliance or resolve the violation].

For more information, please contact [name of contact] at [phone number] or [mailing address].

*Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.*

This notice is being sent to you by [water system name]. State Water System ID# _______.

Date distributed: _______.

Instructions for Special Notice for Availability of Unregulated Contaminant Monitoring Data – Template 3-9

Template on Reverse

If you are required to monitor under 40 CFR 141.40 for unregulated contaminants, you must provide Tier 3 public notification to persons served within one year after you receive the monitoring results [40 CFR 141.207(a)]. Check with your state to make sure you meet its requirements.

CWSs may include this information in an annual notice or in your CCR. See Chapter 7 for more information. If you include this information in your CCR, the CCR must be issued within 12 months of receiving the monitoring results. Please note that any detected unregulated contaminant monitoring must be reported in a separate table in the system’s CCR.

CWSs must use one of the following methods [40 CFR 141.204(c)(1)]:

- Hand or direct delivery

- Mail, as a separate notice or included with the bill

- Another method approved in writing by the state

NCWSs must use one of the following methods [40 CFR 141.204(c)(2)]:

- Posting in conspicuous locations

- Hand delivery

- Mail

- Another method approved in writing by the state

In addition, both CWSs and NCWSs must use another method reasonably calculated to reach others if they would not be reached by the first method [40 CFR 141.203(c)]. Such methods could include newspapers, e-mail, or delivery to community organizations. If you post the notice, it must remain posted until the violation is resolved. If the violation has already been resolved, you must post the notice for at least seven days [40 CFR 141.204(b)]. If you mail, post, or hand deliver, print your notice on your system’s letterhead, if available.

The notice on the reverse is appropriate for insertion in an annual notice or the Consumer Confidence Report (CCR) (CWSs only), as long as public notification timing and delivery requirements are met [40 CFR 141.204(d)].

Mandatory Language

There is no mandatory language required for notifying consumers of the availability of unregulated contaminant monitoring data.

After Issuing the Notice

Make sure to send a copy of each type of notice and a certification that you have met all the public notification requirements to your state within 10 days after the original or any repeat notice(s) [40 CFR 141.31(d)].

Special Notice for Availability of Unregulated Contaminant Monitoring Data – Template 3-9

IMPORTANT INFORMATION ABOUT YOUR DRINKING WATER

Availability of Monitoring Data for Unregulated Contaminants for [Water System Name]

Our water system has sampled for a series of unregulated contaminants. Unregulated contaminants are those that don’t yet have a drinking water standard set by EPA. The purpose of monitoring for these contaminants is to help EPA decide whether the contaminants should have a standard. As our customers, you have a right to know that these data are available. If you are interested in examining the results, please contact [name of contact] at [phone number] or [mailing address].

This notice is being sent to you by [water system name]. State Water System ID#: ___________.

Date distributed: ______.

Special Notice Instructions for Fluoride SMCL  – Template 3-10

Template on Reverse

For any exceedance of the fluoride secondary maximum contaminant level (SMCL), you must provide Tier 3 notification to persons served as soon as practical, but within 12 months after you learn of the exceedance [40 CFR 141.208], using the provided mandatory language and filling in the blanks. Your state may have more stringent deadlines or other requirements. Because fluoride at levels above the SMCL can permanently discolor children’s teeth, you are urged to issue this notice as soon as practical. NCWSs that monitor for fluoride (federal law does not require NCWSs to monitor) are encouraged to notify their consumers if they exceed the SMCL, especially at water systems serving children. If you exceed the maximum contaminant level (MCL) of 4 milligrams per liter (mg/L), you must provide Tier 2 public notification within 30 days of learning of the violation [40 CFR 141.203(a)]. See Template 2-2.

You must provide the special public notice as soon as practical but no later than 12 months after you learn of the exceedance and a copy must be sent to your state’s public health officer. A copy of the special public notice must be sent to all new billing units and new customers at the time their water service begins, if the exceedance still exists. If you post the special public notice, it must be posted for a minimum of 7 days or for as long as the SMCL is exceeded. You must repeat the notice annually as long as the exceedance persists. States may require earlier initial notification or more frequent repeat notification on a case-by-case basis.

CWSs must use one of the following methods [40 CFR 141.203(c)]:

- Hand or direct delivery

- Mail, as a separate notice or included with the bill

- Another method approved in writing by the state

In addition, CWSs must use another method reasonably calculated to reach others if they would not be reached by the first method [40 CFR 141.203(c)]. Such methods could include newspapers, e-mail, or delivery to community organizations. If you post the notice, it must remain posted until the violation is resolved. If the violation has already been resolved, you must post the notice for at least seven days [40 CFR 141.204(b)]. If you mail, post, or hand deliver, print your notice on your system’s letterhead, if available.

The notice on the reverse is appropriate for insertion in an annual notice or the Consumer Confidence Report (CCR) (CWSs only), as long as public notification timing and delivery requirements are met [40 CFR 141.204(d)]. If you do modify the notice, you must still include all required public notice elements from 40 CFR 141.205(a) and leave the mandatory language unchanged (see below).

Mandatory Language

Mandatory language for fluoride SMCL exceedances [40 CFR 141.208] must be included as written (with information in brackets filled in) and is presented in this notice in italics and with an asterisk on either end.

Explaining the Situation

Use the following language, if applicable:

- Fluoride contamination is rarely due to human activity. Fluoride occurs naturally in some areas and is found in high concentrations in the aquifer of our source water.

If the fluoride levels in the water have returned to below the SMCL, be sure to make this clear in your notice.

Corrective Actions

In your notice, you should describe corrective actions you took or are taking, if any. The bullet below describes one action commonly taken by water systems with fluoride SMCL exceedances. You can use this language, or develop your own:

- We are continuing to monitor fluoride levels. We will inform you if they exceed the limit of 4 mg/L.

After Issuing the Notice

Make sure to send a copy of each type of notice and a certification that you have met all the public notification requirements to your state within 10 days after the original or any repeat notice(s) [40 CFR 141.31(d)].

Special Notice for Fluoride SMCL – Template 3-10

IMPORTANT INFORMATION ABOUT YOUR DRINKING WATER

Elevated Fluoride Levels Detected in [Water System Name]

*This is an alert about your drinking water and a cosmetic dental problem that might affect children under nine years of age. At low levels, fluoride can help prevent cavities, but children drinking water containing more than 2 milligrams per liter (mg/L) of fluoride may develop cosmetic discoloration of their permanent teeth (dental fluorosis). The drinking water provided by your community water system [name] has a fluoride concentration of [insert value] mg/L.

Dental fluorosis in its moderate or severe forms, may result in a brown staining and or pitting of the permanent teeth. This problem occurs only in developing teeth, before they erupt from the gums. Children under nine should be provided with alternative sources of drinking water or water that has been treated to remove the fluoride to avoid the possibility of staining and pitting of their permanent teeth. You may also want to contact your dentist about proper use by young children of fluoride-containing products. Older children and adults may safely drink the water.

Drinking water containing more than 4 mg/L of fluoride (the U.S. Environmental Protection Agency’s drinking water standard) can increase your risk of developing bone disease. Your drinking water does not contain more than 4 mg/L of fluoride, but we’re required to notify you when we discover that the fluoride levels in your drinking water exceed 2 mg/L because of this cosmetic dental problem.

For more information, please call [name of water system contact] of [name of community water system] at [phone number]. Some home water treatment units are also available to remove fluoride from drinking water. To learn more about available home water treatment units, you may call NSF International at 1-877-8-NSF-HELP.*

*Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.*

This notice is being sent to you by [water system name]. State Water System ID#: ___________.

Date distributed: ______.

VOCs, also know as volatile organic compounds, are tested by collecting one sample and testing that sample for all the regulated VOCs. VOCs are commonly used in industrial and manufacturing processes. Regulated VOCs include benzene, carbon tetrachloride, chlorobenzene, 1,2-dichlorobenzene, 1,4-dichlorobenzene, 1,2-dichloroethane, cis-dichloroethane, trans-dichloroethane, dichloromethane, 1,2-dichloropropane, ethylbenzene, styrene, tetrachloroethylene, 1,1,1-trichloroethane, trichloroethylene, toluene, 1,2,4-trichlorobenzene, 1,1-dichloroethylene, 1,1,2-trichloroethane, vinyl chloride, and xylene.