## Start
WaterUSE Tool
In order to use the Water Use and Savings Evaluation Tool (WaterUSE Tool), macros must be enabled.
If you are unsure how to enable macros, please use the Microsoft Office Excel Help function.
Version 1.2. (June 2015)

## Instructions (hidden)
WaterUSE Tool
Instructions
The U.S. Environmental Protection Agency’s WaterSense® program has developed the Water Use and Savings Evaluation Tool (WaterUSE Tool) to help hotel facility managers and building operators ACT—assess, change, and track water use.
The WaterUSE Tool, in combination with the Water Assessment Worksheets, can assist hotels in identifying and prioritizing cost-effective water efficiency projects and best management practices (BMPs) to reduce water and energy use and save money.
The worksheets will help you capture information about your water-using fixtures and equipment needed to populate the WaterUSE Tool. They also provide instructions, guidance, definitions, context, and additional information about the fields in the tool. If you need help understanding or completing any parts of the tool, please refer to the associated worksheets. In addition, there is space at the end of each worksheet to write notes about malfunctioning equipment, leaks, or operational improvements that should be addressed immediately following your assessment, as well as any other information you would like to remember that is not captured elsewhere in the WaterUSE Tool.
For more information on how you can reduce your water use, please visit the WaterSense at Work Best Management Practices for Commercial and Institutional Facilities
or the H2Otel Challenge web page.
Steps to Completing the WaterUSE Tool
1. | Conduct a walk-through of your hotel to gather data and information regarding the specific types of equipment and operations that use water, as well as typical water use patterns. WaterSense has prepared a series of worksheets to facilitate this data collection. Information from the worksheets can be used to populate the required fields within this WaterUSE Tool. Each worksheet number corresponds to a numbered tab within this tool. As an example, information collected in Worksheet 3: Guest Rooms will be entered into the “Guest Rooms” tab of the WaterUSE Tool.
2. | Fill out the “Facility Info” tab using information from Worksheet 1: Facility Information. The Facility Info tab must be completed in order for the remainder of the tool to function properly.
3. | Navigate to the WaterUSE Tool tabs relevant to your facility to identify water usage, potential savings projects, and recommended BMPs. Information you gathered using the worksheets during your facility walk-through should be entered into the dark blue and light blue cells on each applicable tab, when prompted. Grey-shaded cells throughout the tool are optional and can be filled out for your own tracking purposes.
4. | After entering all applicable information, click the "Show My Results" button at the bottom of each tab. Based on your inputs, the tool will identify potential projects, best management practices, and savings potential for that specific water use area.
5. | If information is available, consider entering project-specific costs and rebate information in the green cells towards the bottom of each tab to make project payback periods more accurate for identified projects.
6. | In addition, review the supporting data and assumption area at the bottom of each tab and consider altering the data in the red cells if you have more facility-specific assumptions. This will also make the savings and project payback periods more accurate for the identified projects.
Please Note
Potential projects, BMPs, and savings potential identified in the tool are offered as guidance only. Actual water, energy, and cost savings can vary based on use and other factors. Before initiating a potential project identified by this tool, WaterSense recommends more thoroughly evaluating the project’s cost and savings to accurately evaluate its cost-effectiveness. WaterSense recommends that you conduct a facility walk-through every four years to identify changes in your operations and reevaluate savings opportunities. While the WaterUSE Tool was developed for the WaterSense H2Otel Challenge, other facility types may find the tool useful for identifying opportunities to save water. EPA is not liable for any costs incurred from the use of this tool.
Questions and Updates
Please contact the WaterSense Helpline at (866) WTR-SENS (987-7367) or watersense@epa.gov if you have any questions on the WaterUSE Tool, to report any errors, or if you have any suggestions for future updates. To get updates on future revisions of the WaterUSE Tool, submit an email to the WaterSense Helpline with WaterUSE in the subject line and WaterSense will notify you of updates to the WaterUSE Tool or Water Assessment Worksheets.
Version 1.2. (June 2015)

## Summary (hidden)
WaterUSE Tool - Summary of Potential Water-Efficiency Projects and Best Management Practices
This tab provides a summary of all of the potential water, energy, and cost savings and/or recommended best management practices identified based on the information you entered for each water use area. The tab automatically updates as information is entered or changed and can be used to help you prioritize water efficiency projects and practices to save your hotel water, energy, and money.
Potential Water Savings and Payback Period from Restroom, Guest Ice and Laundry, and Dishwashing Projects
|  |  | Number of Fixtures to Replace | Estimated Project Cost ($) | Potential Annual Water Savings (gal) | Potential Annual Energy Savings - Electricity (kWh) | Potential Annual Energy Savings - Natural Gas (Mcf) | Total Annual Cost Savings ($) | Potential Payback Period (years)
[10 empty] | TRUE | FALSE
|  | Tank-Type Toilets | 0 | 0 | 0 | 0 | — | 0 | 0 | 0
|  | Flushometer-Valve Toilets | 0 | 0 | 0 | 0 | — | 0 | 0 | 0
|  | Faucets | 0 | 0 | 0 | 0 | — | 0 | 0 | 0
|  | Showerheads | 0 | 0 | 0 | 0 | — | 0 | 0 | 0
| Guest Rooms Total |  | Not Estimated | Not Estimated | Not Estimated | Not Estimated | Not Estimated | Not Estimated | Not Estimated | TRUE
[10 empty] | TRUE | FALSE
|  | Tank-Type Toilets | 0 | 0 | 0 | 0 | — | 0 | 0 | 0
|  | Flushometer-Valve Toilets | 0 | 0 | 0 | 0 | — | 0 | 0 | 0
|  | Urinals | 0 | 0 | 0 | 0 | — | 0 | 0 | 0
|  | Faucets | 0 | 0 | 0 | 0 | — | 0 | 0 | 0
|  | Showerheads | 0 | 0 | 0 | 0 | — | 0 | 0 | 0
| Public Restrooms Total |  | Not Estimated | Not Estimated | Not Estimated | Not Estimated | Not Estimated | Not Estimated | Not Estimated | TRUE
[10 empty] | TRUE | FALSE
|  | Ice Maker(s) | 0 | 0 | 0 | 0 | — | 0 | 0 | 0
|  | Clothes Washer(s) | 0 | 0 | 0 | 0 | — | 0 | 0 | 0
| Guest Ice and Laundry Total |  | Not Estimated | Not Estimated | Not Estimated | Not Estimated | Not Estimated | Not Estimated | Not Estimated | TRUE
[10 empty] | TRUE | FALSE
|  | Dishwasher(s) | 0 | 0 | 0 | 0 | — | 0 | 0 | 0
|  | Pre-Rinse Spray Valve(s) | 0 | 0 | 0 | 0 | — | 0 | 0 | 0
| Dishwashing Total |  | Not Estimated | Not Estimated | Not Estimated | Not Estimated | Not Estimated | Not Estimated | Not Estimated | TRUE
TRUE
| GRAND TOTAL |  | Not Estimated | Not Estimated | Not Estimated | Not Estimated | Not Estimated | Not Estimated | Not Estimated | TRUE
| Recommended Best Management Practices for Linen Laundry | [5 empty] | {You have not completed the Linen Laundry tab.} |  |  | TRUE | FALSE
| » | [8 empty] | FALSE | FALSE
| » | [8 empty] | FALSE | TRUE
| » | [8 empty] | FALSE | TRUE
| » | [8 empty] | FALSE | TRUE
| » | [8 empty] | 0 | FALSE
| » | [8 empty] | 0 | FALSE
| Recommended Best Management Practices for Commercial Kitchens | [5 empty] | {You have not completed the Commercial Kitchens tab.} |  |  | TRUE | FALSE
| » | [8 empty] | FALSE | TRUE
| » | [8 empty] | FALSE | FALSE
| » | [8 empty] | FALSE | FALSE
| » | [8 empty] | FALSE | FALSE
| » | [8 empty] | FALSE | FALSE
| » | [8 empty] | FALSE | FALSE
| » | [8 empty] | FALSE | FALSE
| » | [8 empty] | FALSE | FALSE
| » | [8 empty] | FALSE | FALSE
| » | [8 empty] | 0 | FALSE
| Recommended Best Management Practices for HVAC and Mechanical | [5 empty] | {You have not completed the HVAC and Mechanical tab.} |  |  | TRUE | FALSE
| » | [8 empty] | FALSE | FALSE
| » | [8 empty] | FALSE | FALSE
| » | [8 empty] | FALSE | FALSE
| » | [8 empty] | FALSE | FALSE
| » | [8 empty] | FALSE | FALSE
| » | [8 empty] | FALSE | FALSE
| » | [8 empty] | FALSE | FALSE
| » | [8 empty] | FALSE | FALSE
| » | [8 empty] | FALSE | FALSE
| » | [8 empty] | FALSE | TRUE
| » | [8 empty] | FALSE | FALSE
| » | [8 empty] | FALSE | FALSE
| » | [8 empty] | 0 | FALSE
| Recommended Best Management Practices for Irrigation | [5 empty] | {You have not completed the Irrigation tab.} |  |  | TRUE | FALSE
| » | [8 empty] | FALSE | FALSE
0
| » | [8 empty] | FALSE | TRUE
0
| » | [8 empty] | FALSE | FALSE
| » | [8 empty] | FALSE | TRUE
| » | [8 empty] | FALSE | TRUE
0
| » | [8 empty] | FALSE | FALSE
0
| » | [8 empty] | 0 | FALSE
0
| » | [8 empty] | 0 | FALSE
| Recommended Best Management Practices for Pools and Spas | [5 empty] | {You have not completed the Pools & Spas tab.} |  |  | TRUE | FALSE
| » | [8 empty] | FALSE | FALSE
| » | [8 empty] | FALSE | FALSE
| » | [8 empty] | FALSE | TRUE
| » | [8 empty] | FALSE | TRUE
| » | [8 empty] | 0 | FALSE
General Recommended Best Management Practices
| » | Check with your local water and energy utilities to determine if a rebate program is available for implementing water-saving projects.
| » | For additional information on how to reduce water use in your hotel, see: |  |  |  | WaterSense at Work
Version 1.2. (June 2015)
Show My Results

## 1 Facility Info (hidden)
WaterUSE Tool
Facility Information
Instructions: Enter information from Worksheet 1 and Worksheet 2 of the Water Assessment Worksheets into the cells below. Dark blue-shaded cells are dropdown menus used to identify the selection options, light blue-shaded cells should be filled in based on your inventory, and grey-shaded cells are optional and can be filled out for your own tracking purposes. If you're unsure of certain information, you can press the "<<< Use Default" buttons to estimate values based on industry averages; however, entering facility-specific information in those cells will yield more accurate savings estimates and project payback periods. If you would like to clear the information from this tab and start over, scroll right to press the "Reset Form" button at the top right corner of the form.
| Prepared By (optional) | [5 empty] | Incomplete
| Name: | [5 empty] | Incomplete
Title:
Date:
Contact Information (optional)
| Facility Name: |  |  |  |  | Address Line 1:
| Assessment Contact Name: |  |  |  |  | Address Line 2:
| Phone: |  |  |  |  | City:
| Fax: |  |  |  |  | State:
Zip:
Facility Details (required)
Building Size (sq. ft.)
|  | Construction Year (or Significant Renovation): |  |  | << Note: Renovation year should only be included if restroom fixtures in guest rooms and public restrooms were replaced.
|  | Building Hot Water Fuel Type: |  |  | << Note: You must make a selection even if neither fuel type is used for hot water heating.
Number of Guest Rooms in the Hotel:
|  | Hotel Operating Days per Year: |  |  |  | 365
Average Number of Guests per Room:
Average Annual Occupancy Rate:
| Utility Information (required) |  |  | Cost ($) | Units |  |  | Cost in desired units
|  | Water Rate ($/unit): | [5 empty] | 0
|  | Wastewater Rate ($/unit): | [5 empty] | 0
|  | Electricity Rate ($/unit): | [5 empty] | 0
|  | Natural Gas Rate ($/unit): | [5 empty] | 0
Water Meter Information (optional)
|  | Meter Name | Meter ID # | Water Bill Units | Service Area
Version 1.2. (June 2015)
Reset Form
Hide Instructions

## 2 Metering & Billing (hidden)
WaterUSE Tool
Metered Water Usage Information
Instructions: Completing this tab is optional. The data entered here can be used to plot your data over time to identify and analyze water use trends. Plotting and analyzing your data monthly may help you identify seasonal water use patterns, leaks, malfunctioning equipment, or other issues.
To complete this tab, use your records, such as past water utility bills, to enter water use data into the light blue-shaded cells. The dark blue-shaded cells are dropdown menus that correspond to the water meter names you provided on the "Facility Info" tab. If you would like to clear the information from this tab and start over, scroll right to press the "Reset Form" button at the top right corner of the form.
In addition, consider entering your water use information into the ENERGY STAR® Portfolio Manager® tool monthly to help you track and trend your water use.
This tab is set up to mimic Portfolio Manager so the data can be easily copied from the WaterUSE Tool to Portfolio Manager using your copy and paste function.
|  | Meter Name | Start Date | End Date | Usage | Cost | Estimated?
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60
61
62
63
64
65
66
67
68
69
70
71
72
73
74
75
76
77
78
79
80
81
82
83
84
85
86
87
88
89
90
91
92
93
94
95
96
97
98
99
100
Version 1.2. (June 2015)
Reset Form
Hide Instructions

## 3 Guest Rooms (hidden)
WaterUSE Tool
Guest Rooms Water Use
Instructions: Enter information from Worksheet 3 of the Water Assessment Worksheets into the cells below. Dark blue-shaded cells are dropdown menus used to identify the selection options, and light blue-shaded cells should be filled in based on your inventory. If you're unsure of certain information, you can press the "<<< Use Default" buttons to estimate values based on industry averages; however, entering facility-specific information in those cells will yield more accurate savings estimates and project payback periods. Once data entry is complete, press "Show My Results" to see potential savings estimates and recommended water efficiency best management practices.
To provide the most accurate savings estimates for your replacement projects, consider updating the information in the green-shaded table to better represent your facility's planned fixture replacement. Consider updating the information in the red-shaded table if you have more accurate facility- or equipment-specific data and assumptions than the default values provided. These tables can be found towards the bottom of the form below the “Potential Water Savings and Payback Period” section.
If you would like to clear the information from this tab and start over, scroll right to press the "Reset Form" button at the top right corner of the form.
Water Use and Fixture Assessment
| 1. Does your hotel have any shared bathrooms for your guest rooms? |  |  |  |  | << Note: This may be common in hostels and bed & breakfasts. |  |  |  | Question 1 (shared bathrooms) is incomplete.
Calculations on this tab use information from the 'Facility Info' tab. Therefore you must first complete the 'Facility Info' tab before you can display these results.
| 2. What type of toilets are installed in your guest rooms? | [8 empty] | Based on your current inputs, there are no results to display.
|  | Toilet Type | Number Installed | Existing Flush Volume (gpf) | [6 empty] | New Rate | Tank-Type | Potential Replace | Flushometer | Potential Replace
[11 empty] | 0 | 0 | 0 | 0 | 0
[11 empty] | 0 | 0 | 0 | 0 | 0
[11 empty] | 0 | 0 | 0 | 0 | 0
[11 empty] | 0 | 0 | 0 | 0 | 0
[11 empty] | 0 | 0 | 0 | 0 | 0
3. What is the flow rate of the lavatory faucets in guest rooms?
|  | Number Installed | Existing Flow Rate (gpm) | [7 empty] | New Rate | Replace
[11 empty] | 0 | 0
[11 empty] | 0 | 0
[11 empty] | 0 | 0
[11 empty] | 0 | 0
4. What is the flow rate for the showerheads installed in guest rooms?
|  | Number Installed | Existing Flow Rate (gpm) | [7 empty] | New Rate | Replace
[11 empty] | 0 | 0
[11 empty] | 0 | 0
[11 empty] | 0 | 0
[11 empty] | 0 | 0
Current Water Use
Your existing water use for your overnight guest restrooms is approximately Not Estimated gallons of water per year. The following table provides your estimated water use for each fixture type.
Estimated Annual Water Use (gal)
|  | Tank-Type Toilets | Not Estimated
|  | Flushometer-Valve Toilets | Not Estimated
|  | Faucets | Not Estimated
|  | Showerheads | Not Estimated
|  | TOTAL | Not Estimated
Potential Water Savings and Payback Period
| » | By retrofitting your existing, inefficient fixtures in your guest rooms with WaterSense labeled and/or high-efficiency models, you can save approximately N/A gallons of water and $N/A in water and energy costs annually. The following table provides estimated water, energy, and cost savings, and an estimated simple payback for each potential replacement project.
|  |  | Estimated Project Cost ($) | Potential Annual Water Savings (gal) | Potential Annual Water Cost Savings ($) | Potential Annual Energy Savings (kWh) | Potential Annual Energy Cost Savings ($) | Total Annual Cost Savings ($) | Potential Payback Period (years)
|  | Tank-Type Toilets | N/A | N/A | N/A | — | — | N/A | N/A
|  | Flushometer-Valve Toilets | N/A | N/A | N/A | — | — | N/A | N/A
|  | Faucets | N/A | N/A | N/A | N/A | N/A | N/A | N/A
|  | Showerheads | N/A | N/A | N/A | N/A | N/A | N/A | N/A
|  | Complete Project | Not Estimated | N/A | N/A | N/A | N/A | N/A | Not Estimated
| » | Check with your local water and energy utilities to determine if a rebate program is available for implementing water-saving projects.
| » | For additional information on how to reduce water use in your guest rooms, see: |  |  |  | WaterSense at Work Section 3: Sanitary Fixtures and Equipment
Product Replacement Details and Costs
Update the following table to reflect your planned fixture replacement. Your changes will automatically update the table above.
|  |  |  | Potential Replacements | Number of Fixtures to Replace | Flush Volume/ Flow Rate | Total Cost per Fixture (installed) | Total Rebate per Fixture |  |  | Net Cost | Current Rates | After Upgrades | Replacements | Replacement % | Use %
|  | WaterSense Labeled Tank-Type Toilet |  | 0 |  | 1.28 | 300 |  |  |  | 300 | 0 | 0 | 0 | 0% | 0%
|  | High-Efficiency Flushometer-Valve Toilet* |  | 0 |  | 1.28 | 1000 |  |  |  | 1000 | 0 | 0 | 0 | 0% | 0%
|  | WaterSense Labeled Faucet Aerator or Faucet |  | 0 |  | 1.5 | 10 |  |  |  | 10 | 0 | 0 | 0 | 0%
|  | WaterSense Labeled Showerhead |  | 0 |  | 2 | 20 |  |  |  | 20 | 0 | 0 | 0 | 0%
* - WaterSense is in the process of developing a specification to label high-efficiency flushometer-valve toilets.
Supporting Data and Assumptions
If you have more accurate facility- or equipment-specific data and assumptions than the values provided below, you can adjust the assumptions to provide more accurate BMP recommendations and savings estimates.
|  | Flushes per person per day |  |  | 5.05
|  | Minutes of faucet use per person per day |  |  | 8.1
|  | Average shower duration (minutes) |  |  | 8.2
|  | Showers per person per day |  |  | 1
|  | Percent faucet water that is hot water |  |  | 72.7%
|  | Percent shower water that is hot water |  |  | 73.1%
|  | kWh of electricity required to heat one gallon of water |  |  | 0.17664
|  | Mcf of natural gas required to heat one gallon of water |  |  | 0.0008774
Version 1.2. (June 2015)
Show My Results
Reset Form
Hide Instructions

## 4 Public Restrooms (hidden)
WaterUSE Tool
Public and Staff Restrooms Water Use
Instructions: Enter information from Worksheet 4 of the Water Assessment Worksheets into the cells below. Dark blue-shaded cells are dropdown menus used to identify the selection options, and light blue-shaded cells should be filled in based on your inventory. If you're unsure of certain information, you can press the "<<< Use Default" buttons to estimate values based on industry averages; however, entering facility-specific information in those cells will yield more accurate savings estimates and project payback periods. Once data entry is complete, press "Show My Results" to see potential savings estimates and recommended water efficiency best management practices.
To provide the most accurate savings estimates for your replacement projects, consider updating the information in the green-shaded table to better represent your facility's planned fixture replacement. Consider updating the information in the red-shaded table if you have more accurate facility- or equipment-specific data and assumptions than the default values provided. These tables can be found towards the bottom of the form below the “Potential Water Savings and Payback Period” section.
If you would like to clear the information from this tab and start over, scroll right to press the "Reset Form" button at the top right corner of the form.
Water Use and Fixture Assessment
Calculations on this tab use information from the 'Facility Info' tab. Therefore you must first complete the 'Facility Info' tab before you can display these results.
| 1. How many daily full-time equivalent employees do you have at your hotel? | [8 empty] | Question 1 (employee count) is incomplete.
| 2. On average, how many non-overnight visitors does your hotel host per day? | [8 empty] | Question 2 (visitor count) is incomplete.
| 3. What type of toilets are installed in public and employee-only areas? | [8 empty] | Based on your current inputs, there are no results to display.
|  | Toilet Type | Number Installed | Existing Flush Volume (gpf) | [6 empty] | New Rate | Tank-Type | Replace | Flushometer | Replace
[11 empty] | 0 | 0 | 0 | 0 | 0
[11 empty] | 0 | 0 | 0 | 0 | 0
[11 empty] | 0 | 0 | 0 | 0 | 0
4. What type of urinals are installed in public and employee-only areas?
|  | Urinal Type | Number Installed | Existing Flush Volume (gpf) | [6 empty] | New Rate | Replace
[11 empty] | 0 | 0
[11 empty] | 0 | 0
[11 empty] | 0 | 0
5. What is the flow rate of lavatory faucets installed in public and employee-only areas?
|  | Number Installed | Existing Flow Rate (gpm) | [7 empty] | New Rate | Replace
[11 empty] | 0 | 0
[11 empty] | 0 | 0
[11 empty] | 0 | 0
6. What is the flow rate of showerheads installed in public and employee-only areas?
|  | Number Installed | Existing Flow Rate (gpm) | [7 empty] | New Rate | Replace
[11 empty] | 0 | 0
[11 empty] | 0 | 0
[11 empty] | 0 | 0
Current Water Use
Your existing water use for your public and staff restrooms is approximately Not Estimated gallons of water per year. The following table provides your estimated water use for each fixture type.
Estimated Annual Water Use (gal)
|  | Tank-Type Toilets | Not Estimated
|  | Flushometer-Valve Toilets | Not Estimated
|  | Urinals | Not Estimated
|  | Faucets | Not Estimated
|  | Showerheads | Not Estimated
|  | TOTAL | Not Estimated
Potential Water Savings and Payback Period
| » | By replacing your existing, inefficient fixtures in your public and employee restrooms with WaterSense labeled and/or high-efficiency models, you can save approximately N/A gallons of water and $N/A in water and energy costs annually. The following table provides estimated water, energy, and cost savings, and an estimated simple payback for each potential replacement project.
|  |  | Estimated Project Cost ($) | Potential Annual Water Savings (gal) | Potential Annual Water Cost Savings ($) | Potential Annual Energy Savings (kWh) | Potential Annual Energy Cost Savings ($) | Total Annual Cost Savings ($) | Potential Payback Period (years)
|  | Tank-Type Toilets | N/A | N/A | N/A | — | — | N/A | N/A
|  | Flushometer-Valve Toilets | N/A | N/A | N/A | — | — | N/A | N/A
|  | Urinals | N/A | N/A | N/A | — | — | N/A | N/A
|  | Faucets | N/A | N/A | N/A | N/A | N/A | N/A | N/A
|  | Showerheads | N/A | N/A | N/A | N/A | N/A | N/A | N/A
|  | Complete Project | Not Estimated | N/A | N/A | N/A | N/A | N/A | Not Estimated
| » | Check with your local water and energy utilities to determine if a rebate program is available for implementing water-saving projects.
| » | For additional information on how to reduce water use in your public restrooms, see: |  |  |  | WaterSense at Work Section 3: Sanitary Fixtures and Equipment
Product Replacement Details and Costs
Update the following table to reflect your planned fixture replacement. Your changes will automatically update the table above.
|  |  |  | Potential Replacements | Number of Fixtures to Replace | Flush Volume/ Flow Rate | Total Cost per Fixture (installed) | Total Rebate per Fixture |  |  | Net Cost | Current Rates | After Upgrades | Uses per Day | Replacements | Replacement % | Use %
|  | WaterSense Labeled Tank-Type Toilet |  | 0 |  | 1.28 | 300 |  |  |  | 300 | 0 | 0 | 0 | 0 | 0% | 0%
|  | High-Efficiency Flushometer-Valve Toilet* |  | 0 |  | 1.28 | 1000 |  |  |  | 1000 | 0 | 0 | 0 | 0 | 0% | 0%
|  | WaterSense Labeled Flushing Urinal |  | 0 |  | 0.5 | 500 |  |  |  | 500 | 0 | 0 | 0 | 0 | 0%
or Non-Water Urinal†
|  | Public Use Faucet Aerator or Faucet Replacement |  | 0 |  | 0.5 | 10 |  |  |  | 10 | 0 | 0 | 0 | 0 | 0%
|  | WaterSense Labeled Showerhead |  | 0 |  | 2 | 20 |  |  |  | 20 | 0 | 0 | 0 | 0 | 0%
* - WaterSense is in the process of developing a specification to label high-efficiency flushometer-valve toilets.
† - While WaterSense does not label non-water urinals, because they are inherently water-efficient, they may be an appropriate technology for your facility.
Supporting Data and Assumptions
If you have more accurate facility- or equipment-specific data and assumptions than the values provided below, you can adjust the assumptions to provide more accurate BMP recommendations and savings estimates.
|  | Percentage of employees who are female |  |  | 50%
|  | Percentage of visitors who are female |  |  | 50%
|  | Toilet flushes per female employee per day |  |  | 3
|  | Toilet flushes per female visitor per day |  |  | 0.5
|  | Toilet flushes per male employee per day |  |  | 1
|  | Toilet flushes per male visitor per day |  |  | 0.1
|  | Urinal flushes per male employee per day |  |  | 2
|  | Urinal flushes per male visitor per day |  |  | 0.4
|  | Faucet uses per bathroom visit per day |  |  | 1
|  | Faucet duration per use (minutes) |  |  | 0.5
|  | Showers per employee per day |  |  | 0.1
|  | Average shower duration (minutes) |  |  | 5
|  | Percent faucet water that is hot water |  |  | 72.7%
|  | Percent shower water that is hot water |  |  | 73.1%
|  | kWh of electricity required to heat one gallon of water |  |  | 0.17664
|  | Mcf of natural gas required to heat one gallon of water |  |  | 0.0008774
Version 1.2. (June 2015)
Show My Results
Reset Form
Hide Instructions

## 5 Guest Ice & Laundry (hidden)
WaterUSE Tool
Guest Ice and Laundry Water Use
Instructions: Enter information from Worksheet 5 of the Water Assessment Worksheets into the cells below. Dark blue-shaded cells are dropdown menus used to identify the selection options and light blue-shaded cells should be filled in based on your inventory. If you're unsure of certain information, you can press the "<<< Use Default" buttons to estimate values based on industry averages; however, entering facility-specific information in those cells will yield more accurate savings estimates and project payback periods. Once data entry is complete, press "Show My Results" to see potential savings estimates and recommended water efficiency best management practices.
To provide the most accurate savings estimates for your replacement projects, consider updating the information in the green-shaded table to better represent your facility's planned equipment replacement. Consider updating the information in the red-shaded table if you have more accurate facility- or equipment-specific data and assumptions than the default values provided. These tables can be found towards the bottom of the form below the “Potential Water Savings and Payback Period” section.
If you would like to clear the information from this tab and start over, scroll right to press the "Reset Form" button at the top right corner of the form.
Water Use Assessment
Based on your current inputs, there are no results to display.
| 1. Does your hotel provide ice makers for guest use? | [9 empty] | You must answer question 1.
Calculations on this tab use information from the 'Facility Info' tab. Therefore you must first complete the 'Facility Info' tab before you can display these results.
1a. What type(s) of ice makers does your hotel provide for guest use?
|  | Ice Maker Type | Batch / Continuous | Cooling Type | Number Installed | Number ENERGY STAR® | [5 empty] | Water Usage | Water Savings | Energy Savings | BMP2 Cooling
[12 empty] | 0 | 0 | 0 | 0
[12 empty] | 0 | 0 | 0 | 0
[12 empty] | 0 | 0 | 0 | 0
| 2. Does your hotel provide clothes washers for guest use? | [9 empty] | You must answer question 2.
2a. What type(s) of clothes washers are currently installed for guest use?
|  | Equipment Type | Number Installed | Number ENERGY STAR | Average Weekly Loads per Machine |  |  |  | Idle Operating Hours per Day |  |  | Current Water | After Upgrade | Current kWh | After Upgrade | Current Mcf | After Upgrade
[7 empty] | 24 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | 0 | 0 | 0 | 0 | 0 | 0
Current Water Use
Your existing water use for guest service ice makers and clothes washers is approximately 0 gallons of water per year. The following table provides your estimated water use by appliance type.
Estimated Annual Water Use (gal)
|  | Ice Maker(s) | N/A
|  | Clothes Washer(s) | N/A
|  | TOTAL | 0
Potential Water Savings and Payback Period
| » | As shown in the following table, your guest use clothes washers and/or ice makers are already efficient, so it is not recommended that you replace any of your equipment at this time.
|  |  | Estimated Project Cost ($) | Potential Annual Water Savings (gal) | Potential Annual Water Cost Savings ($) | Potential Annual Energy Savings - Electricity (kWh) | Potential Annual Energy Savings - Natural Gas (Mcf) | Potential Annual Energy Cost Savings ($) | Total Annual Cost Savings ($) | Potential Payback Period (years)
|  | Ice Maker(s) | N/A | N/A | N/A | N/A | — | N/A | N/A | N/A
|  | Clothes Washer(s) | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
|  | Complete Project | Not Estimated | N/A | N/A | N/A | N/A | N/A | N/A | Not Estimated
| » | Check with your local water and energy utilities to determine if a rebate program is available for implementing water-saving projects.
| » | For additional information on how to reduce ice maker water use, see: |  |  | WaterSense at Work Section 4.2: Commercial Ice Machine
| » | For additional information on how to reduce clothes washer water use, see: |  |  | WaterSense at Work Section 3.6: Laundry Equipment
Product Replacement Costs
Update the following table to reflect your planned equipment replacement. Your changes will automatically update the table above.
|  |  |  | Potential Replacements | Number of Machines to Replace | Total Cost per Machine (installed) | Total Rebate per Fixture |  |  |  |  | Net Cost | Replacements | Replacement Rate
|  | ENERGY STAR Labeled Ice Maker |  | 0 | [7 empty] | Not Estimated | 0 | 0%
|  | ENERGY STAR Labeled Clothes Washer |  | 0 | [7 empty] | Not Estimated | 0 | 0%
Supporting Data and Assumptions
If you have more accurate facility- or equipment-specific data and assumptions than the values provided below, you can adjust the assumptions to provide more accurate BMP recommendations and savings estimates.
[5 empty] | Conventional | ENERGY STAR
| Electricity consumption per load of laundry (kWh) |  |  |  | 0.12296 | 0.04949
| Gas consumption per load of laundry (Mcf) |  |  |  | 0 | 0
| Water consumption per load of laundry (gal) — front-loading |  |  |  | 23.8 | 12.6
| Water consumption per load of laundry (gal) — top-loading |  |  |  | 15.4 | 12.6
| Single-pass water-cooled ice maker water use [for cooling only] (gal/lb) |  |  |  | 1.5 | --
Because you indicated that your hotel does not provide ice makers or clothes washers for guest use, there are no best management practice recommendations for this water use area. Continue to another tab to assess other water savings opportunities.
Version 1.2. (June 2015)
Show My Results
Reset Form
Hide Instructions

## 6 Linen Laundry (hidden)
| WaterUSE Tool | WaterUSE Tool
Linen Laundry Water Use
Instructions: Enter information from Worksheet 6 of the Water Assessment Worksheets into the cells below. Dark blue-shaded cells are dropdown menus used to identify the selection options and light blue-shaded cells should be filled in based on your inventory. If you're unsure of certain information, you can press the "<<< Use Default" buttons to estimate values based on industry averages; however, entering facility-specific information in those cells will yield more accurate savings estimates. Once data entry is complete, press "Show My Results" to see recommended water efficiency best management practices.
Consider updating the information in the red-shaded table if you have more accurate facility- or equipment-specific data and assumptions than the default values provided. This table can be found towards the bottom of the form below the “Recommended Best Management Practices and Potential Water Savings” section.
If you would like to clear the information from this tab and start over, scroll right to press the "Reset Form" button at the top right corner of the form.
Water Use Assessment
| 1. Does your hotel have a towel and linen reuse program for guests? | [6 empty] | You must answer question 1.
Calculations on this tab use information from the 'Facility Info' tab. Therefore you must first complete the 'Facility Info' tab before you can display these results.
| 2. Does your facility have in-house laundry equipment? | [6 empty] | You must answer question 2.
Based on your current inputs, there are no results to display.
| 2a. How many pounds of laundry are washed per day, on average? | [6 empty] | You must answer question 2a.
2b. What type of laundry equipment does your hotel use?
|  |  | Laundry Equipment Type | Capacity (lbs) | Water Recycling System? | Ozone System? | Number Installed |  | Exceeded | Percentage | Multi-Load Washer | Washer Extractor | Tunnel Washer | Unrecycled
[8 empty] | The first row under question 2b is incomplete. |  | 0% | 0 | 0 | 0 | 0
[10 empty] | 0% | 0 | 0 | 0 | 0
[10 empty] | 0% | 0 | 0 | 0 | 0
[10 empty] | 0% | 0 | 0 | 0 | 0
Current Water Use
A hotel that washes an average of 0 pounds of laundry per day uses approximately 0 gallons per year for laundry.
Estimated Annual Water Use (gal)
|  | Multi-Load Washers | Not Estimated
|  | Washer Extractors | Not Estimated
|  | Tunnel Washers | Not Estimated
|  | TOTAL | 0
Recommended Best Management Practices and Potential Water Savings
| » | According to the American Hotel & Lodging Association (AH&LA), implementing a linen and towel reuse program that allows guests to choose whether or not to have their linens and towels laundered daily can reduce a hotel's laundry load by approximately 17 percent. This reduces the amount of water, energy, detergent, and labor needed to clean laundry each day and decreases the wear and tear on linens and towels.
| » | Encourage hotel laundry staff to wash only full loads. Consider using a laundry scale to weigh loads to ensure your laundry equipment is being filled to capacity.
| » | Your hotel could reduce water use by as much as 0 gallons annually by installing a simple water recycling system for your laundry equipment. These systems can reduce water use between 10 and 35 percent. Alternatively, installing a complex water recycling system can save 85 to 90 percent of water used for hotel laundry—or as much as 0 gallons annually. Contact your hotel laundry equipment vendor to determine the feasibility and cost of retrofitting your existing laundry equipment with a water recycling system or replacing it with models with built-in water recycling systems.
| » | Installing an ozone system can save between 10 and 25 percent of water used for hotel laundry. It can also reduce energy use and the amount of detergent and other chemicals needed per load. Contact your hotel laundry equipment vendor to determine the feasibility and cost of installing an ozone system on your existing laundry equipment.
| » | Check with your local water and energy utilities to determine if a rebate program is available for implementing water-saving projects.
| » | For additional information on how to reduce water used for hotel laundry, see: |  |  |  | WaterSense at Work Section 3.6: Laundry Equipment
Supporting Data and Assumptions
If you have more accurate facility- or equipment-specific data and assumptions than the values provided below, you can adjust the assumptions to provide more accurate BMP recommendations and savings estimates.
|  | Laundry per occupied guest room (lbs/day) |  |  | 10
|  | Gallons per pound of laundry for multi-load washer |  |  | 1.4
|  | Gallons per pound of laundry for washer extractor |  |  | 3
|  | Gallons per pound of laundry for tunnel washer |  |  | 2
|  | Maximum capacity for multi-load washers (lbs) |  |  | 300
|  | Maximum capacity for washer extractors (lbs) |  |  | 1200
|  | Maximum capacity for tunnel washers (lbs) |  |  | 15000
Because you indicated that your hotel already has a towel and linen reuse program and does not have in-house laundry equipment, there are no best management practice recommendations for this water use area.
According to the American Hotel & Lodging Association (AH&LA), implementing a linen and towel reuse program that allows guests to choose whether or not to have their linens and towels laundered daily can reduce a hotel's laundry load by approximately 17 percent. This reduces the amount of water, energy, detergent, and labor needed to clean laundry each day and decreases the wear and tear on linens and towels.
Version 1.2. (June 2015)
Show My Results
Reset Form
Hide Instructions

## 7 Commercial Kitchens (hidden)
WaterUSE Tool
Commercial Kitchen Water Use (Excluding Dishwashing)
Instructions: Enter information from Worksheet 7 of the Water Assessment Worksheets into the cells below. For water use estimates and water savings opportunities associated with dishwashers or pre-rinse spray valves, see the next tab (8 Dishwashing). Dark blue-shaded cells are dropdown menus used to identify the selection options, and light blue-shaded cells should be filled in based on your inventory. If you're unsure of certain information, you can press the "<<< Use Default" buttons to estimate values based on industry averages; however, entering facility-specific information in those cells will yield more accurate savings estimates. Once data entry is complete, press "Show My Results" to see recommended water efficiency best management practices.
Consider updating the information in the red-shaded table if you have more accurate facility- or equipment-specific data and assumptions than the default values provided. This table can be found towards the bottom of the form below the “Recommended Best Management Practices and Potential Water Savings” section.
If you would like to clear the information from this tab and start over, scroll right to press the "Reset Form" button at the top right corner of the form.
Water Use Assessment
Calculations on this tab use information from the 'Facility Info' tab. Therefore you must first complete the 'Facility Info' tab before you can display these results.
| 1. Does your facility have a restaurant/commercial kitchen? | [7 empty] | Based on your current inputs, there are no results to display.
| 1a. Number of operating days per year? | [7 empty] | Question 1a (operating days) is missing or invalid.
| 1b. How many hours does your kitchen operate daily, on average? | [7 empty] | Question 1b (operating hours) is missing or invalid.
2. Does your kitchen have ice makers?
2a. What type(s) of ice makers does your hotel use in your hotel commercial kitchen/restaurant?
|  |  | Ice Maker Type | Batch / Continuous | Cooling Type | Number Installed | Number ENERGY STAR® |  |  | Water Usage | Water Savings | Energy Savings | SP Cooling
[10 empty] | 0 | 0 | 0 | 0
[10 empty] | 0 | 0 | 0 | 0
[10 empty] | 0 | 0 | 0 | 0
3. Does your kitchen have any steam cookers (food steamers)?
3a. What type of steam cookers are installed in your hotel commercial kitchen/restaurant?
|  |  | Equipment Type | Number Installed | Number ENERGY STAR® | Daily Use (hours) |  | Idle Operating Hours per Day |  | Water Usage | Water Savings
[10 empty] | 0 | 0
[10 empty] | 0 | 0
4. Does your kitchen have a combination oven?
4a. What type of combination ovens are installed in your hotel commercial kitchen/restaurant?
|  |  | Equipment Type | Number Installed | Daily Use (hours) |  |  |  |  | Water Usage | Water Savings
[10 empty] | 0 | 0
[10 empty] | 0 | 0
5. Does your kitchen have any steam kettles?
5a. What type of steam kettles are installed in your hotel commercial kitchen/restaurant?
|  |  | Equipment Type | Number Installed | Condensate Return System Installed? | Daily Use (hours) |  | Idle Operating Hours per Day
6. Does your kitchen have any dipper wells in your restaurant or bar area?
6a. What is the flow rate of any dipper wells installed?
|  |  | Number Installed | Flow Rate (gpm) | Daily Use (hours) |  |  |  |  | Water Usage | Water Savings
[10 empty] | 0 | 0
[10 empty] | 0 | 0
7. Does your kitchen have a garbage disposal for food waste?
7a. What type of food disposal is used in your hotel commercial kitchen/restaurant?
|  |  | Equipment Type | Number Installed | Sluice Trough Water Flow Rate (gpm) | Total Daily Use (hours) | Daily Sluice Trough Idling Hours |  |  | Water Usage | Water Savings
[10 empty] | 0 | 0
[10 empty] | 0 | 0
7b. Does your garbage disposal have a load sensor to regulate water flow?
Current Water Use
Your existing commercial kitchen equipment uses approximately 0 gallons of water per year. The following table provides your estimated water use for each appliance and equipment type.
Estimated Annual Water Use (gal)
|  | Ice Maker(s) | N/A
|  | Steam Cooker(s) | N/A
|  | Combination Oven(s) | N/A
|  | Steam Kettle(s) | N/A | << Note: WaterSense is not able to establish a water use estimate for steam kettles.
|  | Dipper Well(s) | N/A
|  | Food Disposal(s) | N/A
|  | TOTAL | 0
Recommended Best Management Practices and Potential Water Savings
| » | By replacing your standard single-pass water-cooled ice makers, you could save more than 0 gallons of water per year that is currently used for cooling purposes. Moreover, by replacing your existing, water-cooled ice makers with ENERGY STAR qualified models, you can save an additional 0 gallons of water and 0 kilowatt-hours of electricity annually from the operation of the equipment, saving you a total of about $0 per year in utility costs. If replacing existing ice makers is not feasible, modify them to operate on a closed loop that recirculates the cooling water through a cooling tower or heat exchanger. If eliminating single-pass cooling for your ice makers is not possible, consider reusing the cooling water for other applications where non-potable water could be used. | [7 empty] | 0
| » | Consider replacing your existing ice makers with ENERGY STAR qualified models. This can help you save approximately 0 gallons of water and 0 kilowatt-hours of electricity annually, saving you about $0 per year in utility costs.
| » | Replacing your existing inefficient steam cookers with ENERGY STAR qualified models can reduce your water use by approximately 0 gallons per year, saving you about $0 in utility costs annually. ENERGY STAR qualified steam cookers reduce water use by 90 percent and are as much as 50 percent more energy-efficient, reducing energy costs as well.
| » | Consider replacing your existing boiler-based combination ovens with connectionless models that use 15 gallons of water per hour or less. This can reduce your combination oven’s water use by approximately 0 gallons or more per year, saving you about $0 in utility costs annually.
| » | Consider retrofitting your existing boiler-based steam kettles with a system that returns condensate to the central boiler system for reuse. Condensate return systems can save on the water and energy cost of operating a steam kettle. When replacing an existing, boiler-based steam kettle, consider installing a self-contained unit. If this is not feasible based on your kitchen's cooking requirements, consider installing a unit with a condensate recovery system built in.
| » | If you plan to replace your boiler-based steam kettle in the future, consider installing a self-contained steam kettle.
| » | For your dipper wells, consider installing an in-line flow restrictor to reduce the flow rate to 0.3 gallons per minute. This will help you reduce water use from dipper wells by approximately 0 gallons per year, saving you about $0 in utility costs annually. Alternatively, consider replacing dipper wells with push-button, metered faucets for rinsing utensils.
| » | Consider installing a device on your food disposal that monitors the disposal motor’s load and regulates water use. This device can save you approximately 0 gallons of water per year and about $0 in utility costs annually. Also consider installing a timer to stop flow of water to the garbage disposal after 15 minutes, so that the user must periodically reactivate the system. If you plan to replace your food disposal, consider installing a food pulper or food strainer instead of a standard food grinder, since they use less water for food disposal.
| » | If you plan to replace your food disposal, consider installing a food pulper or food strainer instead of a standard food grinder, as these types of equipment can significantly reduce the amount of water used for food disposal.
| » | Check with your local water and energy utilities to determine if a rebate program is available for implementing water-saving projects.
| » | For additional information on how to reduce water used in your commercial kitchens, see: |  |  |  | WaterSense at Work Section 4: Commercial Kitchen Equipment
Supporting Data and Assumptions
If you have more accurate facility- or equipment-specific data and assumptions than the values provided below, you can adjust the assumptions to provide more accurate BMP recommendations and savings estimates.
| Single-pass water-cooled ice maker water use [for cooling only] (gal/lb) |  |  |  | 1.5
| Standard steam cooker water use (gal/hr) |  |  |  | 40
| ENERGY STAR qualified connectionless steam cooker water use (gal/hr) |  |  |  | 3
| Boiler-based combination oven water use (gal/hr) |  |  |  | 30
| Connectionless combination oven water use (gal/hr) |  |  |  | 15
| Dipper well with in-line flow restrictor flow rate (gal/min) |  |  |  | 0.3
| Idle food grinder flow rate used by load sensor (gal/min) |  |  |  | 1
Because you indicated that your hotel does not have a restaurant or commercial kitchen, there are no best management practice recommendations for this water use area.
Version 1.2. (June 2015)
Show My Results
Reset Form
Hide Instructions

## 8 Dishwashing (hidden)
WaterUSE Tool
Dishwashing Water Use
Instructions: Enter information from Worksheet 8 of the Water Assessment Worksheets into the cells below. For water use estimates and water savings opportunities associated with commercial kitchen equipment other than dishwashers or pre-rinse spray valves, see the previous tab (7 Commercial Kitchens). Dark blue-shaded cells are dropdown menus used to identify the selection options, and light blue-shaded cells should be filled in based on your inventory. If you're unsure of certain information, you can press the "<<< Use Default" buttons to estimate values based on industry averages; however, entering facility-specific information in those cells will yield more accurate savings estimates and project payback periods. Once data entry is complete, press "Show My Results" to see potential savings estimates and recommended water efficiency best management practices.
To provide the most accurate savings estimates for your replacement projects, consider updating the information in the green-shaded table to better represent your facility's planned equipment replacement. Consider updating the information in the red-shaded table if you have more accurate facility- or equipment-specific data and assumptions than the default values provided. These tables can be found towards the bottom of the form below the “Potential Water Savings and Payback Period” section.
If you would like to clear the information from this tab and start over, scroll right to press the "Reset Form" button at the top right corner of the form.
Water Use Assessment
Calculations on this tab use information from the 'Facility Info' tab. Therefore you must first complete the 'Facility Info' tab before you can display these results.
|  | 1. Does your hotel have dishwashing equipment? | [9 empty] | Based on your current inputs, there are no results to display.
|  | 1a. What is the number of operating days per year for your dishwashing equipment? | [9 empty] | Question 1a (operating days) is missing or invalid.
2. Does your kitchen have a commercial dishwasher?
2a. What type of commercial dishwashing equipment does your hotel use?
|  |  | Temperature (low or high) | Dishwashing Equipment Type | Number Installed | Number ENERGY STAR® | Number of Racks Washed per Day | [5 empty] | Water Usage | Water Savings | kWh Savings | Mcf Savings
_ | [12 empty] | 0 | 0 | 0 | 0
_ | [12 empty] | 0 | 0 | 0 | 0
_ | [12 empty] | 0 | 0 | 0 | 0
3. Does your kitchen have a pre-rinse spray valve?
3a. What is the flow rate of any pre-rinse spray valves used in your hotel commercial kitchen/restaurant?
|  |  | Number Installed | Existing Flow Rate (gpm) | Average Daily Use (minutes) | [7 empty] | Water Usage | Water Savings
[7 empty] | 0 | [5 empty] | 0 | 0
[7 empty] | 0 | [5 empty] | 0 | 0
[7 empty] | 0 | [5 empty] | 0 | 0
Current Water Use
Your existing dishwashing equipment uses approximately gallons of water per year. The following table provides your estimated water use for each appliance/equipment type.
Estimated Annual Water Use (gal)
|  |  | Dishwasher(s) | N/A
|  |  | Pre-Rinse Spray Valve(s) | N/A
|  |  | TOTAL | 0
Potential Water Savings and Payback Period
|  | » | As shown in the following table, your dishwashing equipment is already efficient, so it is not recommended that you replace any of your equipment at this time.
|  |  |  | Estimated Project Cost ($) | Potential Annual Water Savings (gal) | Potential Annual Water Cost Savings ($) | Potential Annual Energy Savings - Electricity (kWh) | Potential Annual Energy Savings - Natural Gas (Mcf) | Potential Annual Energy Cost Savings ($) | Total Annual Cost Savings ($) | Potential Payback Period (years)
|  |  | Dishwasher(s) | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
|  |  | Pre-Rinse Spray Valve(s) | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
|  |  | Complete Project | Not Estimated | 0 | 0 | 0 | — | 0 | 0 | Not Estimated
|  | » | Check with your local water and energy utilities to determine if a rebate program is available for implementing water-saving projects.
|  | » | For additional information on how to reduce dishwasher water use, see: |  |  | WaterSense at Work Section 4.10: Commercial Dishwashers
Product Replacement Details and Costs
Update the following table to reflect your planned equipment replacement. Your changes will automatically update the table above.
[5 empty] | Potential Replacements | Number of Fixtures to Replace | Flow Rate | Total Cost per Fixture (installed) | Total Rebate per Fixture |  |  |  | Net Cost | Replacements | Replacement Rate
|  |  | ENERGY STAR Labeled Dishwasher |  | N/A |  | -- | [5 empty] | Not Estimated | N/A | 0%
|  |  | WaterSense Labeled Pre-Rinse Spray Valve |  | N/A |  | 1.28 | 80 |  |  |  |  | 80 | N/A | 0%
Supporting Data and Assumptions
If you have more accurate facility- or equipment-specific data and assumptions than the values provided below, you can adjust the assumptions to provide more accurate BMP recommendations and savings estimates.
|  |  | Percent pre-rinse spray valve water that is hot water |  |  | 100%
|  |  | kWh of electricity required to heat one gallon of water |  |  | 0.24458
|  |  | Mcf of natural gas required to heat one gallon of water |  |  | 0.0009111
Because you indicated that your hotel does not have dishwashing equipment, there are no best management practice recommendations for this water use area. Continue to another tab to assess other water savings opportunities.
Version 1.2. (June 2015)
Show My Results
Reset Form
Hide Instructions

## 9 HVAC & Mechanical (hidden)
WaterUSE Tool
HVAC and Mechanical System Water Use
Instructions: Enter information from Worksheet 9 of the Water Assessment Worksheets into the cells below. Dark blue-shaded cells are dropdown menus used to identify the selection options and light blue-shaded cells should be filled in based on your inventory If you're unsure of certain information, you can press the "<<< Use Default" buttons to estimate values based on industry averages; however, entering facility-specific information in those cells will yield more accurate savings estimates. Once data entry is complete, press "Show My Results" to see recommended water efficiency best management practices.
Consider updating the information in the red-shaded table if you have more accurate facility- or equipment-specific data and assumptions than the default values provided. This table can be found towards the bottom of the form below the “Recommended Best Management Practices and Potential Water Savings” section.
If you would like to clear the information from this tab and start over, scroll right to press the "Reset Form" button at the top right corner of the form.
Water Use Assessment
| Section A: Cooling Towers | [7 empty] | Calculations on this tab use information from the 'Facility Info' tab. Therefore you must first complete the 'Facility Info' tab before you can display these results.
| A1. Does your hotel have a cooling tower? | [7 empty] | No results to display.
Note: Cooling towers evaporate water to remove heat. Some water is also discharged (blown down) to prevent mineral build-up and scaling in the tower. Make-up water is provided to replace water that is lost in the system from evaporation and discharges. For additional background information on cooling towers, see the
Cooling Tower BMPs.
A2. What is the capacity of your cooling tower(s), expressed as total tons of cooling?
A3. Does your hotel meter the make-up water that is added to the cooling tower system?
| A3a. How many gallons make-up water are added to the cooling tower(s) annually? | [5 empty] | << Enter "Unknown" if you do not know the annual usage.
A4. Does your hotel meter water that is discharged (blown down) from the cooling tower?
| A4a. How many gallons of water are discharged from the cooling tower(s) annually? | [5 empty] | << Enter "Unknown" if you do not know the annual usage.
A5. How is your cooling tower discharge (blowdown) controlled?
A6. Do you know your cycles of concentration?
A6a. What is your existing cooling tower cycles of concentration?
A7. Is cooling tower water treatment used to control scale build-up?
| A7a. What is the total dissolved solids (TDS) or conductivity of the make-up water? | [5 empty] | Note: The TDS or conductivity of the make-up water and discharge (blowdown) water can be obtained from water chemistry reports provided by your cooling tower operations contractor. Make sure the units in which the TDS or conductivity are provided are the same for both measurements. TDS is typically provided in either milligrams per liter (mg/L) or parts per million (ppm). Conductivity is provided in microseimens per centimeter (µS/cm).
A7b. What is the TDS or conductivity of the discharge (blowdown) water?
| Cycles of concentration is a parameter commonly used to evaluate cooling tower operation efficiency. It is calculated as the ratio of the concentration of total dissolved solids (i.e., conductivity) in the blowdown water divided by the conductivity of the make-up water. Since total dissolved solids enter the system in the make-up water and exit the system in the blowdown water, the cycles of concentration are also approximately equal to the ratio of volume of make-up water to blowdown water. To achieve water efficiency in the cooling tower system, the cycles of concentration should be maximized. | [8 empty] | CoC for Calcs
| Your Estimated Cooling Tower Cycles of Concentration: |  |  |  |  | Not Estimated |  |  |  | 0
Section B: Single-Pass Cooling
| B1. Does your hotel use single-pass cooling for equipment other than ice makers? | [7 empty] | Question B1 (single-pass cooling) is missing or invalid.
Note: To assess water savings opportunities related to single-pass cooling for ice makers accessible to guests or used within commercial kitchens, go to the Guest Services tab and Commercial Kitchen tab, respectively.
B2. What is the flow rate in gallons per minute and operating schedule of the single-pass cooling?
|  |  | Equipment Cooled | Flow Rate (gallons per minute) | Operating Schedule
[5 empty] | Minutes/Hour | Hours/Day | Days/Week | Weeks/Year
Section C: Steam Boilers
| C1. Does your hotel use a steam boiler(s) for heating? | [7 empty] | Question C1 (steam boilers) is missing or invalid.
C2. Does your hotel meter the make-up water that is added to the steam boiler system?
C2a. How many gallons make-up water are added to the boiler system annually?
C3. Does your steam boiler(s) have a condensate recovery system?
C4. Does your steam boiler(s) have a conductivity controller to control blowdown?
Current Water Use
Water use from your hotel's HVAC and mechanical equipment is approximately Not Estimated gallons per year. The table below provides your estimated water use by equipment type.
|  |  | Estimated Annual Water Use (gal) | [6 empty] | Water Savings
|  | Cooling Tower(s) | N/A | [6 empty] | 0
|  | Single-Pass Cooling | N/A
|  | Steam Boiler(s) | N/A
|  | TOTAL | Not Estimated
Recommended Best Management Practices and Potential Water Savings
| » | You have not provided enough information to estimate your cycles of concentration. Cycles of concentration is a key parameter used to evaluate cooling tower performance. Considering working with a cooling tower water treatment vendor to determine your existing cycles of concentration and to improve your cooling tower efficiency by increasing your cycles, if possible.
| » | Consider working with a cooling tower water treatment vendor to improve your cycles of concentration. By increasing your cycles of concentration to 6, you could reduce your cooling tower water use by approximately 0 percent or 0 gallons per year, saving you about $0 in water costs annually.
| » | Consider installing a water meter on your cooling tower’s make-up water line to assess your cooling tower water use. Once installed, regularly monitor the meter and evaluate water use trends to quickly identify leaks or other problems and determine when to make adjustments.
| » | To determine your cooling tower’s annual water use and understand your cycles of concentration, regularly monitor and track your make-up and/or blowdown water meter readings. Regularly monitoring these meters will also help you quickly identify leaks or other problems and determine when to make adjustments.
| » | Consider installing a conductivity controller to initiate blowdown only when the conductivity set point is exceeded. These controllers can help improve cooling tower operations and reduce water use by maintaining consistent water quality and discharging water only when necessary.
| » | Consider installing a conductivity controller to automatically control your cooling tower water discharge. These controllers can help improve cooling tower operations and reduce water use by maintaining consistent water quality and discharging water only when necessary.
| » | For your timer-based control system, verify that the blowdown schedule only discharges water when necessary, and adjust the schedule often to account for seasonal changes in cooling tower demand. Consider installing a conductivity controller to control blowdown instead of relying on a set schedule. These types of controllers initiate blowdown only when the conductivity set point is exceeded, improving cooling tower operations and reducing water use since water is only discharged when necessary.
| » | To assess your current cooling tower operations and identify operational improvements, consider working with a cooling tower water treatment vendor that emphasizes water efficiency. Vendors can assist in installing an automated chemical feed system that will monitor conductivity, control blowdown, and add chemicals based on make-up water flow. Automated chemical feed systems minimize water and chemical use while protecting against scale, corrosion, and biological growth.
| » | Your hotel could save approximately N/A gallons of water by eliminating single-pass cooling. Single-pass cooling can be eliminated by modifying equipment to recirculate cooling water or by replacing single-pass water-cooled equipment with air-cooled models. If considering air-cooled equipment as a replacement, purchase energy efficient models.
| » | Based on ASHRAE 189 recommendations, consider submetering make-up water lines to steam boilers with input capacities greater than 500,000 Btu/hr (50 kW) to better manage water use.
| » | Consider installing a condensate recovery system to capture and return condensate to your boiler for reuse. This will significantly reduce boiler make-up water demand and improve the energy efficiency of the boiler.
| » | Consider installing an automatic boiler blowdown control system to control the amount and frequency of blowdown, or consider manually testing conductivity prior to initiating blowdown. Control systems with a conductivity controller will initiate blowdown only when the total dissolved solids concentration in the boiler has built up to a certain concentration that may cause scaling or corrosion.
| » | Check with your local water and energy utilities to determine if a rebate program is available for implementing water-saving projects.
| » | For additional information on improving the operation of mechanical systems and reducing water use, see: |  |  |  |  | WaterSense at Work Section 6: Mechanical Systems
Supporting Data and Assumptions
If you have more accurate facility- or equipment-specific data and assumptions than the values provided below, you can adjust the assumptions to provide more accurate BMP recommendations and savings estimates.
| Cooling tower evaporation per ton cooling (gal/hr) |  |  |  | 1.8
| Annual cooling tower usage factor |  |  |  | 30%
| Target Cycles of Concentration |  |  |  | 6
Because you indicated that your hotel does not have a cooling tower, single-pass cooling for equipment other than ice makers, or a steam boiler for heating, there are no best management practice recommendations for this water use area. Continue to another tab to assess other water savings opportunities.
Version 1.2. (June 2015)
Show My Results
Reset Form
Hide Instructions

## 10 Irrigation (hidden)
WaterUSE Tool
Outdoor Irrigation Water Use
Instructions: Enter information from Worksheet 10 of the Water Assessment Worksheets into the cells below. Dark blue-shaded cells are dropdown menus used to identify the selection options and light blue-shaded cells should be filled in based on your inventory. Once data entry is complete, press "Show My Results" to see recommended water efficiency best management practices. If you would like to clear the information from this tab and start over, scroll right to press the "Reset Form" button at the top right corner of the form.
Water Use Assessment
| 1. Does your hotel have an in-ground irrigation system? |  |  |  | No results to display.
| 2. Is your irrigation water use separately metered? |  |  |  | You must answer question 2.
2a. Based on meter readings, how many gallons of water are used annually for irrigation? (If unknown, put zero.)
Water Usage
| 3. How much landscape is irrigated at your hotel (square feet)? |  |  |  | You must answer question 3. | 0
| 4. What type of irrigation controller is used to control irrigation for a majority of your landscape? |  |  |  | You must answer question 4.
Best Management Practices and Potential Water Savings
| » | Because you use a significant amount of water for irrigation at your hotel, consider consulting with an irrigation professional certified by a WaterSense labeled program. Certified irrigation professionals can help you improve the efficiency of your irrigation system and reduce outdoor water use. To find a certified irrigation professional in your area, visit:
www.epa.gov/watersense/outdoor/irrigation_professionals.html
| » | Consult with your landscape professional to consider installing drought-tolerant or climate-appropriate turfgrass, trees, shrubs, and ground cover. In addition, consider reducing the area of turfgrass in the landscape in favor of plant beds, as these generally require less water. If you don’t currently have a landscape professional, consider selecting one that is trained and certified in water-efficient and climate-appropriate landscaping. For more information on the best plants to use in your climate, visit:
http://www.epa.gov/watersense/outdoor/what_to_plant.html
| » | Install a dedicated water meter to measure the amount of irrigation water applied to your landscape. Monitor the meter often and keep a record of trends in irrigation water use to help identify potential leaks in the system.
| » | To determine your annual irrigation water use, regularly monitor and track irrigation meter readings. Regularly monitoring these meters will also help quickly identify leaks or other problems and determine when to make adjustments.
| » | Consider replacing your timer-based irrigation controller with a WaterSense labeled weather-based irrigation controller (WBIC) or a soil moisture-based irrigation controller. This can reduce irrigation water use by 15 percent. For more information on WaterSense labeled irrigation controllers , visit:
www.epa.gov/WaterSense/products/controltech.html
| » | Consider installing a WaterSense labeled weather-based irrigation controller or a soil moisture-based irrigation controller to control your irrigation schedule. For more information on WaterSense labeled irrigation controllers, visit:
www.epa.gov/WaterSense/products/controltech.html
| » | Check with your local water utility to determine if a rebate program is available for implementing water-saving projects.
| » | For additional information on how to reduce water used for outdoor irrigation, see: |  | WaterSense at Work Section 5.2: Landscaping and Section 5.3: Irrigation
Although you indicated that your hotel does not have an in-ground irrigation system, your landscape may benefit from implementing landscaping best management practices. For more information on water-efficient landscaping, see:
WaterSense at Work Section 5.2: Landscaping and Section 5.3: Irrigation
Version 1.2. (June 2015)
Show My Results
Reset Form
Hide Instructions

## 11 Pools & Spas (hidden)
WaterUSE Tool
Pool and Spa Water Use
Instructions: Enter information from Worksheet 11 of the Water Assessment Worksheets into the cells below. Dark blue-shaded cells are dropdown menus used to identify the selection options and light blue-shaded cells should be filled in based on your inventory. If you're unsure of certain information, you can press the "<<< Use Default" buttons to estimate values based on industry averages; however, entering facility-specific information in those cells will yield more accurate savings estimates. Once data entry is complete, press "Show My Results" to see recommended water efficiency best management practices.
Consider updating the information in the red-shaded table if you have more accurate facility- or equipment-specific data and assumptions than the default values provided. This table can be found towards the bottom of the form below the “Recommended Best Management Practices and Potential Water Savings” section.
If you would like to clear the information from this tab and start over, scroll right to press the "Reset Form" button at the top right corner of the form.
Water Use Assessment
|  | 1. Does your facility have a pool? | [5 empty] | Question #1 (pool) cannot be blank.
1a. What is the square footage of your pool surface?
1b. What is the volume of your pool in gallons?
1c. How many days per year is your pool operating?
1d. Is a pool cover used when pool is not in use?
1e. What type of filtration system is installed?
No results to display.
|  | 2. Does your facility have a hot tub/spa? | [5 empty] | Question #2 (spa) cannot be blank.
2a. What is the square footage of your hot tub/spa?
2b. What is the volume of your hot tub/spa in gallons?
2c. How many days per year is your hot tub/spa operating?
2d. Is a cover used when hot tub/spa is not in use?
2e. What type of filtration system is installed?
Current Water Use
An average hotel with your pool and spa system loses approximately 0 gallons of water per year from evaporation and filter cleaning. The following table provides water loss estimates for each activity.
|  |  |  | Estimated Annual Water Use (gal) |  |  | Amts with BMPs
|  |  | Evaporation | 0 |  |  | 0
|  |  | Filter Cleaning | 0 |  |  | 0
|  |  | TOTAL | 0
Recommended Best Management Practices and Potential Water Savings
|  | » | Consider installing a hot tub cover, which could reduce evaporation losses by as much as 0 gallons. Alternatively, consider using a liquid barrier to help control evaporation. Using a physical cover can reduce evaporation losses by 30 to 50 percent, while a liquid evaporation barrier can reduce losses by 10 to 30 percent.
|  | » | Consider replacing your existing non-cartridge filters with cartridge filters. A cartridge filter system can reduce water used for filter cleaning by 0 gallons.
|  | » | By setting the pool water level to several inches below the edge of the pool, you can reduce water losses from splashing.
|  | » | Install and/or actively monitor a water meter on your pool’s make-up water line. This will help identify if there is a leak in the pool or piping. If your pool is losing more than 2 inches of water per week (3 inches for high-evaporation areas), your pool may be leaking.
|  | » | Check with your local water and energy utilities to determine if a rebate program is available for implementing water-saving projects.
|  | » | For additional information on how to reduce water losses from your pool and spa, see: |  | WaterSense at Work Section 5.4: Commercial Pool and Spa Equipment
Supporting Data and Assumptions
If you have more accurate facility- or equipment-specific data and assumptions than the values provided below, you can adjust the assumptions to provide more accurate BMP recommendations and savings estimates.
[5 empty] | Pools | Hot Tubs
|  |  |  | Average gallons of evaporation per square foot per day | 0.105 | 0.43
Sand Filter |  |  |  | Sand filter water use factor (gal water used/gal of volume) | 0.882 | 0.855
Sorptive Media Filter |  |  |  | Sorptive media filter water use factor (gal water used/gal of volume) | 0.277 | 0.427
Cartridge Unit |  |  |  | Cartridge filter water use factor (gal water used/gal of volume) | 0.105 | 0.273
Industrial or Pre-Coat Filter |  |  |  | Industrial filter water use factor (gal water used/gal of volume) | 0.147
(none)
Because you indicated that your hotel does not have a pool or spa, there are no best management practice recommendations for this water use area.
Version 1.2. (June 2015)
Show My Results
Reset Form
Hide Instructions

## Clothes Washer Calcs (hidden)
Clothes Washer Calculations for the ENERGY STAR Appliance Calculator | [5 empty] | This sheet is no longer being used for calculations.
Date of last revision: August 2013
Assumptions - users can edit the highlighted values to modify the assumptions
|  |  | VALUE |  |  | Commercial
| Building hot water fuel type |  | 0 |  |  | ENERGY STAR MEF requirement |  | 2.2
| ENERGY STAR model rated unit electricity consumption |  | 97 | kWh/year |  | ENERGY STAR WF requirement |  | 4.5
| Conventional model rated unit electricity consumption |  | 241 | kWh/year |  | ENERGY STAR rated unit electricity consumption |  | 97
| Capacity |  | 2.8 | cubic feet |  | Federal standard MEF | Front-loading | 2
| Loads per week |  | 24 | << forces calc of per-weekly-load figures |  |  | Top-loading | 1.6
| Percentage of washer loads dried in machine |  | 100% |  |  | Federal standard WF | Front-loading | 5.5
| Gas water heater efficiency |  | 75% |  |  |  | Top-loading | 8.5
| Annual weeks of use |  | 52 | weeks |  | Conventional rated unit electricity consumption |  | 241
| Portion of rated unit electricity consumption | Machine | 20% |  |  | Average capacity |  | 2.8
|  | Water heating | 80% |  |  | Default loads per year | Multifamily | 1241
| Energy conversion (constant) |  | 0.03412 | therm/kWh |  | Reference loads per year |  | 392
Calculations
|  |  | Conventional |  | ENERGY STAR
| Loads per year |  | 1248 |  | 1248
| Adjusted rated unit electricity consumption |  | 767.2653 |  | 308.8163
|  |  | Electricity | Gas | Electricity | Gas
| Machine energy |  | 153.4531 | - | 61.7633 | -
| Water heating energy |  | 0 | 0 | 0 | 0
|  |  | kWh | therms | kWh | therms
Annual energy & water consumption per clothes washer system
|  |  | Front-Loading |  |  | Top-Loading
|  |  | Conventional | ENERGY STAR | Savings | Conventional | ENERGY STAR | Savings
| Electricity consumption |  | 153.4531 | 61.7633 | 91.6898 | 153.4531 | 61.7633 | 91.6898 | kWh
| Gas consumption |  | 0 | 0 | 0 | 0 | 0 | 0 | therms
| Water consumption |  | 461260.8 | 15724.8 | 445536 | 712857.6 | 15724.8 | 697132.8 | gallons
References
| Loads per year: |  | - Res. Default - | DOE Federal Test procedure, Federal Register, 77 FR 13888
|  |  | - Res. Reference - | DOE Federal Test Procedure, Code of Federal Regulations, Title 10, Part 430, Subpart B, Appendix J
|  |  | - Commercial - | DOE Technical Support Document, 2009
| Energy & water efficiency & consumption: |  | - ENERGY STAR - | ENERGY STAR specification
|  |  | - | EPA research on available models, 2013
|  |  | - Conventional - | Residential - Federal standard, Code of Federal Regulations, Title 10, Part 430, Subpart C
Commercial - Federal standard, Code of Federal Regulations, Title 10, Part 431, Subpart I
|  |  | - | EPA research on available models, 2013
| Unit capacity: |  | - EPA research on available models, 2013
| Gas water heater efficiency: |  | - DOE Federal Test Procedure, Code of Federal Regulations, Title 10, Part 430, Subpart B, Appendix J
| Equipment lifetime: |  | - Appliance Magazine, Market Research Report, January 2011
| Incremental cost: |  | - EPA research on available models, 2013

## Dishwasher Calcs (hidden)
Dishwasher Calculations for the ENERGY STAR Commercial Kitchen Equipment Calculator
Date of last revision: February 2014
Inputs
|  | DEFAULT |  |  | USER ENTRY
|  | Annual days of operation | Racks washed per day | Incremental cost | Annual days of operation | Racks washed per day | Incremental cost | Building hot water fuel type | Booster water heater fuel type
Low Temperature
| Under Counter | 365 | 75 | 50 | 365 | #N/A | 50 | 0 | N/A
| Stationary Single-Tank Door | 365 | 280 | 0 | 365 | #N/A | 0 | 0
| Single-Tank Conveyor | 365 | 400 | 0 | 365 | #N/A | 0 | 0
| Multi-Tank Conveyor | 365 | 600 | 970 | 365 | #N/A | 970 | 0
High Temperature
| Under Counter | 365 | 75 | 120 | 365 | #N/A | 120 | 0 | electric
| Stationary Single-Tank Door | 365 | 280 | 770 | 365 | #N/A | 770 | 0 | electric
| Single-Tank Conveyor | 365 | 400 | 2050 | 365 | #N/A | 2050 | 0 | electric
| Multi-Tank Conveyor | 365 | 600 | 970 | 365 | #N/A | 970 | 0 | electric
| Pot, Pan, and Utensil | 365 | 280 | 1710 | 365 | #N/A | 1710 | 0 | electric
Assumptions
|  | Water Heater Efficiency |  | Inlet Water Temperature Increase (oF)
[6 empty] | Specific Heat of Water |  | 1 | Btu/pound/oF
|  | Electric | Gas |  |  | Density of Water |  | 8.2086 | pounds/gallon
| Building Water Heater | 98% | 80% | 70
| Booster Water Heater | 98% | 80% | 40
|  | Average daily operation (hours) | Typical Wash Time (minutes) |  | Water Use per Rack (gallons) |  | Idle Power Draw (kW) |  | Equipment lifetime (years)
|  |  | Conventional | ENERGY STAR | Conventional | ENERGY STAR | Conventional | ENERGY STAR
Low Temperature
| Under Counter | 18 | 2 | 2 | 1.73 | 1.19 | 0.5 | 0.5 | 10
| Stationary Single-Tank Door | 18 | 1.5 | 1.5 | 2.1 | 1.18 | 0.6 | 0.6 | 15
| Single-Tank Conveyor | 18 | 0.3 | 0.3 | 1.31 | 0.79 | 1.6 | 1.5 | 20
| Multi-Tank Conveyor | 18 | 0.3 | 0.3 | 1.04 | 0.54 | 2 | 2 | 20
High Temperature
| Under Counter | 18 | 2 | 2 | 1.09 | 0.86 | 0.76 | 0.5 | 10
| Stationary Single-Tank Door | 18 | 1 | 1 | 1.29 | 0.89 | 0.87 | 0.7 | 15
| Single-Tank Conveyor | 18 | 0.3 | 0.3 | 0.87 | 0.7 | 1.93 | 1.5 | 20
| Multi-Tank Conveyor | 18 | 0.2 | 0.2 | 0.97 | 0.54 | 2.59 | 2.25 | 20
| Pot, Pan, and Utensil | 18 | 3 | 3 | 0.7 | 0.58 | 1.2 | 1.2 | 10
Calculations
| Water Heating Energy | Electric | Gas
|  | kWh/gallon | therm/gallon
| Building Water Heater | 0.17179 | 0.0071825
| Booster Water Heater | 0.098167 | 0.0041043
Annual Water Consumption (gallons)
|  | Conventional | ENERGY STAR | Savings
Low Temperature
Low_Under Counter | Under Counter | #N/A | #N/A | 0
Low_Stationary Single-Tank Door | Stationary Single-Tank Door | #N/A | #N/A | 0
Low_Single-Tank Conveyor | Single-Tank Conveyor | #N/A | #N/A | 0
Low_Multi-Tank Conveyor | Multi-Tank Conveyor | #N/A | #N/A | 0
High Temperature
High_Under Counter | Under Counter | #N/A | #N/A | 0
High_Stationary Single-Tank Door | Stationary Single-Tank Door | #N/A | #N/A | 0
High_Single-Tank Conveyor | Single-Tank Conveyor | #N/A | #N/A | 0
High_Multi-Tank Conveyor | Multi-Tank Conveyor | #N/A | #N/A | 0
High_Pot, Pan, and Utensil | Pot, Pan, and Utensil | #N/A | #N/A | 0
|  | Annual Building Water Heater Energy Consumption |  |  |  | Annual Booster Heater Energy Consumption |  |  |  | Annual Idle Electricity Consumption (kWh)
|  | Conventional |  | ENERGY STAR |  | Conventional |  | ENERGY STAR
|  | Electric (kWh) | Gas (therm) | Electric (kWh) | Gas (therm) | Electric (kWh) | Gas (therm) | Electric (kWh) | Gas (therm) | Conventional | ENERGY STAR
Low Temperature
| Under Counter | #N/A | #N/A | #N/A | #N/A | N/A |  |  |  | #N/A | #N/A
| Stationary Single-Tank Door | #N/A | #N/A | #N/A | #N/A |  |  |  |  | #N/A | #N/A
| Single-Tank Conveyor | #N/A | #N/A | #N/A | #N/A |  |  |  |  | #N/A | #N/A
| Multi-Tank Conveyor | #N/A | #N/A | #N/A | #N/A |  |  |  |  | #N/A | #N/A
High Temperature
| Under Counter | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
| Stationary Single-Tank Door | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
| Single-Tank Conveyor | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
| Multi-Tank Conveyor | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
| Pot, Pan, and Utensil | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Annual energy consumption per dishwasher
|  | Conventional |  | ENERGY STAR |  | Savings
|  | Electric (kWh) | Gas (therm) | Electric (kWh) | Gas (therm) | Electric (kWh) | Gas (therm) | Gas (Mcf)
Low Temperature
Low_Under Counter | Under Counter | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Low_Stationary Single-Tank Door | Stationary Single-Tank Door | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Low_Single-Tank Conveyor | Single-Tank Conveyor | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Low_Multi-Tank Conveyor | Multi-Tank Conveyor | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
| High Temperature | [6 empty] | 0
High_Under Counter | Under Counter | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
High_Stationary Single-Tank Door | Stationary Single-Tank Door | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
High_Single-Tank Conveyor | Single-Tank Conveyor | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
High_Multi-Tank Conveyor | Multi-Tank Conveyor | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
High_Pot, Pan, and Utensil | Pot, Pan, and Utensil | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
References
| Equipment specifications: | - ENERGY STAR specification
- EPA/Food Service Technology Center (FSTC) research on available models, 2013
| Operating hours: | - EPA/FSTC research on average use, 2009
| Incremental equipment cost: | - Difference between a similar ENERGY STAR and non-qualifying model, EPA research using AutoQuotes, 2012
| Equipment lifetime: | - EPA/FSTC research on available models, 2013
| Water heater specifications: | - Federal standard: Title 10 Part 431 - Energy Efficiency Program for Certain Commercial and Industrial Equipment; Subpart G
| Water properties: | - Cengel & Turner, Fundamentals of Thermal Fluid Science, Table A-15E

## Ice Machine Calcs (hidden)
Ice Machine Calculations for the ENERGY STAR Commercial Kitchen Equipment Calculator
Date of last revision: February 2014
Inputs
|  |  | DEFAULT | [5 empty] | USER ENTRY
|  |  | Batch |  |  | Continuous |  |  | Batch |  |  | Continuous
|  |  | Ice Making Head | Remote Cond./ Split System | Self Contained Unit | Ice Making Head | Remote Cond./ Split System | Self Contained Unit | Ice Making Head | Remote Cond./ Split System | Self Contained Unit | Ice Making Head | Remote Cond./ Split System | Self Contained Unit
| Ice harvest rate |  | 650 | 1150 | 170 | 680 | 1170 | 240 | 650 | 1150 | 170 | 680 | 1170 | 240 | pounds/day
| Potable water use |  | 18.3 | 18 | 19.5 | 12 | 12 | 12 | 18.3 | 18 | 19.5 | 12 | 12 | 12 | gallons per 100 pounds ice
| Annual days of operation |  | 365 | 365 | 365 | 365 | 365 | 365 | 365 | 365 | 365 | 365 | 365 | 365 | days
| Incremental cost |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Assumptions
|  |  | Duty cycle | Ice harvest rate (pounds/day) | Potable water use (gallon/ 100 pound ice) | Annual production (pounds of ice) |  | Energy consumption rate (kWh/100 pounds ice) |  | Equipment lifetime
|  |  |  | Conventional | Conventional | Conventional | ENERGY STAR | Conventional | ENERGY STAR
| Batch | Batch_Ice Making Head | 75% | 650 | 21.8 | 177937.5 | 177937.5 | 6.175 | 5.4742 | 8
|  | Batch_Remote Condensing Unit | 75% | 1150 | 20.1 | 314812.5 | 314812.5 | 5.1 | 4.725 | 8
|  | Batch_Self Contained Unit | 75% | 170 | 30.1 | 46537.5 | 46537.5 | 10.027 | 9.2011 | 8
| Continuous | Continuous_Ice Making Head | 75% | 680 | 12 | 186150 | 186150 | 7.3298 | 6.3298 | 8
|  | Continuous_Remote Condensing Unit | 75% | 1170 | 12 | 320287.5 | 320287.5 | 6.1103 | 5.4103 | 8
|  | Continuous_Self Contained Unit | 75% | 240 | 12 | 65700 | 65700 | 9.4593 | 8.8593 | 8
Annual energy consumption per ice machine
|  |  | Batch |  |  | Continuous
|  |  | Conventional | ENERGY STAR | Savings | Conventional | ENERGY STAR | Savings
| Ice Making Head |  | 10987.6406 | 9740.7184 | 1246.9222 | 13644.4142 | 11782.9142 | 1861.5 | kWh
| Remote Condensing Unit |  | 16055.4375 | 14874.7926 | 1180.6449 | 19570.5773 | 17328.5648 | 2242.0125 | kWh
| Self Contained Unit |  | 4666.3151 | 4281.9476 | 384.3675 | 6214.7368 | 5820.5368 | 394.2 | kWh
Annual water consumption per ice machine
|  |  | Batch |  |  | Continuous
|  |  | Conventional | ENERGY STAR | Savings | Conventional | ENERGY STAR | Savings
| Ice Making Head |  | 38790.375 | 32562.5625 | 6227.8125 | 22338 | 22338 | 0 | gallons
| Remote Condensing Unit |  | 63277.3125 | 56666.25 | 6611.0625 | 38434.5 | 38434.5 | 0 | gallons
| Self Contained Unit |  | 14007.7875 | 9074.8125 | 4932.975 | 7884 | 7884 | 0 | gallons
References
| Equipment specifications: |  | - ENERGY STAR specification
- Federal standard: Title 10 Part 431 - Energy Efficiency Program for Certain Commercial and Industrial Equipment; Section 431.136
- EPA/FSTC research on available models, 2013
| Duty cycle: |  | - EPA/FSTC research on average use, 2013
| Incremental equipment cost: |  | - Difference between a similar ENERGY STAR and non-qualifying model, EPA research using AutoQuotes, 2012
| Equipment lifetime: |  | - FSTC research on available models, 2009

## Conversions (hidden)
Conversions | Factor | Conversion to Gallons | Factor
Square feet to acres | 2.2957e-05 | gallons | 1
Acre-feet to gallons | 325850 | liters | 0.26417
kWh to Mcf of Natural Gas | 0.0033191 | cubic feet (cf) | 7.4805
|  | hundred cubic feet (ccf) | 748.052
|  | thousand cubic feet (kcf) | 7480.52
|  | thousand gallons (kgal) | 1000
|  | cubic meters | 264.172
|  | acre-feet | 325851.427
|  | flat rate | 0
|  | Conversions to Mcf | Factor
|  | thousand cubic feet (Mcf) | 1
|  | cubic meters (m3) | 0.035315
|  | thousand Btu (kBtu) | 0.00097276
|  | million Btu (MMBtu) | 0.97276
|  | therms | 0.097276
|  | cubic feet (cf) | 0.001
|  | hundred cubic feet (ccf) | 0.1
|  | million cubic feet (MMcf) | 1000
|  | Conversions to kWh | Factor
|  | thousand Watt-hours (kWh) | 1
|  | million Watt-hours (MWh) | 1000
|  | thousand Btu (kBtu) | 0.29307
|  | million Btu (MMBtu) | 293.0711
|  | Conversions to Btu | Factor
|  | therm | 100000
|  | KWh | 3413

## Sources (hidden)
Assumption | Data | Units | Source
Facility Info
Default Hotel Operating Days per Year: | 365 | days | 2013 Lodging Industry Profile. At A Glance Statistical Figures. American Hotel and Lodging Association
Default Average Annual Occupancy Rate: | 61% |  | 2013 Lodging Industry Profile. At A Glance Statistical Figures. American Hotel and Lodging Association
Default Average Number of Guests per Room: | 1.4 | guests per room | 2013 Lodging Industry Profile. At A Glance Statistical Figures. American Hotel and Lodging Association
National Average Water Rate | 3.81 | Thousand gallons (kgal) | Analysis based on: Raftelis Financial Consulting. Water and Wastewater Rate Survey. American Water Works Association. 2014.
National Average Wastewater Rate | 5.06 | Thousand gallons (kgal) | Analysis based on: Raftelis Financial Consulting. Water and Wastewater Rate Survey. American Water Works Association. 2014.
National Average Electricity Rate | 0.1075 | Thousand Watt-hours (kWh) | U.S. Energy Information Administration. Short Term Energy Outlook. Price Summary Table. 2014
National Average Natural Gas Rate | 8.87 | Thousand cubic feet (Mcf) | U.S. Energy Information Administration. Short Term Energy Outlook. Price Summary Table. 2014
Guest Rooms
Default Toilet Single Flush Volume tank-type (pre-1980) | 5 | gallons per flush | D&R International, Koeller and Company, Veritec Consulting, Ltd. Plumbing Fixtures Market Overview: Water Savings Potential for Residential and Commercial Toilet and Urinals. Page 6
Default Toilet Single Flush Volume tank-type (1980-1993) | 3.5 | gallons per flush | Mayer, Peter W. and William B. DeOreo. Residential End Uses of Water. Aquacraft, Inc. Water Engineering and Management. American Water Works Association. 1998. Page 96.
Default Toilet Single Flush Volume tank-type (post 1993) | 1.6 | gallons per flush | Energy Policy Act of 1992
Default Toilet Single Flush Volume flushometer valve (pre-1980) | 5 | gallons per flush | D&R International, Koeller and Company, Veritec Consulting, Ltd. Plumbing Fixtures Market Overview: Water Savings Potential for Residential and Commercial Toilet and Urinals. Page 6
Default Toilet Single Flush Volume flushometer valve (1980-1996) | 3.5 | gallons per flush | Mayer, Peter W. and William B. DeOreo. Residential End Uses of Water. Aquacraft, Inc. Water Engineering and Management. American Water Works Association. 1998. Page 96.
Default Toilet Single Flush Volume flushometer valve (post 1996) | 1.6 | gallons per flush | Energy Policy Act of 1992
Default Toilet Dual Flush Volume (tank-type and flushometer valve) | 1.28 | gallons per flush | American Society of Mechanical Engineers (ASME) A112.19.14-2006 (Six-Liter Water Closets Equipped with a Dual Flushing Device)
Default Lavatory Faucet Flow Rate | 2.2 | gallons per minute | Energy Policy Act of 1992
Default Showerhead Flow Rate | 2.5 | gallons per minute | Energy Policy Act of 1992
Default WaterSense Labeled Tank-Type Toilet Flush Volume | 1.28 | gallons per flush | U.S. Environmental Protection Agency's WaterSense Program. WaterSense Specification for Tank-Type Toilets, Version 1.1. May 19, 2011.
Default High-efficiency Flushometer Valve Toilet Flush Volume | 1.28 | gallons per flush | U.S. Environmental Proection Agency's WaterSense Program. WaterSense Notice of Intent to Develop a Draft Specification for Flushometer-Valve Toilets. August 8, 2013.
Default WaterSense Labeled Aerator or Faucet Flow Rate | 1.5 | gallons per minute | U.S. Environmental Protection Agency's WaterSense Program. High-Efficiency Lavatory Faucet Specification, Version 1.0. October 1, 2007.
Default WaterSense Labeled Showerhead Flow Rate | 2 | gallons per minute | U.S. Environmental Protection Agency's WaterSense Program. WaterSense Specification for Showerheads, Version 1.0. March 4, 2010.
Flushes per person per day | 5.05 | flushes | Mayer, Peter W. and William B. DeOreo. Residential End Uses of Water. Aquacraft, Inc. Water Engineering and Management. American Water Works Association. 1998. Page 94.
Minutes of faucet use per person per day | 8.1 | minutes | Mayer, Peter W. and William B. DeOreo. Residential End Uses of Water. Aquacraft, Inc. Water Engineering and Management. American Water Works Association. 1998. Page 94.
Average shower duration (minutes) | 8.2 | minutes | Mayer, Peter W. and William B. DeOreo. Residential End Uses of Water. Aquacraft, Inc. Water Engineering and Management. American Water Works Association. 1998. Page 102
Showers per person per day | 1 | showers per person per day | Standard assumption for shower use
Percent faucet water that is hot water | 72.7% |  | Mayer, Peter W. and William B. DeOreo et al. The End Uses of Hot Water In Single Family Homes From Flow Trace Analysis: Aquacraft, Inc. Water Engineering and Management. American Water Works Association. 2000. Page 8, Table 2.
Percent shower water that is hot water | 73.1% |  | Mayer, Peter W. and William B. DeOreo et al. The End Uses of Hot Water In Single Family Homes From Flow Trace Analysis: Aquacraft, Inc. Water Engineering and Management. American Water Works Association. 2000. Page 8, Table 2.
kWh of electricity required to heat one gallon of water | 0.17664 | kilowatt-hours | Calculated using these equivalencies and assumptions: - Specific heat of water = 1.0 Btu/lb x º F - 1 gallon of water = 8.34 lbs - 1 kWh = 3,412 Btus - Assume incoming water temperature is raised from 55º F to 120º F (∆ 65 º F) - Assume water heating process is 90 percent efficient for electric hot water heaters
Mcf of natural gas required to heat one gallon of water | 0.0008774 | Mcf | Calculated using these equivalencies and assumptions: - Specific heat of water = 1.0 Btu/lb x º F - 1 gallon of water = 8.34 lbs - 1 Therm = 99,976 Btus - Assume incoming water temperature is raised from 55º F to 120º F (∆ 65 º F) - Assume water heating process is 60 percent efficient for natural gas hot water heaters
Public Restrooms
Default Toilet Single Flush Volume tank-type (pre-1980) | 5 | gallons per flush | D&R International, Koeller and Company, Veritec Consulting, Ltd. Plumbing Fixtures Market Overview: Water Savings Potential for Residential and Commercial Toilet and Urinals. Page 6
Default Toilet Single Flush Volume tank-type (1980-1993) | 3.5 | gallons per flush | Mayer, Peter W. and William B. DeOreo. Residential End Uses of Water. Aquacraft, Inc. Water Engineering and Management. American Water Works Association. 1998. Page 96.
Default Toilet Single Flush Volume tank-type (post 1993) | 1.6 | gallons per flush | Energy Policy Act of 1992
Default Toilet Single Flush Volume flushometer valve (pre-1980) | 5 | gallons per flush | D&R International, Koeller and Company, Veritec Consulting, Ltd. Plumbing Fixtures Market Overview: Water Savings Potential for Residential and Commercial Toilet and Urinals. Page 6
Default Toilet Single Flush Volume flushometer valve (1980-1996) | 3.5 | gallons per flush | Mayer, Peter W. and William B. DeOreo. Residential End Uses of Water. Aquacraft, Inc. Water Engineering and Management. American Water Works Association. 1998. Page 96.
Default Toilet Single Flush Volume flushometer valve (post 1996) | 1.6 | gallons per flush | Energy Policy Act of 1992
Default Toilet Dual Flush Volume (tank-type and flushometer valve) | 1.28 | gallons per flush | American Society of Mechanical Engineers (ASME) A112.19.14-2006 (Six-Liter Water Closets Equipped with a Dual Flushing Device)
Default Urinal Flush Volume (pre-1994) | 1.5 | gallons per flush | D&R International, Koeller and Company, Veritec Consulting, Ltd. Plumbing Fixtures Market Overview: Water Savings Potential for Residential and Commercial Toilet and Urinals. *and projections carried out by ERG
Default Urinal Flush Volume (post 1994) | 1 | gallons per flush | Energy Policy Act of 1992
Default Lavatory Faucet Flow Rate | 2.2 | gallons per minute | Energy Policy Act of 1992
Default Showerhead Flow Rate | 2.5 | gallons per minute | Energy Policy Act of 1992
Default WaterSense Labeled Tank-Type Toilet Flush Volume | 1.28 | gallons per flush | U.S. Environmental Protection Agency's WaterSense Program. WaterSense Specification for Tank-Type Toilets, Version 1.1. May 19, 2011.
Default High-efficiency Flushometer Valve Toilet Flush Volume | 1.28 | gallons per flush | U.S. Environmental Proection Agency's WaterSense Program. WaterSense Notice of Intent to Develop a Draft Specification for Flushometer-Valve Toilets. August 8, 2013.
Default WaterSense Labeled Flushing Urinal Flush Volume | 0.5 | gallons per flush | U.S. Environmental Protection Agency's WaterSense Program. WaterSense Specification for Flushing Urinals, Version 1.0. October 8, 2009.
Default Public Use Faucet Aerator or Faucet Replacement Flow Rate | 0.5 | gallons per flush | American Society of Mechanical Engineers (ASME) A112.18.11-2012/Canadian Standards Association (CSA) B125.1-12 (Plumbing supply fittings)
Default WaterSense Labeled Showerhead Flow Rate | 2 | gallons per minute | U.S. Environmental Protection Agency's WaterSense Program. WaterSense Specification for Showerheads, Version 1.0. March 4, 2010.
Percentage of employees who are female | 50% |  | Standard Assumption
Percentage of visitors who are female | 50% |  | Standard Assumption
Toilet flushes per female employee per day | 3 | flushes per day | USGBC. LEED. Water Use Reduction Additional Guidance. July 6, 2012. http://www.usgbc.org/Docs/Archive/General/Docs6493.pdf.
Toilet flushes per female visitor per day | 0.5 | flushes per day | USGBC. LEED. Water Use Reduction Additional Guidance. July 6, 2012. http://www.usgbc.org/Docs/Archive/General/Docs6493.pdf.
Toilet flushes per male employee per day | 1 | flushes per day | USGBC. LEED. Water Use Reduction Additional Guidance. July 6, 2012. http://www.usgbc.org/Docs/Archive/General/Docs6493.pdf.
Toilet flushes per male visitor per day | 0.1 | flushes per day | USGBC. LEED. Water Use Reduction Additional Guidance. July 6, 2012. http://www.usgbc.org/Docs/Archive/General/Docs6493.pdf.
Urinal flushes per male employee per day | 2 | flushes per day | USGBC. LEED. Water Use Reduction Additional Guidance. July 6, 2012. http://www.usgbc.org/Docs/Archive/General/Docs6493.pdf.
Urinal flushes per male visitor | 0.4 | flushes per day | USGBC. LEED. Water Use Reduction Additional Guidance. July 6, 2012. http://www.usgbc.org/Docs/Archive/General/Docs6493.pdf.
Faucet uses per bathroom visit per day | 1 | uses | USGBC. LEED. Water Use Reduction Additional Guidance. July 6, 2012. http://www.usgbc.org/Docs/Archive/General/Docs6493.pdf.
Faucet duration per use (minutes) | 0.5 | minutes | USGBC. LEED. Water Use Reduction Additional Guidance. July 6, 2012. http://www.usgbc.org/Docs/Archive/General/Docs6493.pdf.
Showers per employee per day | 0.1 | uses | USGBC. LEED. Water Use Reduction Additional Guidance. July 6, 2012. http://www.usgbc.org/Docs/Archive/General/Docs6493.pdf.
Average shower duration (minutes) | 5 | minutes | USGBC. LEED. Water Use Reduction Additional Guidance. July 6, 2012. http://www.usgbc.org/Docs/Archive/General/Docs6493.pdf.
Percent faucet water that is hot water | 72.7% |  | Mayer, Peter W. and William B. DeOreo et al. The End Uses of Hot Water In Single Family Homes From Flow Trace Analysis: Aquacraft, Inc. Water Engineering and Management. American Water Works Association. 2000. Page 8, Table 2.
Percent shower water that is hot water | 73.1% |  | Mayer, Peter W. and William B. DeOreo et al. The End Uses of Hot Water In Single Family Homes From Flow Trace Analysis: Aquacraft, Inc. Water Engineering and Management. American Water Works Association. 2000. Page 8, Table 2.
kWh of electricity required to heat one gallon of water | 0.17664 | kilowatt-hours | Calculated using these equivalencies and assumptions: - Specific heat of water = 1.0 Btu/lb x º F - 1 gallon of water = 8.34 lbs - 1 kWh = 3,412 Btus - Assume incoming water temperature is raised from 55º F to 120º F (∆ 65 º F) - Assume water heating process is 90 percent efficient for electric hot water heaters
Mcf of natural gas required to heat one gallon of water | 0.0008774 | Mcf | Calculated using these equivalencies and assumptions: - Specific heat of water = 1.0 Btu/lb x º F - 1 gallon of water = 8.34 lbs - 1 Therm = 99,976 Btus - Assume incoming water temperature is raised from 55º F to 120º F (∆ 65 º F) - Assume water heating process is 60 percent efficient for natural gas hot water heaters
Guest Ice & Laundry
Ice Maker Water Use, Water Savings, and Energy Savings | -- | -- | U.S. EPA and DOE. Savings Calculator for ENERGY STAR Qualified Commercial Kitchen Equipment. February 2014.
Single-pass water-cooled ice maker water use in gallons per pound of ice generated | 1.5 | gallons per pound of ice | California Urban Water Conservation Council. Evaluation of Potential Best Management Practices - Commercial Ice Machines. Page 20. Prepared by John Koeller (Koeller and Company) and H.W. Hoffman and Associates, LLC. June 2008.
Default Average Weekly Clothes Washer Loads | 24 | loads per week | U.S. Department of Energy. Technical Support Document: Energy Efficiency Program for Consumer Products and Commercial and Industrial Equipment: Residential Dishwashers, Dehumidifiers, and Cooking Products, and Commercial Clothes Washers. December 2009. EERE-2006-STD-0127 Comment 69.1
ENERGY STAR Water Factor Requirement for Commercial Clothes Washers | 4.5 |  | ENERGY STAR Clothes Washers Specification, Version 6.1. February 1, 2013.
Federal Standard Water Factor - Front-loading Clothes Washers | 5.5 |  | Federal standard, Code of Federal Regulations, Title 10, Part 431, Subpart I
Federal Standard Water Factor - Top-loading Clothes Washers | 8.5 |  | Federal standard, Code of Federal Regulations, Title 10, Part 431, Subpart I
Average Washing Machine Capacity | 2.8 | cubic feet | U.S. EPA and DOE. Savings Calculator for ENERGY STAR Qualified Appliances. August 2013
Conventional rated unit electricity consumption per year | 241 | kilowatt-hours per year | U.S. EPA and DOE. Savings Calculator for ENERGY STAR Qualified Appliances. August 2013
ENERGY STAR rated unit electricity consumption | 97 | kilowatt-hours per year | U.S. EPA and DOE. Savings Calculator for ENERGY STAR Qualified Appliances. August 2013
Default Clothes Washer Loads per year | 1241 | loads per year | U.S. EPA and DOE. Savings Calculator for ENERGY STAR Qualified Appliances. August 2013
Reference Clothes Washer Loads per year | 392 | loads per year | U.S. EPA and DOE. Savings Calculator for ENERGY STAR Qualified Appliances. August 2013
Gas Water Heater Efficiency | 75% |  | DOE Federal Test Procedure, Code of Federal Regulations, Title 10, Part 430, Subpart B, Appendix J
Portion of Electricity Consumption Used to Heat Water for commercial clothes washers | 80% |  | DOE Federal Test Procedure, Code of Federal Regulations, Title 10, Part 430, Subpart B, Appendix J
Electricity consumption per load of laundry - Conventional | 0.12296 | kilowatt-hours | U.S. EPA and DOE. Savings Calculator for ENERGY STAR Qualified Appliances. August 2013
Electricity consumption per load of laundry - ENERGY STAR | 0.04949 | kilowatt-hours | U.S. EPA and DOE. Savings Calculator for ENERGY STAR Qualified Appliances. August 2013
Gas consumption per load of laundry - Conventional | 0.0021766 | Mcf | U.S. EPA and DOE. Savings Calculator for ENERGY STAR Qualified Appliances. August 2013
Gas consumption per load of laundry - ENERGY STAR | 0.00087605 | Mcf | U.S. EPA and DOE. Savings Calculator for ENERGY STAR Qualified Appliances. August 2013
Water consumption per load of laundry - front-loading - Conventional | 23.8 | gallons | U.S. EPA and DOE. Savings Calculator for ENERGY STAR Qualified Appliances. August 2013
Water consumption per load of laundry - front-loading - ENERGY STAR | 12.6 | gallons | U.S. EPA and DOE. Savings Calculator for ENERGY STAR Qualified Appliances. August 2013
Water consumption per load of laundry - top-loading - Conventional | 15.4 | gallons | U.S. EPA and DOE. Savings Calculator for ENERGY STAR Qualified Appliances. August 2013
Water consumption per load of laundry - top-loading - ENERGY STAR | 12.6 | gallons | U.S. EPA and DOE. Savings Calculator for ENERGY STAR Qualified Appliances. August 2013
Linen Laundry
Default Average Pounds of Laundry Washed per Day | Calculated | pounds per day | Calculation based on number of guest rooms, hotel occupancy percentage, and pounds of laundry per occupied guest room per day estimate
Water savings from linen reuse program | 17% |  | American Hotel & Lodging Association (AH&LA) Green Guidelines. Guideline #2 (Implement a Towel Reuse Program) and Guideline #3 (Implement a Linen Reuse Program).
Water Use Reduction from a Simple Laundry Water Recycling System | 10-35% |  | U.S. Environmental Protection Agency's WaterSense Program. WaterSense at Work: Best Management Practices for Commercial and Institutional Facilities. Page 3-30. October 2012.
Water Use Reduction from a Complex Laundry Water Recycling System | 85-90% |  | U.S. Environmental Protection Agency's WaterSense Program. WaterSense at Work: Best Management Practices for Commercial and Institutional Facilities. Page 3-30. October 2012.
Water Use Reduction from an Ozone Laundry System | 10-25% |  | U.S. Environmental Protection Agency's WaterSense Program. WaterSense at Work: Best Management Practices for Commercial and Institutional Facilities. Page 3-30. October 2012.
Average pounds of laundry per occupied guest room per day | 10 | pounds | Seattle Public Utility Resource Conservation Section. Hotel Water Conservation: A Seattle Demonstration. Prepared by Calyx Sustainable Tourism & The RICE Group. July 2002.
Other suggested pounds of laundry per occupied guest room values | Multiple | pounds | Commercial Laundry Equipment Company, Inc. General Laundry Planning Calculation Methods. Page 3.
Water use by a multi-load washer | 1.4 | gallons per pound of laundry | San Diego County Water Authority. Report on the Monitoring and Assessment of Water Savings from the Coin-Operated Multi-Load Clothes Washers Voucher Initiative Program. Page 10. October 2006.
Water use by a washer extractor | 3 | gallons per pound of laundry | U.S. Environmental Protection Agency's WaterSense Program. WaterSense at Work: Best Management Practices for Commercial and Institutional Facilities. Page 3-30. October 2012.
Water use by a tunnel washer | 2 | gallons per pound of laundry | U.S. Environmental Protection Agency's WaterSense Program. WaterSense at Work: Best Management Practices for Commercial and Institutional Facilities. Page 3-30. October 2012.
Commercial Kitchen
Default Kitchen Operating Hours | 12 | hours | U.S. EPA and DOE. Savings Calculator for ENERGY STAR Qualified Commercial Kitchen Equipment. February 2014.
Default food grinder sluice trough water flow rate | 2 | gallons per minute | U.S. Environmental Protection Agency's WaterSense Program. WaterSense at Work: Best Management Practices for Commercial and Institutional Facilities. Page 4-40. October 2012.
Default food grinder daily use | 12 | hours | Assumption based on assumed kitchen operating hours
Default food grinder sluice trough daily idling hours | 9 | hours | U.S. Environmental Protection Agency's WaterSense Program. WaterSense at Work: Best Management Practices for Commercial and Institutional Facilities. Page 4-43. October 2012.
Ice Maker Water Use, Water Savings, and Energy Savings | -- | -- | U.S. EPA and DOE. Savings Calculator for ENERGY STAR Qualified Commercial Kitchen Equipment. February 2014.
Single-pass water-cooled ice maker water use | 1.5 | gallons per pound of ice | California Urban Water Conservation Council. Evaluation of Potential Best Management Practices - Commercial Ice Machines. Page 20. Prepared by John Koeller (Koeller and Company) and H.W. Hoffman and Associates, LLC. June 2008.
Standard, boiler-based steam cooker water use | 40 | gallons per hour | U.S. Environmental Protection Agency's WaterSense Program. WaterSense at Work: Best Management Practices for Commercial and Institutional Facilities. Page 4-16. October 2012.
ENERGY STAR connectionless steam cooker Water Use | 3 | gallons per hour | U.S. Environmental Protection Agency's WaterSense Program. WaterSense at Work: Best Management Practices for Commercial and Institutional Facilities. Page 4-16. October 2012.
Boiler-based combination oven water use | 30 | gallons per hour | U.S. Environmental Protection Agency's WaterSense Program. WaterSense at Work: Best Management Practices for Commercial and Institutional Facilities. Page 4-12. October 2012.
Connectionless combination oven water use | 15 | gallons per hour | U.S. Environmental Protection Agency's WaterSense Program. WaterSense at Work: Best Management Practices for Commercial and Institutional Facilities. Page 4-12. October 2012.
Dipper well w/ in-line flow restrictor flow rate | 0.3 | gallons per minute | U.S. Environmental Protection Agency's WaterSense Program. WaterSense at Work: Best Management Practices for Commercial and Institutional Facilities. Page 4-30. October 2012.
Reduced Flow Rate for Food Grinder Load Sensor | 1 | gallons per minute | U.S. Environmental Protection Agency's WaterSense Program. WaterSense at Work: Best Management Practices for Commercial and Institutional Facilities. Page 4-42. October 2012.
Dishwashing
Dishwasher water use, water savings, energy use, energy savings, and default number of racks washed per day | -- | -- | U.S. EPA and DOE. Savings Calculator for ENERGY STAR Qualified Commercial Kitchen Equipment. February 2014.
Default Pre-rinse Spray Valve Flow Rate | 1.6 | gallons per minute | Energy Policy Act 2005
Default Average Pre-rinse Spray Valve Daily Water Use (minutes per day) | 64 | minutes | U.S. Environmental Protection Agency's WaterSense Program. WaterSense Specification for Commercial Pre-Rinse Spray Valves Supporting Statement, Version 1.0. September 19, 2013.
WaterSense Labeled Pre-rinse Spray Valve Flow Rate | 1.28 | gallons per minute | U.S. Environmental Protection Agency's WaterSense Program. WaterSense Specification for Commercial Pre-Rinse Spray Valves, Version 1.0. September 19, 2013.
Percent Pre-Rinse Spray Valve water that is hot water | 100% |  | U.S. Environmental Protection Agency's WaterSense Program. WaterSense Specification for Commercial Pre-Rinse Spray Valves Supporting Statement, Version 1.0. September 19, 2013.
kWh electricity required to heat one gallon of water | 0.24458 | kilowatt-hours | U.S. Environmental Protection Agency's WaterSense Program. WaterSense Specification for Commercial Pre-Rinse Spray Valves Supporting Statement, Version 1.0. September 19, 2013.
McF natural gas required to heat one gallon of water | 0.0009111 | Mcf | U.S. Environmental Protection Agency's WaterSense Program. WaterSense Specification for Commercial Pre-Rinse Spray Valves Supporting Statement, Version 1.0. September 19, 2013.
HVAC & Mechanical
Cooling tower evaporation per ton cooling | 1.8 | gallons per hour | N.C. Department of Environment and Natural Resources. Water Efficiency Manual. Chapter 4: Water Management Options. Page 39.
Annual cooling tower usage factor | 30% |  | Assumption that cooling towers have an equivalent full load cooling time of 30%.
Target Cycles of Conductivity (CoC) | 6 |  | Engineering Best Practice
Irrigation
Threshold annual water use that may require an irrigation professional's services | 1500000 | gallons | WaterSense assumption based on estimated cost of an irrigation audit and retrofit and estimated cost savings over five years.
Savings from WaterSense Labeled Weather-Based Irrigation Controllers | 15% |  | U.S. Environmental Protection Agency's WaterSense Program. WaterSense Specification for Weather-Based Irrigation Controllers, Version 1.0. November 3, 2011.
Average water use recommended watering for turf landscaping per year | 2.5 | feet | Conserveh2o.org recommends watering lawns 1-inch per week. Based on an assumed irrigation schedule from March 15 to October 15, approximately 2.5 feet of water would be used annually. Water use will vary by region, climate, and plant species.
Pool & Spa
Default Pool Surface Area | 1000 | square feet | U.S. Environmental Protection Agency's WaterSense Program. WaterSense at Work: Best Management Practices for Commercial and Institutional Facilities. Page 5-20. October 2012.
Default Pool Volume | 34000 | gallons | U.S. Environmental Protection Agency's WaterSense Program. WaterSense at Work: Best Management Practices for Commercial and Institutional Facilities. Page 5-21. October 2012.
Default Spa Surface Area | 40 | square feet | U.S. Environmental Protection Agency's WaterSense Program. WaterSense at Work: Best Management Practices for Commercial and Institutional Facilities. Page 5-20. October 2012.
Default Spa Volume | 1100 | gallons | U.S. Environmental Protection Agency's WaterSense Program. WaterSense at Work: Best Management Practices for Commercial and Institutional Facilities. Page 5-21. October 2012.
Reduction in evaporation losses from pool or hot tub cover | 10-50% |  | U.S. Environmental Protection Agency's WaterSense Program. WaterSense at Work: Best Management Practices for Commercial and Institutional Facilities. Page 5-27. October 2012.
Avg gallons of evaporation per square foot per day - Pools | 0.105 | gallons per square foot | California Urban Water Conservation Council. Evaluation of Potential Best Management Practices - Pools, Spas, and Fountains. Prepared by John Koeller (Koeller and Company) and H.W. Hoffman and Associates, LLC. September 2010.
Avg gallons of evaporation per square foot per day - Hot Tubs | 0.43 | gallons per square foot | California Urban Water Conservation Council. Evaluation of Potential Best Management Practices - Pools, Spas, and Fountains. Prepared by John Koeller (Koeller and Company) and H.W. Hoffman and Associates, LLC. September 2010.
Sand filter water use factor - Pools | 0.882 | gallons per gallon pool volume | California Urban Water Conservation Council. Evaluation of Potential Best Management Practices - Pools, Spas, and Fountains. Prepared by John Koeller (Koeller and Company) and H.W. Hoffman and Associates, LLC. September 2010.
Sand filter water use factor - Hot Tubs | 0.855 | gallons per gallon hot tub volume | California Urban Water Conservation Council. Evaluation of Potential Best Management Practices - Pools, Spas, and Fountains. Prepared by John Koeller (Koeller and Company) and H.W. Hoffman and Associates, LLC. September 2010.
Sorptive media filter water use factor - Pool | 0.277 | gallons per gallon pool volume | California Urban Water Conservation Council. Evaluation of Potential Best Management Practices - Pools, Spas, and Fountains. Prepared by John Koeller (Koeller and Company) and H.W. Hoffman and Associates, LLC. September 2010.
Sorptive media filter water use factor - Hot Tub | 0.427 | gallons per gallon hot tub volume | California Urban Water Conservation Council. Evaluation of Potential Best Management Practices - Pools, Spas, and Fountains. Prepared by John Koeller (Koeller and Company) and H.W. Hoffman and Associates, LLC. September 2010.
Cartridge filter water use factor - Pool | 0.105 | gallons per gallon pool volume | California Urban Water Conservation Council. Evaluation of Potential Best Management Practices - Pools, Spas, and Fountains. Prepared by John Koeller (Koeller and Company) and H.W. Hoffman and Associates, LLC. September 2010.
Cartridge filter water use factor - Hot Tub | 0.273 | gallons per gallon hot tub volume | California Urban Water Conservation Council. Evaluation of Potential Best Management Practices - Pools, Spas, and Fountains. Prepared by John Koeller (Koeller and Company) and H.W. Hoffman and Associates, LLC. September 2010.
Industrial filter water use factor - Pool | 0.147 | gallons per gallon pool volume | California Urban Water Conservation Council. Evaluation of Potential Best Management Practices - Pools, Spas, and Fountains. Prepared by John Koeller (Koeller and Company) and H.W. Hoffman and Associates, LLC. September 2010.
Industrial filter water use factor - Hot Tub | 0.147 | gallons per gallon hot tub volume | California Urban Water Conservation Council. Evaluation of Potential Best Management Practices - Pools, Spas, and Fountains. Prepared by John Koeller (Koeller and Company) and H.W. Hoffman and Associates, LLC. September 2010.

## Defaults (hidden)
Facility Info
Default Utility Information | Cost ($) | Units
Water Rate ($/unit): | 3.81 | thousand gallons (kgal)
Wastewater Rate ($/unit): | 5.06 | thousand gallons (kgal)
Electricity Rate ($/unit): | 0.1075 | thousand Watt-hours (kWh)
Natural Gas Rate ($/unit): | 8.87 | thousand cubic feet (Mcf)
Default Guests per Room: | 1.4
Default Occupancy Rate: | 61%
Default Operating Days: | 365
Guest Rooms & Public Restrooms
Default Toilet Dual Flush Volume | 1.28
Default Tank-Type Toilet Single Flush Volume (1994 to Present) | 1.6
Default Tank-Type Toilet Single Flush Volume (1980-1993) | 3.5
Default Toilet Single Flush Volume (pre-1980) | 5
Default Urinal Flush Volume (1994 to Present) | 1
Default Urinal Flush Volume (Pre-1994) | 1.5
Default Faucet Flow Rate | 2.2
Default Shower Flow Rate | 2.5
Default WaterSense or High-Efficiency Toilet (gpf) | 1.28
Default WaterSense Urinal (gpf) | 0.5
Default WaterSense Faucet (gpm) | 1.5
Default WaterSense Showerhead (gpm) | 2
Default WaterSense PRSV (gpm) | 1.28
Guest Ice & Laundry
Default Washer Loads | 24
ENERGY STAR WF requirement | 4.5
Federal standard WF - Front-loading | 5.5
Federal standard WF - Top-loading | 8.5
Average washing machine capacity (cf) | 2.8
Conventional rated unit electricity consumption | 241
ENERGY STAR rated unit electricity consumption | 97
Reference loads per year | 392
Default loads per year | 1241
Gas water heater efficiency | 75%
Portion of electricity consumption used to heat water | 80%
Linen Laundry
Water savings from linen reuse program | 17%
Commercial Kitchen
Default Kitchen Hours | 12
Default Disposal Flow Rate | 2
Default Daily Food Grinder Use | 3
Dishwashing
Default PRSV Usage (minutes per day) | 64
Default PRSV Flow Rate (2006 to Present) | 1.6
Pool & Spa
Default Pool Area | 1000
Default Pool Volume | 34000
Default Spa Area | 40
Default Spa Volume | 1100
Irrigation
Irrigation Threshold | 1500000
Average Water Use (ft/year) | 2.5
Restore Defaults
Guest Rooms
WaterSense Labeled Tank-Type Toilet |  | 1.28 | 300
High-Efficiency Flushometer-Valve Toilet |  | 1.28 | 1000
WaterSense Labeled Faucet Aerator |  | 1.5 | 10
WaterSense Labeled Showerhead |  | 2 | 20
Flushes per person per day | 5.05
Minutes of faucet use per person per day | 8.1
Average shower duration (minutes) | 8.2
Showers per person per day | 1
Percent faucet water that is hot water | 72.7%
Percent shower water that is hot water | 73.1%
kWh of electricity required to heat one gallon of water | 0.17664
Mcf of natural gas required to heat one gallon of water | 0.0008774
Public Restrooms
WaterSense Labeled Tank-Type Toilet |  | 1.28 | 300
High-Efficiency Flushometer-Valve Toilet |  | 1.28 | 1000
WaterSense Labeled Urinal |  | 0.5 | 500
WaterSense Labeled Faucet Aerator |  | 0.5 | 10
WaterSense Labeled Showerhead |  | 2 | 20
Percentage of employees who are female | 50%
Percentage of visitors who are female | 50%
Toilet flushes per female employee per day | 3
Toilet flushes per female visitor per day | 0.5
Toilet flushes per male employee per day | 1
Toilet flushes per male visitor per day | 0.1
Urinal flushes per male employee per day | 2
Urinal flushes per male visitor | 0.4
Faucet uses per bathroom visit per day | 1
Faucet duration per use (minutes) | 0.5
Showers per employee per day | 0.1
Average shower duration (minutes) | 5
Percent faucet water that is hot water | 72.7%
Percent shower water that is hot water | 73.1%
kWh of electricity required to heat one gallon of water | 0.17664
Mcf of natural gas required to heat one gallon of water | 0.0008774
Guest Ice & Laundry | Conventional | ENERGY STAR
Electricity consumption per load of laundry (kWh) | 0.12296 | 0.04949
Gas consumption per load of laundry (Mcf) | 0 | 0
Water consumption per load of laundry (gal) - front-loading | 23.8 | 12.6
Water consumption per load of laundry (gal) - top-loading | 15.4 | 12.6
Single-pass water-cooled icemaker water use (gal/lb) | 1.5 | --
Linen Laundry
Pounds of laundry per occupied guest room per day | 10
Gallons per pound of laundry for multi-load washer | 1.4
Gallons per pound of laundry for washer extractor | 3
Gallons per pound of laundry for tunnel washer | 2
Maximum capacity for multi-load washers (lbs) | 300
Maximum capacity for washer extractors (lbs) | 1200
Maximum capacity for tunnel washers (lbs) | 15000
Commercial Kitchen
Single-pass water-cooled ice maker water use (gal/lb) | 1.5
Standard steam cooker water use (gal/hr) | 40
ENERGY STAR connectionless steam cooker Water Use (gal/hr) | 3
Boiler-based combination oven water use (gal/hr) | 30
Connectionless combination oven water use (gal/hr) | 15
Dipper well w/ in-line flow restrictor flow rate (gal/min) | 0.3
Idle food grinder flow rate used by load sensor (gal/min) | 1
Dishwashing
ENERGY STAR Labeled Dishwasher |  | --
Cost of one WaterSense labeled pre-rinse spray valve installed |  | 1.28 | 80
Percent PRSV water that is hot water | 100%
kWh of electricity required to heat one gallon of water | 0.24458
Mcf of natural gas required to heat one gallon of water | 0.0009111
HVAC & Mechanical
Cooling tower evaporation per ton cooling (gal/hr) | 1.8
Annual cooling tower usage factor | 30%
Target Cycles of Conductivity (CoC) | 6
Pool & Spa | Pools | Hot Tubs
Avg gallons of evaporation per square foot per day | 0.105 | 0.43
Sand filter water use factor (gal water used/gal of volume) | 0.882 | 0.855
Sorptive media filter water use factor (gal water used/gal of volume) | 0.277 | 0.427
Cartridge filter water use factor (gal water used/gal of volume) | 0.105 | 0.273
Industrial filter water use factor (gal water used/gal of volume) | 0.147