## Summary
Count of Unique Landfills in this File | Count of Unique Operational Projects in this File
56 | 24
The LMOP Database contains key information about MSW landfills and LFG energy projects in the United States. Information in the LMOP Database is compiled from a variety of sources. Data received for inclusion in the LMOP Database are reviewed for reasonableness and are corroborated via other data sources when possible. Not all data are updated each year. While the Program strives to keep the information as updated and accurate as possible, the database is not exhaustive. The LMOP Database does not include data for every MSW landfill in the United States.
Descriptions for the Options in the "Current Project Status" Field
Operational: Project or expansion is online. |  | Candidate: Landfill is accepting waste or has been closed for five years or less, has at least one million tons of waste, and does not have an operational, under-construction, or planned project; can also be designated based on actual interest by the site.
Shutdown: Project or expansion has ceased operations.
Future Potential: Landfill is open but does not meet the technical criteria for Candidate status yet; or landfill already has an Operational project but there is opportunity for additional energy recovery.
Construction: Construction is underway on project or expansion.
Planned: Planning is underway on project or expansion (between Candidate and Construction). |  | Low Potential: Landfill is closed and does not meet the technical criteria for Candidate status; or landfill is not considered a Candidate due to site-specific information.
Unknown: LMOP Database does not have sufficient data to determine potential for an LFG energy project.

## LMOP Database
GHGRP ID | Landfill ID | Landfill Name | State | Physical Address | City | County | Zip Code | Latitude | Longitude | Ownership Type | Landfill Owner Organization(s) | Year Landfill Opened | Landfill Closure Year | Current Landfill Status | Waste in Place (tons) | Waste in Place Year | LFG Collection System In Place? | LFG Collected (mmscfd) | LFG Flared (mmscfd) | Project ID | Current Project Status | Project Name | Project Start Date | Project Shutdown Date | Project Type Category | LFG Energy Project Type | RNG Delivery Method | Actual MW Generation | Rated MW Capacity | LFG Flow to Project (mmscfd) | Current Year Emission Reductions (MMTCO2e/yr) - Direct | Current Year Emission Reductions (MMTCO2e/yr) - Avoided
| 1657 | Adams County Resource Recovery LF | WI | 1420 State Road 21 | Friendship | Adams | 53934 | 44.0249 | -89.8465 | Public | Adams County, WI | 1989 | 2041 | Open | 280556 | 2008 | No |  |  | 1737-0 | Future Potential |  |  |  | Unknown | Unknown
1004947 | 1658 | Brown County East LF | WI | 3800 Heritage Road | De Pere | Brown | 54115 | 44.412 | -88.014 | Public | Brown County Port & Solid Waste Department, WI | 1979 | 2003 | Closed | 4000000 |  | Yes | 0.419 |  | 1738-0 | Shutdown | Project #1 | 2009-03-23 | 2019-06-30 | Electricity | Reciprocating Engine |  | 1.85 |  | 0.864
1004742 | 1659 | Brown County West LF | WI | 3734 Mason Street | Oneida | Brown | 54155 | 44.5122 | -88.1545 | Public | Brown County Port & Solid Waste Department, WI | 1977 | 1996 | Closed | 3800000 |  | Yes | 0.288 | 0.288 | 1739-0 | Low Potential |  |  |  | Unknown | Unknown
1001845 | 1702 | Cranberry Creek Landfill LLC | WI | 2510 Engel Road | Wisconsin Rapids | Wood | 54495 | 44.4092 | -89.8548 | Private | WM | 1970 | 2031 | Open | 8828413 | 2022 | Yes | 2.075 | 0.856 | 1782-0 | Operational | Project #1 | 2005-10-15 |  | Direct | Boiler |  |  |  | 1.22 | 0.11962 | 0.01055
| 1709 | Dane County LF #1-Verona | WI | 6718 E. Verona Avenue | Verona | Dane | 53593 | 42.9928 | -89.5261 | Public | Dane County Waste & Renewables, WI | 1977 | 1987 | Closed | 1050000 |  | Yes | 0.18 |  | 1789-0 | Shutdown | Project #1 | 1995-01-01 | 2004-12-31 | Electricity | Reciprocating Engine |  | 0.65 |  |  | 0 | 0
| 1709 | Dane County LF #1-Verona | WI | 6718 E. Verona Avenue | Verona | Dane | 53593 | 42.9928 | -89.5261 | Public | Dane County Waste & Renewables, WI | 1977 | 1987 | Closed | 1050000 |  | Yes | 0.18 |  | 1789-1 | Shutdown | Project #1, De-Expansion #1 | 2005-04-01 | 2008-12-31 | Electricity | Reciprocating Engine |  | 0.35 | 0.35 |  | 0 | 0
| 1709 | Dane County LF #1-Verona | WI | 6718 E. Verona Avenue | Verona | Dane | 53593 | 42.9928 | -89.5261 | Public | Dane County Waste & Renewables, WI | 1977 | 1987 | Closed | 1050000 |  | Yes | 0.18 |  | 1789-2 | Operational | Project #1, De-Expansion #2 | 2009-01-01 |  | Electricity | Reciprocating Engine |  | 0.06 |  | 0.175 | 0.00304 | 0.00029
1006096 | 1660 | Dane County LF #2-Rodefeld | WI | 7102 U.S. Highway 12 & 18 | Madison | Dane | 53718 | 43.045 | -89.254 | Public | Dane County Waste & Renewables, WI | 1985 | 2031 | Open | 6746724 | 2022 | Yes | 2.476 | 0.404 | 1740-0 | Shutdown | Project #1 | 1997-10-01 | 2019-04-23 | Electricity | Reciprocating Engine |  | 1.6 | 1.6
1006096 | 1660 | Dane County LF #2-Rodefeld | WI | 7102 U.S. Highway 12 & 18 | Madison | Dane | 53718 | 43.045 | -89.254 | Public | Dane County Waste & Renewables, WI | 1985 | 2031 | Open | 6746724 | 2022 | Yes | 2.476 | 0.404 | 1740-1 | Shutdown | Project #1, Expansion #1 | 2004-04-01 | 2019-04-23 | Electricity | Reciprocating Engine |  | 0.8 | 0.8
1006096 | 1660 | Dane County LF #2-Rodefeld | WI | 7102 U.S. Highway 12 & 18 | Madison | Dane | 53718 | 43.045 | -89.254 | Public | Dane County Waste & Renewables, WI | 1985 | 2031 | Open | 6746724 | 2022 | Yes | 2.476 | 0.404 | 1740-2 | Shutdown | Project #1, Expansion #2 | 2004-12-01 | 2019-04-23 | Electricity | Reciprocating Engine |  | 1.6 | 1.6
1006096 | 1660 | Dane County LF #2-Rodefeld | WI | 7102 U.S. Highway 12 & 18 | Madison | Dane | 53718 | 43.045 | -89.254 | Public | Dane County Waste & Renewables, WI | 1985 | 2031 | Open | 6746724 | 2022 | Yes | 2.476 | 0.404 | 1740-3 | Shutdown | Project #1, Expansion #3 | 2011-01-01 | 2019-04-23 | Electricity | Reciprocating Engine |  | 0.8 | 1.6
1006096 | 1660 | Dane County LF #2-Rodefeld | WI | 7102 U.S. Highway 12 & 18 | Madison | Dane | 53718 | 43.045 | -89.254 | Public | Dane County Waste & Renewables, WI | 1985 | 2031 | Open | 6746724 | 2022 | Yes | 2.476 | 0.404 | 1740-4 | Shutdown | Project #1, Expansion #4 | 2012-04-01 | 2019-04-23 | Electricity | Reciprocating Engine |  | 0.8 | 0.8
1006096 | 1660 | Dane County LF #2-Rodefeld | WI | 7102 U.S. Highway 12 & 18 | Madison | Dane | 53718 | 43.045 | -89.254 | Public | Dane County Waste & Renewables, WI | 1985 | 2031 | Open | 6746724 | 2022 | Yes | 2.476 | 0.404 | 181070-0 | Operational | Project #2 | 2011-03-18 |  | Renewable Natural Gas | Vehicle Fuel | Local Use |  |  | 0.03 | 0.00294 | 0.00024
1006096 | 1660 | Dane County LF #2-Rodefeld | WI | 7102 U.S. Highway 12 & 18 | Madison | Dane | 53718 | 43.045 | -89.254 | Public | Dane County Waste & Renewables, WI | 1985 | 2031 | Open | 6746724 | 2022 | Yes | 2.476 | 0.404 | 181070-1 | Operational | Project #2, Expansion #1 | 2013-06-01 |  | Renewable Natural Gas | Vehicle Fuel | Local Use |  |  | 0.04 | 0.00392 | 0.00032
1006096 | 1660 | Dane County LF #2-Rodefeld | WI | 7102 U.S. Highway 12 & 18 | Madison | Dane | 53718 | 43.045 | -89.254 | Public | Dane County Waste & Renewables, WI | 1985 | 2031 | Open | 6746724 | 2022 | Yes | 2.476 | 0.404 | 200991-0 | Operational | Project #3 | 2019-04-23 |  | Renewable Natural Gas | Vehicle Fuel | Pipeline Injection |  |  | 2.16 | 0.21178 | 0.01704
1006096 | 1660 | Dane County LF #2-Rodefeld | WI | 7102 U.S. Highway 12 & 18 | Madison | Dane | 53718 | 43.045 | -89.254 | Public | Dane County Waste & Renewables, WI | 1985 | 2031 | Open | 6746724 | 2022 | Yes | 2.476 | 0.404 | 200991-1 | Planned | Project #3, Expansion #1 | 2024-12-31 |  | Renewable Natural Gas | Vehicle Fuel | Pipeline Injection |  |  |  | 0 | 0
1007878 | 1661 | Deer Track Park Landfill | WI | N6756 Waldmann Lane | Watertown | Jefferson | 53094 | 43.0869 | -88.7566 | Private | WM | 1975 | 2032 | Open | 8453729 | 2022 | Yes | 2.207 | 0 | 1741-0 | Shutdown | Project #1 & Expansion #1 | 2006-02-01 | 2022-12-31 | Electricity | Reciprocating Engine |  | 4.1 | 6.4 | 2.22
| 1662 | Door County SLF | WI |  | Sturgeon Bay | Door | 54235 | 44.8436 | -87.3748 | Public | Door County, WI | 1980 | 2001 | Closed | 348089 |  | No |  |  | 1742-0 | Low Potential |  |  |  | Unknown | Unknown
| 1663 | Easton Town LF | WI | Evergreen Drive | Easton | Adams | 53910 | 43.8214 | -89.8078 | Unknown |  | 1970 | 1990 | Closed | 3833 |  | No |  |  | 1743-0 | Low Potential |  |  |  | Unknown | Unknown
1007212 | 1712 | Emerald Park Landfill LLC | WI | W124 S10629 S 124th Street | Muskego | Waukesha | 53150 | 42.851 | -88.0745 | Private | GFL Environmental USA Inc. | 1995 | 2033 | Open | 17025791 | 2022 | Yes | 2.835 | 2.082 | 1792-0 | Operational | Project #1 | 2013-12-31 |  | Electricity | Cogeneration |  | 3.11 | 9.2 | 0.753 | 0.15737 | 0.01501
1007195 | 1667 | Glacier Ridge Landfill LLC | WI | N7296 County Road V | Horicon | Dodge | 53032 | 43.465 | -88.555 | Private | GFL Environmental USA Inc. | 1960 | 2029 | Open | 16465595 | 2022 | Yes | 3.024 | 0.135 | 1747-0 | Shutdown | Project #1 | 2001-03-01 | 2012-12-31 | Electricity | Reciprocating Engine |  | 1.24 | 2 | 0.72
1007195 | 1667 | Glacier Ridge Landfill LLC | WI | N7296 County Road V | Horicon | Dodge | 53032 | 43.465 | -88.555 | Private | GFL Environmental USA Inc. | 1960 | 2029 | Open | 16465595 | 2022 | Yes | 3.024 | 0.135 | 180388-0 | Operational | Project #2 | 2004-05-01 |  | Electricity | Microturbine |  | 0.3 | 0.3 | 0.187 | 0.01518 | 0.00145
1007195 | 1667 | Glacier Ridge Landfill LLC | WI | N7296 County Road V | Horicon | Dodge | 53032 | 43.465 | -88.555 | Private | GFL Environmental USA Inc. | 1960 | 2029 | Open | 16465595 | 2022 | Yes | 3.024 | 0.135 | 201443-0 | Operational | Project #3 | 2020-10-31 |  | Renewable Natural Gas | Vehicle Fuel | Pipeline Injection |  |  | 2.46 | 0.2412 | 0.01941
| 1711 | Green Lake SLF | WI |  | Berlin | Green Lake |  |  |  | Private | WM | 1970 |  | Closed | 239952 |  | Yes |  |  | 1791-0 | Unknown |  |  |  | Unknown | Unknown
| 1666 | Hayward Town LF | WI | U.S. Highway 63 & Stress Road | Hayward | Sawyer | 54843 | 45.996 | -91.529 | Unknown |  | 1971 | 1990 | Closed | 133120 |  | No |  |  | 1746-0 | Low Potential |  |  |  | Unknown | Unknown
1001847 | 2152 | Hickory Meadows Landfill LLC | WI | W3105 Schneider Road | Hilbert | Calumet | 54129 | 44.105 | -88.192 | Private | GFL Environmental USA Inc. | 1999 | 2029 | Open | 14644210 | 2022 | Yes | 2.961 | 2.961 | 180221-0 | Shutdown | Project #1 | 2011-08-15 | 2021-12-31 | Electricity | Reciprocating Engine |  | 3.62 | 4.8 | 2.01
1001847 | 2152 | Hickory Meadows Landfill LLC | WI | W3105 Schneider Road | Hilbert | Calumet | 54129 | 44.105 | -88.192 | Private | GFL Environmental USA Inc. | 1999 | 2029 | Open | 14644210 | 2022 | Yes | 2.961 | 2.961 | 201754-0 | Planned | Project #2 | 2025-12-31 |  | Renewable Natural Gas | Other | Pipeline Injection
| 21142 | Highway G Sanitary LF | WI | 7001 CR G | Eagle River | Vilas | 54521 | 45.9682 | -89.4158 | Private | Landfill Venture Group |  |  | Open |  |  | Unknown |  |  | 201373-0 | Unknown |  |  |  | Unknown | Unknown
| 1668 | Hustisford Town LF | WI |  | Hustisford Town | Dodge |  |  |  | Unknown |  | 1971 | 1990 | Closed | 5150 |  | No |  |  | 1748-0 | Low Potential |  |  |  | Unknown | Unknown
| 1669 | Jackson County SLF | WI |  | Black River Falls | Jackson | 54615 | 44.2923 | -90.8489 | Public | Jackson County, WI | 1987 | 1997 | Closed | 498202 |  | No |  |  | 1749-0 | Low Potential |  |  |  | Unknown | Unknown
1004328 | 1697 | Janesville City/Rock County Landfill | WI | 525 Blackbridge Road | Janesville | Rock | 53545 | 42.7046 | -89.0218 | Public | City of Janesville, WI | 1985 | 2036 | Open | 5611938 | 2022 | Yes | 0.694 | 0.079 | 1777-0 | Operational | Project #1 | 2004-11-01 |  | Electricity | Reciprocating Engine |  | 0.9 | 3.15 | 0.615 | 0.04554 | 0.00434
1003625 | 1674 | Kestrel Hawk Landfill | WI | 1989 Oakes Road | Racine | Racine | 53406 | 42.7074 | -87.8703 | Private | Republic Services, Inc. | 1963 | 2023 | Closed | 14586247 | 2022 | Yes | 1.814 | 0.27 | 1754-0 | Shutdown | Project #1 | 1986-01-01 | 2003-11-01 | Direct | Boiler |  |  |  | 0.6
1003625 | 1674 | Kestrel Hawk Landfill | WI | 1989 Oakes Road | Racine | Racine | 53406 | 42.7074 | -87.8703 | Private | Republic Services, Inc. | 1963 | 2023 | Closed | 14586247 | 2022 | Yes | 1.814 | 0.27 | 180278-0 | Operational | Project #2 | 2003-11-01 |  | Electricity | Cogeneration |  | 2.13 | 3.2 | 1.55 | 0.10778 | 0.01028
| 1670 | Kewaunee County Solid Waste Balefill | WI | E3726 County Road L | Kewaunee | Kewaunee | 54216 | 44.4323 | -87.5628 | Public | Kewaunee Solid Waste Department, WI | 1984 | 2016 | Closed | 507200 | 2010 | Yes | 0.086 |  | 1750-0 | Low Potential |  |  |  | Unknown | Unknown
1000536 | 1672 | La Crosse County Landfill | WI | 3200 Berlin Drive 6500 State Road 16 | La Crosse | La Crosse | 54601 | 43.878 | -91.157 | Public | La Crosse County Solid Waste, WI | 1976 | 2055 | Open | 2179023 | 2022 | Yes | 0.299 | 0.006 | 1752-0 | Operational | Project #1 | 2012-03-12 |  | Electricity | Cogeneration |  | 0.49 | 1.137 | 0.293 | 0.02479 | 0.00236
1002208 | 1673 | Lake Area Landfill | WI | W5987 County Hwy D | Sarona | Washburn | 54870 | 45.689 | -91.831 | Private | Republic Services, Inc. | 1973 | 2041 | Open | 7454958 | 2022 | Yes | 1.577 | 1.577 | 1753-0 | Candidate |  |  |  | Unknown | Unknown
| 1675 | Lincoln County SLF | WI | N4570 Landfill Lane | Merrill | Lincoln | 54452 | 45.2852 | -89.6058 | Public | Lincoln County, WI | 1989 | 2024 | Open | 307370 | 2008 | No |  |  | 1755-0 | Future Potential |  |  |  | Unknown | Unknown
1002038 | 1676 | Mallard Ridge Landfill Inc. | WI | W8470 State Road 11 | Delavan | Walworth | 53115 | 42.6441 | -88.7218 | Private | GFL Environmental USA Inc. | 1970 | 2028 | Open | 11915730 | 2022 | Yes | 2.911 | 2.911 | 1756-0 | Shutdown | Project #1 | 1996-10-01 | 2013-11-30 | Electricity | Reciprocating Engine |  | 1.66 | 2.4 | 0.876
1002038 | 1676 | Mallard Ridge Landfill Inc. | WI | W8470 State Road 11 | Delavan | Walworth | 53115 | 42.6441 | -88.7218 | Private | GFL Environmental USA Inc. | 1970 | 2028 | Open | 11915730 | 2022 | Yes | 2.911 | 2.911 | 201491-0 | Operational | Project #2 | 2022-04-30 |  | Renewable Natural Gas | Other | Pipeline Injection |  |  | 2.88 | 0.28238 | 0.02489
1002307 | 1678 | Marathon County Landfill | WI | 18500 East Highway 29 | Ringle | Marathon | 54471 | 44.8904 | -89.3849 | Public | Marathon County, WI | 1981 | 2026 | Open | 5790180 | 2022 | Yes | 1.502 | 1.502 | 1757-0 | Shutdown | Project #1 | 1990-01-01 | 2007-10-31 | Direct | Direct Thermal |  |  |  | 0.28
1002307 | 1678 | Marathon County Landfill | WI | 18500 East Highway 29 | Ringle | Marathon | 54471 | 44.8904 | -89.3849 | Public | Marathon County, WI | 1981 | 2026 | Open | 5790180 | 2022 | Yes | 1.502 | 1.502 | 180962-0 | Shutdown | Project #2 | 2008-01-31 | 2021-12-31 | Electricity | Cogeneration |  | 1.63 | 2.4 | 0.79
1002307 | 1678 | Marathon County Landfill | WI | 18500 East Highway 29 | Ringle | Marathon | 54471 | 44.8904 | -89.3849 | Public | Marathon County, WI | 1981 | 2026 | Open | 5790180 | 2022 | Yes | 1.502 | 1.502 | 201723-0 | Construction | Project #4 | 2025-01-01 |  | Renewable Natural Gas | Vehicle Fuel | Pipeline Injection
1002307 | 1678 | Marathon County Landfill | WI | 18500 East Highway 29 | Ringle | Marathon | 54471 | 44.8904 | -89.3849 | Public | Marathon County, WI | 1981 | 2026 | Open | 5790180 | 2022 | Yes | 1.502 | 1.502 | 201729-0 | Construction | Project #3 | 2024-06-30 |  | Electricity | Reciprocating Engine
| 1679 | Marinette/Oconto County LF | WI | N7785 Shaffer Road | Crivitz | Marinette | 54114 | 45.2376 | -88.0925 | Public | Oconto County, WI | 1988 | 2035 | Open | 420130 | 2008 | No |  |  | 1759-0 | Future Potential |  |  |  | Unknown | Unknown
| 1680 | Markesan City Town of Mackford LF | WI |  | Mackford | Green Lake |  |  |  | Public |  | 1968 | 1990 | Closed | 7807 |  | No |  |  | 1760-0 | Low Potential |  |  |  | Unknown | Unknown
1007725 | 1681 | Metro RDF | WI | 10712 South 124th Street | Franklin | Milwaukee | 53132 | 42.8495 | -88.065 | Private | WM | 1951 | 2032 | Open | 27672053 | 2022 | Yes | 4.82 | 1.231 | 167058-0 | Operational | Project #2 | 2000-01-01 |  | Electricity | Reciprocating Engine |  | 2.84 | 3.2 | 1.506 | 0.14371 | 0.01371
1007725 | 1681 | Metro RDF | WI | 10712 South 124th Street | Franklin | Milwaukee | 53132 | 42.8495 | -88.065 | Private | WM | 1951 | 2032 | Open | 27672053 | 2022 | Yes | 4.82 | 1.231 | 1761-0 | Operational | Project #1 | 1986-01-01 |  | Electricity | Gas Turbine |  | 2.68 | 6.2 | 2.168 | 0.13561 | 0.01293
1007725 | 1681 | Metro RDF | WI | 10712 South 124th Street | Franklin | Milwaukee | 53132 | 42.8495 | -88.065 | Private | WM | 1951 | 2032 | Open | 27672053 | 2022 | Yes | 4.82 | 1.231 | 1792-1 | Planned | Project #1, Expansion #1 - Combination Project | 2025-01-01 |  | Electricity | Cogeneration |  |  |  |  | 0 | 0
| 1682 | Metropolitan Refuse District Incorporated LF | WI |  | Middleton | Dane | 53562 | 43.1055 | -89.5061 | Private | Landfill Owner of Metropolitan Refuse District Incorporated LF | 1961 | 1994 | Closed | 574518 |  | Yes |  | 0.216 | 1762-0 | Shutdown | Project #1 | 2006-02-01 | 2007-03-01 | Electricity | Reciprocating Engine |  | 0.055 | 0.055
1001770 | 1701 | Moccasin Mike SLF | WI | 15 Moccasin Mike Road off Hwy 53 and 2 | Superior | Douglas | 54880 | 46.671 | -91.9665 | Public | City of Superior Public Works, WI | 1976 | 2026 | Open | 2956593 | 2022 | Yes | 0.718 | 0.718 | 1781-0 | Planned | Project #1 | 2025-05-31 |  | Electricity | Linear Generator
| 1684 | Montello City LF | WI | Fern Avenue | Montello | Marquette | 53949 | 43.8044 | -89.3252 | Unknown |  | 1970 | 1990 | Closed | 29012 | 1990 | No |  |  | 1764-0 | Low Potential |  |  |  | Unknown | Unknown
| 1686 | Oneida County SLF and Demolition | WI |  | Rhinelander | Oneida | 54501 | 45.6467 | -89.5498 | Public | Oneida County, WI | 1979 | 2001 | Closed | 456458 |  | Yes | 0.4 |  | 1766-0 | Low Potential |  |  |  | Unknown | Unknown
1006876 | 2151 | Orchard Ridge RDF | WI | W124 N9355 Boundary Road | Menomonee Falls | Waukesha | 53051 | 43.188 | -88.0765 | Private | WM | 1950 | 2039 | Open | 38349358 | 2022 | Yes | 7.386 | 0.065 | 1765-0 | Shutdown | Project #1 | 1987-01-01 | 2010-12-31 | Electricity | Gas Turbine |  | 5.85 | 9.3 | 5.25 | 0 | 0
1006876 | 2151 | Orchard Ridge RDF | WI | W124 N9355 Boundary Road | Menomonee Falls | Waukesha | 53051 | 43.188 | -88.0765 | Private | WM | 1950 | 2039 | Open | 38349358 | 2022 | Yes | 7.386 | 0.065 | 1765-1 | Operational | Project #1, Expansion #1 | 2011-01-01 |  | Electricity | Gas Turbine |  | 10.13 | 12.4 | 7.33 | 0.51259 | 0.04889
1007075 | 1687 | Outagamie County LF | WI | 1419 Holland Road | Appleton | Outagamie | 54911 | 44.2872 | -88.3487 | Public | Outagamie County, WI | 1975 | 2025 | Open | 14124833 | 2022 | Yes | 3.367 | 3.367 | 1767-0 | Shutdown | Project #1 | 1991-01-01 | 2006-10-31 | Electricity | Reciprocating Engine |  | 1.2
1007075 | 1687 | Outagamie County LF | WI | 1419 Holland Road | Appleton | Outagamie | 54911 | 44.2872 | -88.3487 | Public | Outagamie County, WI | 1975 | 2025 | Open | 14124833 | 2022 | Yes | 3.367 | 3.367 | 180963-0 | Shutdown | Project #2 | 2007-03-31 | 2020-12-31 | Electricity | Cogeneration |  | 4.8 | 4.8 | 2.14
1007075 | 1687 | Outagamie County LF | WI | 1419 Holland Road | Appleton | Outagamie | 54911 | 44.2872 | -88.3487 | Public | Outagamie County, WI | 1975 | 2025 | Open | 14124833 | 2022 | Yes | 3.367 | 3.367 | 201497-0 | Operational | Project #3 | 2023-03-01 |  | Renewable Natural Gas | Vehicle Fuel | Pipeline Injection |  |  |  | 0 | 0
1007726 | 1689 | Pheasant Run Recycling and Disposal Facility | WI | 19414 60th Street | Bristol | Kenosha | 53104 | 42.5827 | -88.0438 | Private | WM | 1967 | 2062 | Open | 23120279 | 2022 | Yes | 2.633 | 0.036 | 1769-0 | Operational | Project #1, Expansions #1 & #2 | 1992-01-01 |  | Electricity | Reciprocating Engine |  | 4.86 | 8.8 | 2.59 | 0.24592 | 0.02346
| 1690 | Plymouth City LF | WI |  | Greenbush | Sheboygan |  |  |  | Public | City of Plymouth, WI | 1970 |  | Closed | 10260 |  | No |  |  | 1770-0 | Unknown |  |  |  | Unknown | Unknown
| 1691 | Portage County Sanitary Landfill | WI | 1430 County Road QQ | Custer | Portage | 54423 | 44.5173 | -89.3955 | Public | Portage County Solid Waste Department | 1982 | 2007 | Closed | 699000 | 2003 | Yes | 0.144 | 0.144 | 1771-0 | Low Potential |  |  |  | Unknown | Unknown
| 1692 | Prentice Village LF | WI |  | Prentice | Price |  |  |  | Unknown |  | 1971 |  | Closed | 3627 |  | No |  |  | 1772-0 | Unknown |  |  |  | Unknown | Unknown
| 1693 | Princeton City LF | WI | Highway 73 | Princeton | Green Lake | 54968 | 43.7958 | -89.0838 | Public |  | 1957 | 1990 | Closed | 5848 |  | No |  |  | 1773-0 | Low Potential |  |  |  | Unknown | Unknown
1007834 | 1695 | Ridgeview RDF | WI | 6207 Hempton Lake Road | Whitelaw | Manitowoc | 54247 | 44.1725 | -87.8418 | Private | WM | 1976 | 2040 | Open | 15398181 | 2022 | Yes | 2.414 | 0.003 | 1775-0 | Operational | Project #1, Expansions #1 & #2 | 2002-09-15 |  | Electricity | Reciprocating Engine |  | 4.28 | 4.8 | 2.41 | 0.21657 | 0.02066
| 1683 | Ridgeville Site I | WI | 20448 Junco Road | Norwalk | Monroe | 54648 | 43.873 | -90.583 | Public | Monroe County Solid Waste, WI | 1980 | 2002 | Closed | 370350 |  | No |  |  | 1763-0 | Low Potential |  |  |  | Unknown | Unknown
| 11561 | Ridgeville Site II | WI | 20448 Junco Road | Norwalk | Monroe | 56648 | 43.873 | -90.578 | Public | Monroe County Solid Waste, WI | 2002 |  | Open | 244351 | 2008 | Yes | 0.21 |  | 181021-0 | Future Potential |  |  |  | Unknown | Unknown
| 1696 | Rio Village LF | WI |  | Lowville | Columbia |  |  |  | Unknown |  | 1970 | 1990 | Closed | 2258 |  | No |  |  | 1776-0 | Low Potential |  |  |  | Unknown | Unknown
| 1698 | Round Lake Town LF-A Site | WI | County Highway A | Round Lake | Sawyer |  | 46.0189 | -91.1995 | Public |  | 1982 | 1990 | Closed | 1508 |  | No |  |  | 1778-0 | Low Potential |  |  |  | Unknown | Unknown
| 1699 | Sauk County SLF | WI | E8795B Evergreen Lane | Baraboo | Sauk | 53913 | 43.5184 | -89.878 | Public | Sauk County, WI | 1983 | 2005 | Closed | 741336 | 2005 | Yes | 0.261 |  | 1779-0 | Operational | Project #1 | 2003-06-01 |  | Electricity | Microturbine |  | 0.24 | 0.24 | 0.173 | 0.01214 | 0.00116
| 1699 | Sauk County SLF | WI | E8795B Evergreen Lane | Baraboo | Sauk | 53913 | 43.5184 | -89.878 | Public | Sauk County, WI | 1983 | 2005 | Closed | 741336 | 2005 | Yes | 0.261 |  | 1779-1 | Operational | Project #1, Expansion #1 | 2004-01-01 |  | Electricity | Microturbine |  | 0.12 | 0.12 | 0.086 | 0.00607 | 0.00058
| 1699 | Sauk County SLF | WI | E8795B Evergreen Lane | Baraboo | Sauk | 53913 | 43.5184 | -89.878 | Public | Sauk County, WI | 1983 | 2005 | Closed | 741336 | 2005 | Yes | 0.261 |  | 1779-2 | Operational | Project #1, Expansion #2 | 2006-06-12 |  | Electricity | Microturbine |  | 0.36 | 0.36 | 0.259 | 0.01822 | 0.00174
1006964 | 1665 | Seven Mile Creek Landfill | WI | 8001 Olson Drive | Eau Claire | Eau Claire | 54703 | 44.8375 | -91.3672 | Private | GFL Environmental USA Inc. | 1979 | 2029 | Open | 11205381 | 2022 | Yes | 2.185 | 2.185 | 1745-0 | Shutdown | Project #1 | 2004-03-01 | 2017-05-31 | Electricity | Reciprocating Engine |  | 3.15 | 3.15 | 1.728
1006964 | 1665 | Seven Mile Creek Landfill | WI | 8001 Olson Drive | Eau Claire | Eau Claire | 54703 | 44.8375 | -91.3672 | Private | GFL Environmental USA Inc. | 1979 | 2029 | Open | 11205381 | 2022 | Yes | 2.185 | 2.185 | 1745-1 | Shutdown | Project #1, Expansion #1 | 2008-04-01 | 2017-05-31 | Electricity | Reciprocating Engine |  | 1.05 | 1.05 | 0.576
1006964 | 1665 | Seven Mile Creek Landfill | WI | 8001 Olson Drive | Eau Claire | Eau Claire | 54703 | 44.8375 | -91.3672 | Private | GFL Environmental USA Inc. | 1979 | 2029 | Open | 11205381 | 2022 | Yes | 2.185 | 2.185 | 201238-0 | Candidate |  |  |  | Unknown | Unknown
| 1700 | Sheboygan Falls City LF | WI | 111 Hamann Drive | Sheboygan Falls | Sheboygan | 53085 | 43.7435 | -87.8209 | Public | Sheboygan Falls | 1972 | 1991 | Closed | 146700 |  | No |  |  | 1780-0 | Low Potential |  |  |  | Unknown | Unknown
1007705 | 2407 | Timberline Trail Recycling & Disposal Facility | WI | N4581 N. Hutchinson Road | Weyerhaeuser | Rusk | 54895 | 45.4542 | -91.3584 | Private | WM | 1995 | 2121 | Open | 4740866 | 2022 | Yes | 1.26 | 0.072 | 180768-0 | Operational | Project #1 | 2006-01-23 |  | Electricity | Cogeneration |  | 2.09 | 3.2 | 1.183 | 0.10576 | 0.01009
1004474 | 1703 | Troy Area Landfill | WI | N. 7617 Highway 120 | East Troy | Walworth | 53120 | 42.7663 | -88.4065 | Private | Republic Services, Inc. | 1987 | 1996 | Closed | 2695458 | 1996 | Shutdown | 0.039 | 0.039 | 1783-0 | Low Potential |  |  |  | Unknown | Unknown
| 1704 | Valley Meadows Landfill, LLC | WI | W5429 Hoge Road | Fort Atkinson | Jefferson | 53538 | 42.8579 | -88.8002 | Private |  | 1976 | 1999 | Closed | 1878264 | 1999 | Yes | 0.33 | 0.33 | 1784-0 | Low Potential |  |  |  | Unknown | Unknown
1007704 | 1705 | Valley Trail Recycling & Disposal Facility | WI | N9101 Willard Road | Berlin | Green Lake | 54923 | 43.9598 | -88.9063 | Private | WM | 1969 | 2041 | Open | 11928379 | 2022 | Yes | 1.73 | 0.444 | 1785-0 | Operational | Project #1 | 1998-12-01 |  | Direct | Boiler |  |  |  | 0.38 | 0.03726 | 0.00328
1007704 | 1705 | Valley Trail Recycling & Disposal Facility | WI | N9101 Willard Road | Berlin | Green Lake | 54923 | 43.9598 | -88.9063 | Private | WM | 1969 | 2041 | Open | 11928379 | 2022 | Yes | 1.73 | 0.444 | 180237-0 | Operational | Project #2 | 2001-08-01 |  | Electricity | Reciprocating Engine |  | 1.66 | 2.4 | 0.89 | 0.084 | 0.00801
| 1713 | Veolia ES Tork LF (old) | WI |  | Wisconsin Rapids | Wood |  |  |  | Private |  | 1970 | 1988 | Closed | 800000 |  | Yes | 0.5 |  | 1794-0 | Low Potential |  |  |  | Unknown | Unknown
| 21143 | Vernon County Solid Waste/Recycling Facility | WI | S3705 County Road | Viroqua | Vernon | 54665 | 43.5979 | -90.8399 | Public | Vernon County, WI |  |  | Open |  |  | Unknown |  |  | 201374-0 | Unknown |  |  |  | Unknown | Unknown
1007065 | 1706 | Winnebago County Snell Road Landfill | WI | 3390 Walter Street 1955 West Snell Road | Oshkosh | Winnebago | 54904 | 44.06 | -88.565 | Public | Winnebago County, WI | 1968 | 1989 | Closed | 5000000 |  | Yes | 0.168 |  | 1786-0 | Shutdown | Combination Project | 1989-01-01 | 1999-12-31 | Electricity | Reciprocating Engine |  | 0.45 |  | 0.25 | 0 | 0
1007224 | 1707 | Winnebago County Sunnyview Landfill | WI | 100 W County Road Y Off Highway 76 | Oshkosh | Winnebago | 54901 | 44.0826 | -88.5459 | Public | Winnebago County, WI | 1989 | 2012 | Closed | 6134868 | 2012 | Yes | 0.817 | 0.277 | 1786-1 | Operational | Combination Project, Expansion #1 | 2000-01-01 |  | Electricity | Reciprocating Engine |  | 0.75 | 1.5 | 0.245 | 0.03795 | 0.00362
1007224 | 1707 | Winnebago County Sunnyview Landfill | WI | 100 W County Road Y Off Highway 76 | Oshkosh | Winnebago | 54901 | 44.0826 | -88.5459 | Public | Winnebago County, WI | 1989 | 2012 | Closed | 6134868 | 2012 | Yes | 0.817 | 0.277 | 180783-0 | Operational | Project #2 | 2007-04-01 |  | Electricity | Cogeneration |  | 0.53 | 1.06 | 0.173 | 0.02682 | 0.00256
1007224 | 1707 | Winnebago County Sunnyview Landfill | WI | 100 W County Road Y Off Highway 76 | Oshkosh | Winnebago | 54901 | 44.0826 | -88.5459 | Public | Winnebago County, WI | 1989 | 2012 | Closed | 6134868 | 2012 | Yes | 0.817 | 0.277 | 180929-0 | Operational | Project #3 | 2006-01-01 |  | Direct | Boiler |  |  |  | 0.1224 | 0.012 | 0.00106
1007954 | 20862 | WMWI Stone Ridge Recycling and Disposal | WI | S82 W21595 Wauer Lane | Muskego | Waukesha | 53150 | 42.8937 | -88.1864 | Private | WM | 1954 | 1990 | Closed | 1910609.013 | 1990 | Yes | 0.41 | 0.41 | 201096-0 | Low Potential |  |  |  | Unknown | Unknown
Note on A1: GHGRP ID corresponds to the 7-digit Facility Identifier assigned to facilities required to report under EPA's Greenhouse Gas Reporting Program
Note on B1: Unique identifying number for each landfill
Note on C1: Landfill name
Note on D1: State landfill is located in
Note on E1: Physical address of landfill
Note on F1: City landfill is located in or near
Note on G1: County landfill is located in
Note on H1: Zip code for the landfill
Note on I1: Latitude coordinate (decimal) for the landfill
Note on J1: Longitude coordinate (decimal) for the landfill
Note on K1: Indicates if landfill is publicly owned, privately owned, or co-owned by public and private entities
Note on L1: Organization that owns the landfill
Note on M1: Year landfill opened or began accepting waste (YYYY)
Note on N1: Year landfill stopped accepting waste or is expected to stop accepting waste or year landfill closed or is expected to close (YYYY)
Note on O1: Open/Closed status of landfill
Note on P1: Waste-in-place at the landfill in short tons
Note on Q1: Year corresponding to the waste-in-place at the landfill (YYYY)
Note on R1: Is there a landfill gas collection system in place? 'Yes' for an active GCCS; 'No' if landfill has no gas collection system, is passively venting/flaring, or has perimeter gas wells.
Note on S1: Amount of landfill gas being collected in million standard cubic feet per day
Note on T1: Amount of landfill gas flared (if project is operational, amount of landfill gas flared in back-up flare(s)) in million standard cubic feet per day
Note on U1: Unique identifying number combination for "parent" project and "expansion" number
Note on V1: Current project status (Operational, Construction, Planned, Shutdown, Candidate, Future Potential, Low Potential, Unknown)
Note on W1: Specific project name (if applicable)
Note on X1: Date project or expansion became operational (MM/DD/YYYY)
Note on Y1: Date project or expansion shut down (MM/DD/YYYY)
Note on Z1: Category of LFG energy project type (Electricity, Direct, Renewable Natural Gas)
Note on AA1: Specific type of LFG energy project technology
Note on AB1: Method for delivery of the renewable natural gas (Pipeline Injection, Local Use, Unknown)
Note on AC1: Actual or estimated electric generation in megawatts for electricity-generating projects
Note on AD1: Rated capacity in megawatts for electricity-generating projects
Note on AE1: Amount of landfill gas flowing to project or that will flow to the project when it becomes operational in million standard cubic feet per day
Note on AF1: Direct methane reductions by the energy project for the current year, using global warming potential of 28
Note on AG1: Avoided carbon dioxide emission reductions by the energy project for the current year

## Field Descriptions
Field Name | Description
GHGRP ID | GHGRP ID corresponds to the 7-digit Facility Identifier assigned to facilities required to report under EPA's Greenhouse Gas Reporting Program
Landfill ID | Unique identifying number for each landfill
Landfill Name | Landfill name
State | State landfill is located in
Physical Address | Physical address of landfill
City | City landfill is located in or near
County | County landfill is located in
Zip Code | Zip code for the landfill
Latitude | Latitude coordinate (decimal) for the landfill
Longitude | Longitude coordinate (decimal) for the landfill
Ownership Type | Indicates if landfill is publicly owned, privately owned, or co-owned by public and private entities
Landfill Owner Organization(s) | Organization that owns the landfill
Year Landfill Opened | Year landfill opened or began accepting waste (YYYY)
Landfill Closure Year | Year landfill stopped accepting waste or is expected to stop accepting waste or year landfill closed or is expected to close (YYYY)
Current Landfill Status | Open/Closed status of landfill
Waste in Place (tons) | Waste-in-place at the landfill in short tons
Waste in Place Year | Year corresponding to the waste-in-place at the landfill (YYYY)
LFG Collection System In Place? | Is there a landfill gas collection system in place? 'Yes' for an active GCCS; 'No' if landfill has no gas collection system, is passively venting/flaring, or has perimeter gas wells.
LFG Collected (mmscfd) | Amount of landfill gas being collected in million standard cubic feet per day
LFG Flared (mmscfd) | Amount of landfill gas flared (if project is operational, amount of landfill gas flared in back-up flare(s)) in million standard cubic feet per day
Project ID | Unique identifying number combination for "parent" project and "expansion" number
Current Project Status | Current project status (Operational, Construction, Planned, Shutdown, Candidate, Future Potential, Low Potential, Unknown)
Project Name | Specific project name (if applicable)
Project Start Date | Date project or expansion became operational (MM/DD/YYYY)
Project Shutdown Date | Date project or expansion shut down (MM/DD/YYYY)
Project Type Category | Category of LFG energy project type (Electricity, Direct, Renewable Natural Gas)
LFG Energy Project Type | Specific type of LFG energy project technology
RNG Delivery Method | Method for delivery of the renewable natural gas (Pipeline Injection, Local Use, Unknown)
Actual MW Generation | Actual or estimated electric generation in megawatts for electricity-generating projects
Rated MW Capacity | Rated capacity in megawatts for electricity-generating projects
LFG Flow to Project (mmscfd) | Amount of landfill gas flowing to project or that will flow to the project when it becomes operational in million standard cubic feet per day
Current Year Emission Reductions (MMTCO2e/yr) - Direct | Direct methane reductions by the energy project for the current year, using global warming potential of 28
Current Year Emission Reductions (MMTCO2e/yr) - Avoided | Avoided carbon dioxide emission reductions by the energy project for the current year